## DETAILED ESTIMATE
PROJECT : CHIKC FIL A
ADDRESS : 2415 CHERRY ROAD ROCK HILL SC 29732-2171
[5 empty] | DATE: | 2022-02-18
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | UNIT MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.01 | GENERAL CONDITIONS | [8 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  |  |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  |  |  | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS |  |  |  | 0
4 |  | Contractors Use Of New And Existing Facilities | 1 | 0% | 1 | LS |  |  |  | 0
5 |  | Correction Of Unsatisfactory Conditions | 1 | 0% | 1 | LS |  |  |  | 0
6 |  | Restoration Of Unit Damaged During Installation | 1 | 0% | 1 | LS |  |  |  | 0
7 |  | Replacement Of Units Which Cannot Be Restored | 1 | 0% | 1 | LS |  |  |  | 0
8 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS |  |  |  | 0
9 |  | Signage | 1 | 0% | 1 | LS |  |  |  | 0
10 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  |  |  | 0
11 |  | Temporary Services | 1 | 0% | 1 | LS |  |  |  | 0
12 |  | Water | 1 | 0% | 1 | LS |  |  |  | 0
13 |  | Lighting And Power | 1 | 0% | 1 | LS |  |  |  | 0
14 |  | Toilet Facilities | 1 | 0% | 1 | LS |  |  |  | 0
15 |  | Material Storage | 1 | 0% | 1 | LS |  |  |  | 0
16 |  | Contractor's Safety Program | 1 | 0% | 1 | LS |  |  |  | 0
| DIV.02 | EXISTING CONDITIONS | [8 empty] | 0
DEMOLITION
17 |  | Light pole and footing to be removed | 5 | 10% | 5.5 | EA |  |  |  | 0
18 |  | Saw cut and remove curb and gutter | 988.13 | 10% | 1086.943 | LF |  |  |  | 0
19 |  | Existing one story"Chick fill A" building to be demolished including its footing, foundations, canopies, planters, sidewalks and connected utilities | 4213.12 | 10% | 4634.432 | SF |  |  |  | 0
20 |  | Gas service to be removed | 84.19 | 10% | 92.609 | LF |  |  |  | 0
21 |  | Grease trap to be removed | 1 | 10% | 1.1 | EA |  |  |  | 0
22 |  | Flag pole to be removed | 1 | 10% | 1.1 | EA |  |  |  | 0
23 |  | CFA Water service line to be removed | 137.58 | 10% | 151.338 | LF |  |  |  | 0
24 |  | Signs to be removed | 7 | 10% | 7.7 | EA |  |  |  | 0
25 |  | CFA pylon sign to be removed | 1 | 10% | 1.1 | EA |  |  |  | 0
26 |  | Saw cut existing sidewalk | 5.27 | 10% | 5.797 | LF |  |  |  | 0
27 |  | Existing sidewalk to be removed | 250.68 | 10% | 275.748 | SF |  |  |  | 0
28 |  | Saw cut asphalt pavement | 104.72 | 10% | 115.192 | LF |  |  |  | 0
29 |  | Remove existing asphalt pavement | 182.46 | 10% | 200.706 | SF |  |  |  | 0
30 |  | Tree to be removed | 4 | 10% | 4.4 | EA |  |  |  | 0
31 |  | Saw cut island curb | 13.35 | 10% | 14.685 | LF |  |  |  | 0
32 |  | Remove landscape island | 121.71 | 10% | 133.881 | SF |  |  |  | 0
33 |  | Telecom conduit to be removed | 84.49 | 10% | 92.939 | LF |  |  |  | 0
34 |  | Burried power cable to be removed | 120.15 | 10% | 132.165 | LF |  |  |  | 0
35 |  | CFA Sewer service to be removed | 102.01 | 10% | 112.211 | LF |  |  |  | 0
36 |  | CFA pad mounted transformer to be removed | 1 | 10% | 1.1 | EA |  |  |  | 0
37 |  | Menu board to be removed including their canopies and footing | 2 | 10% | 2.2 | EA |  |  |  | 0
38 |  | Concrete flatwork to be removed | 4786.81 | 10% | 5265.491 | SF |  |  |  | 0
39 |  | Asphalt pavement to be removed | 21924.23 | 10% | 24116.653 | SF |  |  |  | 0
EROSION CONTROL
40 |  | Stacked erosion control fence | 675.98 | 10% | 743.578 | LF |  |  |  | 0
41 |  | Allowance for inlet protection | 1 | 10% | 1.1 | LS |  |  |  | 0
42 |  | Allowance for construction entrance | 1 | 10% | 1.1 | LS |  |  |  | 0
43 |  | Allowance for Misc erosion control items | 1 | 10% | 1.1 | LS |  |  |  | 0
44 |  | Grass stabilization | 6019 | 10% | 6620.9 | SF |  |  |  | 0
SITE WORK
Pavement striping
45 |  | Directional arrow | 16 | 10% | 17.6 | EA |  |  |  | 0
46 |  | 16.5' stripping | 3 | 10% | 3.3 | EA |  |  |  | 0
47 |  | Stop bar | 36.88 | 10% | 40.568 | LF |  |  |  | 0
48 |  | Stop line graphics | 3 | 10% | 3.3 | EA |  |  |  | 0
49 |  | Drive thru graphics | 2 | 10% | 2.2 | EA |  |  |  | 0
50 |  | Cross walk stripping | 20.57 | 10% | 22.627 | LF |  |  |  | 0
51 |  | Painted handicap parking symbols | 2 | 10% | 2.2 | EA |  |  |  | 0
52 |  | 4" Wide white stripping-Paint additive | 33.56 | 10% | 36.916 | LF |  |  |  | 0
53 |  | 17.5' Stripping lines | 9 | 10% | 9.9 | EA |  |  |  | 0
54 |  | Parking stripping diagonals | 98.11 | 10% | 107.921 | LF |  |  |  | 0
55 |  | 19' Stripping lines | 16 | 10% | 17.6 | EA |  |  |  | 0
56 |  | Painted diagonal/Chevron striping | 74.27 | 10% | 81.697 | SF |  |  |  | 0
Signage
57 |  | Stop sign | 2 | 10% | 2.2 | EA |  |  |  | 0
58 |  | "Left turn only" Sign | 1 | 10% | 1.1 | EA |  |  |  | 0
59 |  | " Right turn only" Sign | 1 | 10% | 1.1 | EA |  |  |  | 0
60 |  | Accessible parking sign | 2 | 10% | 2.2 | EA |  |  |  | 0
Concrete footing
61 |  | Concrete 3500 Psi | 0.12529 | 10% | 0.13782 | CY |  |  |  | 0
62 |  | Formwork circular footing | 25.2456 | 10% | 27.7702 | SFCA |  |  |  | 0
63 |  | Excavation | 0.77841 | 10% | 0.85625 | CY |  |  |  | 0
64 |  | Backfill | 0.65312 | 10% | 0.71843 | CY |  |  |  | 0
Concrete curb and gutter
65 |  | 24" Concrete curb and gutter | 1546.6 | 10% | 1701.26 | LF |  |  |  | 0
66 |  | Depressed concrete curb and gutter | 85.88 | 10% | 94.468 | LF |  |  |  | 0
67 |  | 6" Header curb | 62.08 | 10% | 68.288 | LF |  |  |  | 0
68 |  | Transition of 2' curb gutter from 1.5' curb and gutter | 1 | 10% | 1.1 | EA |  |  |  | 0
69 |  | Poll over curb to be painted yellow | 1 | 10% | 1.1 | EA |  |  |  | 0
70 |  | Curb at flume | 10.95 | 10% | 12.045 | LF |  |  |  | 0
71 |  | SCDOT 2' Roll over median curb per index 720-105-03 | 29.57 | 10% | 32.527 | LF |  |  |  | 0
72 |  | 8"x24" Concrete ribbon curb 18" #5 Bar @ Expansion joint 20' o.c. Max #5 Con bars | 136 | 10% | 149.6 | LF |  |  |  | 0
73 |  | 6" Aggregate base | 5.037 | 10% | 5.5407 | CY |  |  |  | 0
Joints
74 |  | Butt joint | 51.41 | 10% | 56.551 | LF |  |  |  | 0
75 |  | #5 @ 24" o.c. Drilled and epoxy dowels | 26.705 | 10% | 29.3755 | EA |  |  |  | 0
76 |  | Pavement edge Key construction joint and 2' Addition | 69.51 | 10% | 76.461 | LF |  |  |  | 0
77 |  | Transverse and longitudinal construction joint | 27.51 | 10% | 30.261 | LF |  |  |  | 0
78 |  | 3/4" Grade A36 Steel dowels 14" length @ 14" o.c. Grease or sleeve one end | 24.5128 | 10% | 26.9641 | EA |  |  |  | 0
Concrete flume
79 |  | 4" Thick sidewalk 3000 Psi with 6"x6" 6 Welded wire fabric seated on strands | 20.78 | 10% | 22.858 | SF |  |  |  | 0
80 |  | 4" Edge form | 19 | 10% | 20.9 | LF |  |  |  | 0
81 |  | 4" Aggregate base | 0.25398 | 10% | 0.27938 | CY |  |  |  | 0
82 |  | Saw cut control joint | 3.3248 | 10% | 3.6573 | LF |  |  |  | 0
83 |  | Expansion joint | 19 | 10% | 20.9 | LF |  |  |  | 0
Dumpster pad
84 |  | 6" Thick PCC concrete pavement 4000 Psi | 878.54 | 10% | 966.394 | SF |  |  |  | 0
85 |  | 6" Edge form | 130 | 10% | 143 | LF |  |  |  | 0
86 |  | #3 @ 12" o.c. Each way | 792.7945 | 10% | 872.0739 | LB |  |  |  | 0
87 |  | 6" Aggregate base | 16.2693 | 10% | 17.8962 | CY |  |  |  | 0
88 |  | Saw cut control joint | 140.5664 | 10% | 154.623 | LF |  |  |  | 0
89 |  | Expansion joint | 130 | 10% | 143 | LF |  |  |  | 0
Dumpster enclosure gate
90 |  | Dumpster enclosure gate | 2 | 10% | 2.2 | EA |  |  |  | 0
Concrete footing
91 |  | Concrete 3500 Psi | 0.68688 | 10% | 0.75556 | CY |  |  |  | 0
92 |  | Formwork circular footing | 49.455 | 10% | 54.4005 | SFCA |  |  |  | 0
93 |  | Excavation | 1.908 | 10% | 2.0988 | CY |  |  |  | 0
94 |  | Backfill | 1.2211 | 10% | 1.3432 | CY |  |  |  | 0
Dumpster wall
95 |  | Dumpster wall Length:36 LF Height:8 LF Assumed | 291.6 | 10% | 320.76 | SF |  |  |  | 0
Concrete footing
96 |  | Concrete 3000 Psi | 2.6667 | 10% | 2.9333 | CY |  |  |  | 0
97 |  | Formwork footing | 72 | 10% | 79.2 | SFCA |  |  |  | 0
98 |  | Excavation | 4 | 10% | 4.4 | CY |  |  |  | 0
99 |  | Backfill | 1.3333 | 10% | 1.4667 | CY |  |  |  | 0
100 |  | 3 #4 Cont | 86.5728 | 10% | 95.2301 | LB |  |  |  | 0
101 |  | #5 @ 32" o.c. CMU dowels | 59.0643 | 10% | 64.9707 | LB |  |  |  | 0
Details are assumed for dumpster enclosure wall footing.
Storage pad
102 |  | 6" Thick PCC concrete pavement 4000 Psi | 77 | 10% | 84.7 | SF |  |  |  | 0
103 |  | 6" Edge form | 36 | 10% | 39.6 | LF |  |  |  | 0
104 |  | #3 @ 12" o.c. Each way | 69.4848 | 10% | 76.4333 | LB |  |  |  | 0
105 |  | 6" Aggregate base | 1.4259 | 10% | 1.5685 | CY |  |  |  | 0
106 |  | Saw cut control joint | 12.32 | 10% | 13.552 | LF |  |  |  | 0
107 |  | Expansion joint | 36 | 10% | 39.6 | LF |  |  |  | 0
Storage pad gate
108 |  | Dumpster enclosure gate | 1 | 10% | 1.1 | EA |  |  |  | 0
Concrete footing
109 |  | Concrete 3500 Psi | 0.45792 | 10% | 0.50371 | CY |  |  |  | 0
110 |  | Formwork circular footing | 32.97 | 10% | 36.267 | SFCA |  |  |  | 0
111 |  | Excavation | 1.272 | 10% | 1.3992 | CY |  |  |  | 0
112 |  | Backfill | 0.81407 | 10% | 0.89548 | CY |  |  |  | 0
Storage pad wall
113 |  | Dumpster wall Length:32 LF Height:8 LF Assumed | 256 | 10% | 281.6 | SF |  |  |  | 0
Concrete footing
114 |  | Concrete 3000 Psi | 2.3704 | 10% | 2.6074 | CY |  |  |  | 0
115 |  | Formwork footing | 64 | 10% | 70.4 | SFCA |  |  |  | 0
116 |  | Excavation | 3.5556 | 10% | 3.9111 | CY |  |  |  | 0
117 |  | Backfill | 1.1852 | 10% | 1.3037 | CY |  |  |  | 0
118 |  | 3 #4 Cont | 76.9536 | 10% | 84.649 | LB |  |  |  | 0
119 |  | #5 @ 32" o.c. CMU dowels | 52.5016 | 10% | 57.7517 | LB |  |  |  | 0
Details are assumed for Storage pad wall footing.
Asphalt pavement crosswalk
120 |  | Asphalt pavement crosswalk | 144.65 | 10% | 159.115 | SF |  |  |  | 0
121 |  | 1.5" Thick asphaltic concrete surface course | 144.65 | 10% | 159.115 | SF |  |  |  | 0
122 |  | Tack coat | 144.65 | 10% | 159.115 | SF |  |  |  | 0
123 |  | 2.5" Thick asphaltic Concrete binder course | 144.65 | 10% | 159.115 | SF |  |  |  | 0
124 |  | 6" Aggregate base | 2.6787 | 10% | 2.9466 | CY |  |  |  | 0
Chik Fill A monument sign 8 ft high
125 |  | Chik Fill A monument sign 8 ft high | 1 | 10% | 1.1 | EA |  |  |  | 0
Concrete footing
126 |  | Concrete 3000 Psi | 1.0467 | 10% | 1.1513 | CY |  |  |  | 0
127 |  | Formwork circular footing | 56.52 | 10% | 62.172 | SFCA |  |  |  | 0
128 |  | Excavation | 6.5417 | 10% | 7.1958 | CY |  |  |  | 0
129 |  | Backfill | 5.495 | 10% | 6.0445 | CY |  |  |  | 0
130 |  | 6 #8 Vertical bars | 173.016 | 10% | 190.3176 | LB |  |  |  | 0
131 |  | #4 @ 12" o.c ties | 54.3485 | 10% | 59.7833 | LB |  |  |  | 0
Details are assumed for monument sign footing.
Security camera
132 |  | 12' Pole mounted security camera | 1 | 10% | 1.1 | EA |  |  |  | 0
133 |  | Light mounted security camera | 1 | 10% | 1.1 | EA |  |  |  | 0
Concrete footing
134 |  | Concrete 3000 Psi | 2.0933 | 10% | 2.3027 | CY |  |  |  | 0
135 |  | Formwork circular footing | 113.04 | 10% | 124.344 | SFCA |  |  |  | 0
136 |  | Excavation | 13.0833 | 10% | 14.3917 | CY |  |  |  | 0
137 |  | Backfill | 10.99 | 10% | 12.089 | CY |  |  |  | 0
138 |  | 6 #8 Vertical bars | 346.032 | 10% | 380.6352 | LB |  |  |  | 0
139 |  | #4 @ 12" o.c ties | 108.697 | 10% | 119.5667 | LB |  |  |  | 0
Details are assumed for camera post footing.
Assumed light poles
140 |  | Assumed light poles | 2 | 10% | 2.2 | EA |  |  |  | 0
Concrete footing
141 |  | Concrete 3000 Psi | 2.0933 | 10% | 2.3027 | CY |  |  |  | 0
142 |  | Formwork circular footing | 113.04 | 10% | 124.344 | SFCA |  |  |  | 0
143 |  | Excavation | 13.0833 | 10% | 14.3917 | CY |  |  |  | 0
144 |  | Backfill | 10.99 | 10% | 12.089 | CY |  |  |  | 0
145 |  | 6 #8 Vertical bars | 346.032 | 10% | 380.6352 | LB |  |  |  | 0
146 |  | #4 @ 12" o.c ties | 108.697 | 10% | 119.5667 | LB |  |  |  | 0
Details are assumed for light pole post footing.
Transformer
147 |  | Transformer | 1 | 10% | 1.1 | EA |  |  |  | 0
Pad for transformer (1 EA)
148 |  | 8" Thick pad | 57.21 | 10% | 62.931 | SF |  |  |  | 0
149 |  | 8" Edge form | 32 | 10% | 35.2 | LF |  |  |  | 0
150 |  | #4 @ 12" o.c. Each way top and bottom | 183.4381 | 10% | 201.782 | LB |  |  |  | 0
151 |  | 6" Aggregate base | 1.0594 | 10% | 1.1654 | CY |  |  |  | 0
Menu board loop detection system
152 |  | Menu board loop detection system | 2 | 10% | 2.2 | EA |  |  |  | 0
Curbed ramp with flared sides
153 |  | 4" Thick sidewalk 3000 Psi with 6"x6" 6 Welded wire fabric seated on strands | 173.1 | 10% | 190.41 | SF |  |  |  | 0
154 |  | 4" Edge form | 80 | 10% | 88 | LF |  |  |  | 0
155 |  | 4" Aggregate base | 2.1157 | 10% | 2.3272 | CY |  |  |  | 0
156 |  | Saw cut control joint | 27.696 | 10% | 30.4656 | LF |  |  |  | 0
157 |  | Expansion joint | 80 | 10% | 88 | LF |  |  |  | 0
158 |  | Truncated domes | 2 | 10% | 2.2 | EA |  |  |  | 0
Bollards
159 |  | Concrete bollard | 8 | 10% | 8.8 | EA |  |  |  | 0
160 |  | Pipe bollards at refuse enclosure | 4 | 10% | 4.4 | EA |  |  |  | 0
Concrete footing
161 |  | Concrete 3500 Psi | 2.3259 | 10% | 2.5585 | CY |  |  |  | 0
162 |  | Formwork circular footing | 125.6 | 10% | 138.16 | SFCA |  |  |  | 0
163 |  | Excavation | 5.2333 | 10% | 5.7567 | CY |  |  |  | 0
164 |  | Backfill | 2.9074 | 10% | 3.1981 | CY |  |  |  | 0
Concrete footing
165 |  | Concrete 3500 Psi | 0.91583 | 10% | 1.0074 | CY |  |  |  | 0
166 |  | Formwork circular footing | 65.94 | 10% | 72.534 | SFCA |  |  |  | 0
167 |  | Excavation | 2.544 | 10% | 2.7984 | CY |  |  |  | 0
168 |  | Backfill | 1.6281 | 10% | 1.791 | CY |  |  |  | 0
Pervios pavers
169 |  | 3.125" Unilock permeable paver | 1620.51 | 10% | 1782.561 | SF |  |  |  | 0
170 |  | 2 1/2" Permeable setting bed aggregate | 12.0038 | 10% | 13.2042 | CY |  |  |  | 0
171 |  | 18" Permeable base aggregate | 90.0283 | 10% | 99.0312 | CY |  |  |  | 0
172 |  | Geotextile material | 1620.51 | 10% | 1782.561 | SF |  |  |  | 0
Sidewalk accessible ramp
173 |  | 4" Thick sidewalk 3000 Psi with 6"x6" 6 Welded wire fabric seated on strands | 22.51 | 10% | 24.761 | SF |  |  |  | 0
174 |  | 4" Edge form | 19 | 10% | 20.9 | LF |  |  |  | 0
175 |  | 4" Aggregate base | 0.27512 | 10% | 0.30263 | CY |  |  |  | 0
176 |  | Saw cut control joint | 3.6016 | 10% | 3.9618 | LF |  |  |  | 0
177 |  | Expansion joint | 19 | 10% | 20.9 | LF |  |  |  | 0
Sidewalk with curb and gutter
178 |  | 4" Thick sidewalk 3000 Psi with 6"x6" 6 Welded wire fabric seated on strands | 2605 | 10% | 2865.5 | SF |  |  |  | 0
179 |  | 4" Edge form | 872 | 10% | 959.2 | LF |  |  |  | 0
180 |  | 4" Aggregate base | 31.8389 | 10% | 35.0228 | CY |  |  |  | 0
181 |  | Saw cut control joint | 416.8 | 10% | 458.48 | LF |  |  |  | 0
182 |  | Expansion joint | 872 | 10% | 959.2 | LF |  |  |  | 0
Rigid insulation @ Door entry
183 |  | 2" XPS Rigid insulation | 150 | 10% | 165 | SF |  |  |  | 0
Drive thru order point island curb(Menu boards)
184 |  | Drive thru order point island curb(Menu boards) | 316.95 | 10% | 348.645 | LF |  |  |  | 0
Multi order point (MLOP) canopy
185 |  | Multi order point (MLOP) canopy | 1 | 10% | 1.1 | EA |  |  |  | 0
Order meal canopy(OMD) canopy
186 |  | Order meal canopy(OMD) canopy | 1 | 10% | 1.1 | EA |  |  |  | 0
Concrete footing
187 |  | Concrete 3000 Psi | 5.5556 | 10% | 6.1111 | CY |  |  |  | 0
188 |  | Formwork footing | 120 | 10% | 132 | SFCA |  |  |  | 0
189 |  | Excavation | 12 | 10% | 13.2 | CY |  |  |  | 0
190 |  | Backfill | 6.4444 | 10% | 7.0889 | CY |  |  |  | 0
191 |  | #5 @ 12" o.c. Each way top and bottom | 375.48 | 10% | 413.028 | LB |  |  |  | 0
Details are assumed for order meal canopy footings.
Drive thru plan(Pick up window)
192 |  | Drive thru plan(Pick up window) | 1 | 10% | 1.1 | EA |  |  |  | 0
Drive thru canopy
193 |  | Drive thru plan Concrete island (Automatic door) Size:6'x12' Concrete curb around menu board | 1 | 10% | 1.1 | EA |  |  |  | 0
Bollards
194 |  | Concrete bollard | 1 | 10% | 1.1 | EA |  |  |  | 0
Concrete footing
195 |  | Concrete 3500 Psi | 0.22896 | 10% | 0.25185 | CY |  |  |  | 0
196 |  | Formwork circular footing | 16.485 | 10% | 18.1335 | SFCA |  |  |  | 0
197 |  | Excavation | 0.636 | 10% | 0.69959 | CY |  |  |  | 0
198 |  | Backfill | 0.40704 | 10% | 0.44774 | CY |  |  |  | 0
Menu board/Drive thru clearance bar concrete footing
199 |  | Concrete 3500 Psi | 1.8607 | 10% | 2.0468 | CY |  |  |  | 0
200 |  | Formwork circular footing | 100.48 | 10% | 110.528 | SFCA |  |  |  | 0
201 |  | Excavation | 4.1867 | 10% | 4.6053 | CY |  |  |  | 0
202 |  | Backfill | 2.3259 | 10% | 2.5585 | CY |  |  |  | 0
203 |  | 3/4" Dia x 36" Headed anchor bolts w/ 3 1/2" Projection above grade | 16 | 10% | 17.6 | EA |  |  |  | 0
204 |  | #4 @ 12" o.c. ties | 108.697 | 10% | 119.5667 | LB |  |  |  | 0
Aluminum handrail
205 |  | Aluminum handrail | 37.28 | 10% | 41.008 | LF |  |  |  | 0
Concrete footing
206 |  | Concrete 3500 Psi | 0.069955 | 10% | 0.076951 | CY |  |  |  | 0
207 |  | Formwork circular footing | 11.2764 | 10% | 12.404 | SFCA |  |  |  | 0
208 |  | Excavation | 0.43461 | 10% | 0.47808 | CY |  |  |  | 0
209 |  | Backfill | 0.36466 | 10% | 0.40112 | CY |  |  |  | 0
Heavy duty concrete pavement
210 |  | 6" Thick PCC concrete pavement 3500 Psi | 6875.77 | 10% | 7563.347 | SF |  |  |  | 0
211 |  | 6" Edge form | 1469 | 10% | 1615.9 | LF |  |  |  | 0
212 |  | #4 @ 18" o.c. Each way | 7348.823 | 10% | 8083.7053 | LB |  |  |  | 0
213 |  | 4" Aggregate base | 84.0372 | 10% | 92.4409 | CY |  |  |  | 0
214 |  | Saw cut control joint | 1100.1232 | 10% | 1210.1355 | LF |  |  |  | 0
215 |  | Expansion joint | 1469 | 10% | 1615.9 | LF |  |  |  | 0
216 |  | #3 @ 16" o.c. dowels w/ pipe sleeves | 1104.5113 | 10% | 1214.9624 | EA |  |  |  | 0
Turn down
217 |  | Concrete 3500 Psi | 2.7778 | 10% | 3.0556 | CY |  |  |  | 0
218 |  | Formwork turn down | 75 | 10% | 82.5 | SFCA |  |  |  | 0
219 |  | 2 #4 Cont | 240.48 | 10% | 264.528 | LB |  |  |  | 0
220 |  | #4 @ 18" o.c. dowels | 120.24 | 10% | 132.264 | LB |  |  |  | 0
Medium duty concrete pavement
221 |  | 4" Thick PCC concrete pavement 3500 Psi | 419.38 | 10% | 461.318 | SF |  |  |  | 0
222 |  | 4" Edge form | 82 | 10% | 90.2 | LF |  |  |  | 0
223 |  | #4 @ 18" o.c. Each way | 448.2333 | 10% | 493.0567 | LB |  |  |  | 0
224 |  | 4" Aggregate base | 5.1258 | 10% | 5.6383 | CY |  |  |  | 0
225 |  | Saw cut control joint | 67.1008 | 10% | 73.8109 | LF |  |  |  | 0
226 |  | Expansion joint | 82 | 10% | 90.2 | LF |  |  |  | 0
227 |  | #3 @ 16" o.c. dowels w/ pipe sleeves | 61.6541 | 10% | 67.8195 | EA |  |  |  | 0
HMAC(Asphalt )Pavment
228 |  | 1.5" Thick asphaltic concrete surface course | 12764.03 | 10% | 14040.433 | SF |  |  |  | 0
229 |  | Tack coat | 12764.03 | 10% | 14040.433 | SF |  |  |  | 0
230 |  | 2.5" Thick asphaltic Concrete binder course | 12764.03 | 10% | 14040.433 | SF |  |  |  | 0
231 |  | 6" Aggregate base | 236.3709 | 10% | 260.008 | CY |  |  |  | 0
Turn down @ Asphalt/Concrete pavement junction
232 |  | Turn down at asphalt | 150 | 10% | 165 | LF |  |  |  | 0
UTILITIES
233 |  | Downspout drain | 445.58 | 10% | 490.138 | LF |  |  |  | 0
234 |  | Storm drain | 85.98 | 10% | 94.578 | LF |  |  |  | 0
Pipe trench
235 |  | Excavation | 1064 | 10% | 1170.4 | CY |  |  |  | 0
236 |  | Backfill | 1060.1331 | 10% | 1166.1465 | CY |  |  |  | 0
237 |  | Pop Drain emitter | 1 | 10% | 1.1 | EA |  |  |  | 0
238 |  | Fire hydrant | 1 | 10% | 1.1 | EA |  |  |  | 0
239 |  | 1000 Gallon grease interceptor | 1 | 10% | 1.1 | EA |  |  |  | 0
LANDSCAPING
240 |  | Foundation landscaping | 737.09 | 10% | 810.799 | SF |  |  |  | 0
241 |  | Mulching | 737.09 | 10% | 810.799 | SF |  |  |  | 0
| DIV.31 | EARTHWORKS | [8 empty] | 0
CUT & FILL
242 |  | Clearing and grubbing (35,877 SF) | 0.82362 | 10% | 0.90598 | AC |  |  |  | 0
243 |  | Compacted subgrade | 29858 | 10% | 32843.8 | SF |  |  |  | 0
244 |  | Top soil stripping (4" Assumed) (35,877 SF) | 438 | 10% | 481.8 | CY |  |  |  | 0
245 |  | Cut | 170 | 10% | 187 | CY |  |  |  | 0
246 |  | Fill | 1600 | 10% | 1760 | CY |  |  |  | 0
SUB TOTAL | [9 empty] | 0 | 0
OVERHEAD & PROFIT (25%) | [8 empty] | 25% | 0 | 0
TOTAL BID | [9 empty] | 0 | 0
PREPARED BY :
Notes
1. This estimate is based on real market prices that are regularly updated by our team persons through market surveys and online resoures, we still encourage our clients to put their own.
2. This sheet is your property and we encourage you to fine tune the wastage and pricing values to your preference.
3. Feel free to contact us for any queries or suggestions.
Exclusions
Building concrete
Structural excavation backfill