## Estimate
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | Date: | 2023-04-12
Gross Area (SF) |  | Project: | DIW Site Improvements | [8 empty] | Summary | Amount
Covered Area (SF) |  | Project Location: | Town of Jupitar Florida | [8 empty] | Subtotal | 116074.2985
[12 empty] | Profit/Overhead | 34822.2896
[12 empty] | Contigency | 5803.7149
[12 empty] | Total | 156700.303
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | GENERAL REQUIREMENTS | [10 empty] | 0
|  | Supervision | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Permits | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Final Cleanup | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Mobilization Costs | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Project Overheads | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Bonds | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Temporary Control & Facilities | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Contractor's Safety Program | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Div-02 Selective Removal & Demolition | [10 empty] | 53323.9121
Demolition
C2 | C2 | Remove 6" PVC Piping | 30 | 5% | 31.5 | LF | 16.25 | 511.875 |  | 0 | 16.25 | 511.875
C2 | C2 | Remove 4" Water Piping | 5 | 5% | 5.25 | LF | 15.1 | 79.275 |  | 0 | 15.1 | 79.275
C2 | C2 | Remove 6" Thick Concrete | 72.39 | 5% | 76.0095 | SF | 5.1 | 387.6484 |  | 0 | 5.1 | 387.6484
C2 | C2 | Remove 6" PVC Piping | 8 | 5% | 8.4 | LF | 16.25 | 136.5 |  | 0 | 16.25 | 136.5
C2 | C2 | Remove 2" PVC Piping | 140 | 5% | 147 | LF | 12.27 | 1803.69 |  | 0 | 12.27 | 1803.69
C2 | C2 | Remove 1" PVC Conduit | 280 | 5% | 294 | LF | 9.89 | 2907.66 |  | 0 | 9.89 | 2907.66
C2 | C2 | Remove 8" PVC Vacuum Header | 140 | 5% | 147 | LF | 17.58 | 2584.26 |  | 0 | 17.58 | 2584.26
C2 | C2 | Remove 3" PVC Piping | 160 | 5% | 168 | LF | 13.85 | 2326.8 |  | 0 | 13.85 | 2326.8
C2 | C2 | Remove 12" PVC Piping | 45 | 5% | 47.25 | LF | 18.95 | 895.3875 |  | 0 | 18.95 | 895.3875
C2 | C2 | Remove 4" PVC Piping | 45 | 5% | 47.25 | LF | 15.1 | 713.475 |  | 0 | 15.1 | 713.475
C2 | C2 | Clear & Grub Area | 927.05 | 5% | 973.4025 | SF | 1.19 | 1158.349 |  | 0 | 1.19 | 1158.349
C2 | C2 | Remove 6" PVC Piping | 210 | 5% | 220.5 | LF | 16.25 | 3583.125 |  | 0 | 16.25 | 3583.125
C2 | C2 | Remove Abandoned Electrical Conduit | 51.28 | 5% | 53.844 | LF | 2.9 | 156.1476 |  | 0 | 2.9 | 156.1476
C2 | C2 | Remove 6" BFV | 1 | 0% | 1 | EA | 25 | 25 |  | 0 | 25 | 25
C2 | C2 | Remove 1" PVC Airline | 108.22 | 5% | 113.631 | LF | 9.89 | 1123.8106 |  | 0 | 9.89 | 1123.8106
C2 | C2 | Remove All Pipe Supports (Hangers Etc) | 107.9 | 5% | 113.295 | LF | 2 | 226.59 |  | 0 | 2 | 226.59
C3 | C3 | Saw Cut 12 " Thick Concrete | 581.45 | 5% | 610.5225 | LF | 1.89 | 1153.8875 |  | 0 | 1.89 | 1153.8875
C3 | C3 | Saw Cut 6" Thick Concrete | 154.96 | 5% | 162.708 | LF | 1.54 | 250.5703 |  | 0 | 1.54 | 250.5703
C3 | C3 | Saw Cut 9" Wide Pen Concrete Wall | 516.36 | 5% | 542.178 | LF | 1.66 | 900.0155 |  | 0 | 1.66 | 900.0155
C3 | C3 | Remove 12" Thick Concrete Slab | 1485.79 | 5% | 1560.0795 | SF | 6.21 | 9688.0937 |  | 0 | 6.21 | 9688.0937
C3 | C3 | Remove 6" Thick Concrete Landing | 1199.3 | 5% | 1259.265 | SF | 5.1 | 6422.2515 |  | 0 | 5.1 | 6422.2515
C3 | C3 | Remove 9" Thick Concrete Wall (H=3'-0") | 385.92 | 5% | 405.216 | SF | 4.18 | 1693.8029 |  | 0 | 4.18 | 1693.8029
C3 | C3 | Remove 9" Thick Concrete Wall (H=6'-6") | 2520.18 | 5% | 2646.189 | SF | 4.18 | 11061.07 |  | 0 | 4.18 | 11061.07
C2 | C5 | Remove 8" PVC Vaccum Pipe | 26.66 | 5% | 27.993 | LF | 17.58 | 492.1169 |  | 0 | 17.58 | 492.1169
C2 | C5 | Remove Clevis Hangers | 4 | 0% | 4 | EA | 1.6 | 6.4 |  | 0 | 1.6 | 6.4
C2 | C5 | Remove 12" Insulated FRP Duct | 16 | 5% | 16.8 | LF | 7.1 | 119.28 |  | 0 | 7.1 | 119.28
C2 | C5 | Remove vaccum Pump Equipment | 3 | 0% | 3 | EA | 85.96 | 257.88 |  | 0 | 85.96 | 257.88
C2 | C5 | Remove Hand Railing | 142.85 | 5% | 149.9925 | LF | 8.65 | 1297.4351 |  | 0 | 8.65 | 1297.4351
C2 | C5 | Remove Underdrain Piping W/ Supports -Trenchless | 287.8 | 5% | 302.19 | LF | 3.45 | 1042.5555 |  | 0 | 3.45 | 1042.5555
C2 | C5 | Remove Concrete Pipe Supports | 2 | 0% | 2 | EA | 21.1 | 42.2 |  | 0 | 21.1 | 42.2
C2 | C5 | Remove Steel Angle | 1 | 0% | 1 | EA | 5 | 5 |  | 0 | 5 | 5
Caps
C2 | C2 | 4" SCH. 40 PVC Cap | 3 | 0% | 3 | EA | 6.55 | 19.65 | 12.45 | 37.35 | 19 | 57
C2 | C2 | 12" MJ Cap | 1 | 0% | 1 | EA | 31.4 | 31.4 | 130 | 130 | 161.4 | 161.4
C2 | C2 | 6" SCH. 40 PVC Cap | 1 | 0% | 1 | EA | 8.1 | 8.1 | 20.06 | 20.06 | 28.16 | 28.16
C2 | C2 | Remove Hose Connection | 1 | 0% | 1 | EA | 15 | 15 |  | 0 | 15 | 15
C2 | C2 | Conduit Cap | 1 | 0% | 1 | EA | 3.12 | 3.12 | 7.08 | 7.08 | 10.2 | 10.2
|  | Div-31 Earthwork | [10 empty] | 61269.8864
Fill
C8 | C8 | 327.57 SF Earthwork | 1637.7287 | 5% | 1719.6151 | CY | 35.63 | 61269.8864 | 0 | 0 | 35.63 | 61269.8864
|  | Div-32 Exterior Improvements | [10 empty] | 1480.5
Handrail
C7 | C7 | Aluminum Handrail : H=3'-8" -Please Verify either Existing Railing Will be Reused Or New railing will be installed. | 100 | 5% | 105 | LF | 14.1 | 1480.5 |  | 0 | 14.1 | 1480.5
[12 empty] | 116074.2985 | 116074.2985
Material Tax | [10 empty] | 10% | 11607.4299 | 11607.4299
OH&P | [10 empty] | 20% | 23214.8597 | 23214.8597
Contigency | [10 empty] | 5% | 5803.7149 | 5803.7149
[12 empty] | 156700.303 | 156700.303

## Alternate
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | Date: | 2023-03-23
Gross Area (SF) |  | Project: | Moving Forward PT | [8 empty] | Summary | Amount
Covered Area (SF) |  | Project Location: | 32 East 57th Street New York,NY 10022 | [8 empty] | Subtotal | 8272.4216
[12 empty] | Profit/Overhead | 2440.3644
[12 empty] | Total | 10712.786
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | Div-09 Finishes | [10 empty] | 7186.9816
Floor Finishes
|  | 24x24 Tile (T2 Cemento, Rosato Grigio) | 166.11 | 5% | 174.4155 | SF | 2.41 | 420.3414 | 3.87 | 674.988 | 6.28 | 1095.3293
|  | Mast Timber Acoustic Board | 1162.64 | 5% | 1220.772 | SF | 2.1 | 2563.6212 | 2.89 | 3528.0311 | 4.99 | 6091.6523
|  | Div-23 Heating, Ventilating, and Air Conditioning (HVAC) | [10 empty] | 1085.44
Alternate
|  | Shut Off Valve (Alternate) | 1 | 0% | 1 | EA | 85.1 | 85.1 | 175 | 175 | 260.1 | 260.1
|  | Danfoss Valve | 1 | 0% | 1 | EA | 76.56 | 76.56 | 112.99 | 112.99 | 189.55 | 189.55
|  | Steam Trap | 1 | 0% | 1 | EA | 35.1 | 35.1 | 51.75 | 51.75 | 86.85 | 86.85
|  | Govern-ALE Iron Radiator | 3 | 0% | 3 | EA | 74.12 | 222.36 | 108.86 | 326.58 | 182.98 | 548.94
[12 empty] | 8272.4216 | 8272.4216
Material Tax | [10 empty] | 9.5% | 785.8801 | 785.8801
OH&P | [10 empty] | 20% | 1654.4843 | 1654.4843
[12 empty] | 10712.786 | 10712.786