## QTY
|  | Project: |  |  | # OF CARPORTS: |  | # OF APTS: |  | TOTAL NRSF: |  | # OF SPACES:
|  | Location (City, State): |  |  | # OF GARAGES |  | # STUDIO: |  | TOTAL GSF: |  | CLUBHOUSE:
|  | Project Manager: |  |  | # OF BEDROOMS: |  | # OF 1 BRS: |  | EFFICIENCY: |  | # OF FLOORS:
|  | Supervisor: |  |  | # OF BATHROOMS: |  | # OF 2 BRS: |  | PROJECT START DATE: |  | PROJECT DURATION:
|  | Architect: |  |  | # OF BUILDINGS: |  | # OF 3 BRS: |  |  |  | ACRES:
|  | ID: | -82
BIDDER NAME:
S# | DWG # | DETAIL # | CSI NO | DESCRIPTION | QTY. | Calc. | UNIT | LABOR |  |  | MATERIAL (PER UNIT) | EQUIPMENT (PER UNIT) | COMPOSITE RATE/UNIT | TOTAL COST
[8 empty] | Manhour / Unit | $/HOUR | COST
|  |  | 10000 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION | 1 |  | LS
2 |  |  |  | BOND & INSURANCE | 1 |  | LS
3 |  |  |  | SUPERVISION | 1 |  | LS
4 |  |  |  | SUBMITTALS & SAMPLES | 1 |  | LS
5 |  |  |  | TEMPORARY FACILITIES & CONTROLS | 1 |  | LS
6 |  |  |  | PROJECT SCHEDULE | 1 |  | LS
7 |  |  |  | CLOSEOUT PROCEDURES | 1 |  | LS
8 |  |  |  | PERMITS | 1 |  | LS
|  |  |  | Subtotal | [9 empty] | 175000
|  |  | 20000 | DIVISION 02 - EXISTING CONDITIONS
|  |  | 22000 | EARTHWORK
10 | S1 to S4 |  |  | FOOTING EXCAVATION | 4155 |  | CF | 0.009 | 85 | 0.765 | 0 | 0.03 | 0.795 | 3303.225
11 |  |  |  | FOOTING BACKFILL | 1040 |  | CF | 0.004 | 85 | 0.34 | 0 | 0.05 | 0.39 | 405.6
12 |  |  |  | EXPORT SURPLUS MATERIAL | 3115 |  | CF | 0.012 | 85 | 1.02 | 0 | 1.5 | 2.52 | 7849.8
|  |  |  | Subtotal | [9 empty] | 11558.625
|  |  | 30000 | DIVISION 03 - CONCRETE
| S1 to S4 |  |  | (1'6"Wx8"H) CONCRETE FOOTING
13 |  |  |  | Compaction of sub-grade. | 175 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 89.25
14 |  |  |  | Formwork. | 114 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 446.88
15 |  |  |  | Rebar's (Grade 60) | 140 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 219.1
16 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 86 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 616.62
| S1 to S4 |  |  | (2'Wx10"H) CONCRETE FOOTING
17 |  |  |  | Compaction of sub-grade. | 1120 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 571.2
18 |  |  |  | Formwork. | 745 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 2920.4
19 |  |  |  | Rebar's (Grade 60) | 1195 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 1870.175
20 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 745 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 5341.65
| S1 to S4 |  |  | (3'Wx1'H) CONCRETE FOOTING
21 |  |  |  | Compaction of sub-grade. | 55 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 28.05
22 |  |  |  | Formwork. | 31 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 121.52
23 |  |  |  | Rebar's (Grade 60) | 90 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 140.85
24 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 47 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 336.99
| S1 to S4 |  |  | (2' SQ.x10"H) CONCRETE FOOTING PAD (6 EA)
25 |  |  |  | Compaction of sub-grade. | 40 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 20.4
26 |  |  |  | Formwork. | 40 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 156.8
27 |  |  |  | Rebar's (Grade 60) | 35 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 54.775
28 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 20 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 143.4
| S1 to S4 |  |  | (3' SQ.x1'H) CONCRETE FOOTING PAD (4 EA)
29 |  |  |  | Compaction of sub-grade. | 50 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 25.5
30 |  |  |  | Formwork. | 48 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 188.16
31 |  |  |  | Rebar's (Grade 60) | 60 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 93.9
32 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 36 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 258.12
| S1 to S4 |  |  | (4' SQ.x1'H) CONCRETE FOOTING PAD (5 EA)
33 |  |  |  | Compaction of sub-grade. | 105 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 53.55
34 |  |  |  | Formwork. | 80 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 313.6
35 |  |  |  | Rebar's (Grade 60) | 150 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 234.75
36 |  |  |  | Concrete footing. (f'c = 3000 PSI) | 80 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 573.6
| S1 to S4 |  |  | CONCRETE WALL
37 |  |  |  | Formwork. | 5453 |  | SF | 0.018 | 65 | 1.17 | 2.75 | 0 | 3.92 | 21375.76
38 |  |  |  | Rebar's (Grade 60) | 7895 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 12355.675
39 |  |  |  | (6" THK) Concrete wall. (f'c = 3000 PSI) | 20 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 143.4
40 |  |  |  | (8" THK) Concrete wall. (f'c = 3000 PSI) | 1751 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 12554.67
41 |  |  |  | (12" THK) Concrete wall. (f'c = 3000 PSI) | 38 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 272.46
42 |  |  |  | (24" THK) Concrete wall. (f'c = 3000 PSI) | 43 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 308.31
| S1 to S4 |  |  | SLAB ON GRADE
43 |  |  |  | Compaction of sub-grade. | 2910 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 1484.1
44 |  |  |  | (4" THK) Aggregate base. | 2910 |  | SF | 0.012 | 65 | 0.78 | 1.25 | 0 | 2.03 | 5907.3
45 |  |  |  | (6 MIL) Vapor barrier. | 2910 |  | SF | 0.008 | 65 | 0.52 | 0.2 | 0 | 0.72 | 2095.2
46 |  |  |  | (4" THK) Slab on grade w/ 6x6-10/10 WWM. (f'c = 3000 PSI) | 2910 |  | SF | 0.038 | 65 | 2.47 | 4.65 | 0 | 7.12 | 20719.2
| S1 to S4 |  |  | CONCRETE STAIR
47 |  |  |  | Compaction of sub-grade. | 70 |  | SF | 0.004 | 65 | 0.26 | 0 | 0.25 | 0.51 | 35.7
48 |  |  |  | (4" THK) Aggregate base. | 70 |  | SF | 0.012 | 65 | 0.78 | 1.25 | 0 | 2.03 | 142.1
49 |  |  |  | (6 MIL) Vapor barrier. | 70 |  | SF | 0.008 | 65 | 0.52 | 0.2 | 0 | 0.72 | 50.4
50 |  |  |  | Rebar's (Grade 60) | 230 |  | LB | 0.011 | 65 | 0.715 | 0.85 | 0 | 1.565 | 359.95
51 |  |  |  | (4" THK) Concrete stair & steps. (f'c = 3000 PSI) | 70 |  | CF | 0.028 | 65 | 1.82 | 4.85 | 0.5 | 7.17 | 501.9
|  |  |  | Subtotal | [9 empty] | 93125.365
|  |  | 40000 | DIVISION 04 - MASONRY
|  |  | 4000060 | STONE
51 | A201 To A203 |  |  | S3 - STONE | 641 |  | SF | 0.381 | 80 | 30.48 | 9.75 | 0 | 40.23 | 25787.43
52 |  |  |  | STONE CAP | 161 |  | LF | 0.24 | 80 | 19.2 | 28 | 0 | 47.2 | 7599.2
53 |  |  |  | (2"x12") STONE CAP | 15 |  | LF | 0.381 | 80 | 30.48 | 30.2 | 0 | 60.68 | 910.2
54 |  |  |  | (2"x7") STONE CAP | 19 |  | LF | 0.24 | 80 | 19.2 | 28 | 0 | 47.2 | 896.8
|  |  |  | Subtotal | [9 empty] | 35193.63
|  |  | 50000 | DIVISION 05 - METAL
|  |  | 51200 | STRUCTURAL STEEL
56 | S1 to S4 |  |  | W10x45 | 1809 |  | LB | 0.055 | 95 | 5.225 | 1.3 | 0 | 6.525 | 11803.725
57 |  |  |  | W18x55 | 1642 |  | LB | 0.055 | 95 | 5.225 | 1.3 | 0 | 6.525 | 10714.05
58 |  |  |  | L2x2x3/16 | 51 |  | LB | 0.055 | 95 | 5.225 | 1.3 | 0 | 6.525 | 332.775
59 |  |  |  | L3x3x1/4 | 80 |  | LB | 0.055 | 95 | 5.225 | 1.3 | 0 | 6.525 | 522
60 |  |  |  | L6x3-1/2x5/16 | 2 |  | LB | 0.055 | 95 | 5.225 | 1.3 | 0 | 6.525 | 13.05
|  |  | 55000 | METAL FABRICATIONS
60 | A110 |  |  | HANDRAIL @PATIO | 6 |  | LF | 0.4 | 95 | 38 | 44.65 | 0 | 82.65 | 495.9
62 |  |  |  | MISC ITEMS. | 1 |  | LS | [6 empty] | 3000
|  |  |  | Subtotal | [9 empty] | 26881.5
|  |  | 60000 | DIVISION 06 - WOOD, PLASTIC AND COMPOSITES
|  |  | 61053 | WOOD FRAMING
63 | S1 to S4 |  |  | (2x6) P.T WOOD POST (83 EA) | 750 |  | LF | 0.017 | 95 | 1.615 | 1.14 | 0 | 2.755 | 2066.25
|  |  |  | (2x6) WOOD POST (54 EA) | 270 |  | LF | 0.017 | 95 | 1.615 | 1.12 | 0 | 2.735 | 738.45
|  |  |  | (4x4) P.T WOOD POST (6 EA) | 54 |  | LF | 0.026 | 95 | 2.47 | 1.95 | 0 | 4.42 | 238.68
|  |  |  | (6x6) P.T WOOD POST (23 EA) | 210 |  | LF | 0.026 | 95 | 2.47 | 2.65 | 0 | 5.12 | 1075.2
|  |  |  | (8x8) DF#1 P.T WOOD POST (10 EA) | 90 |  | LF | 0.026 | 95 | 2.47 | 3.25 | 0 | 5.72 | 514.8
|  |  |  | (3-1/2x9-1/2) P.T TIMBERSTRAND POST (1 EA) | 10 |  | LF | 0.026 | 95 | 2.47 | 2.95 | 0 | 5.42 | 54.2
|  |  |  | (2x8) HEADER BEAM | 105 |  | LF | 0.017 | 95 | 1.615 | 1.25 | 0 | 2.865 | 300.825
|  |  |  | (1-3/4"x9-1/2") LVL BEAM | 135 |  | LF | 0.017 | 95 | 1.615 | 4.25 | 0 | 5.865 | 791.775
|  |  |  | (1-3/4"x11-7/8") LVL BEAM | 1185 |  | LF | 0.017 | 95 | 1.615 | 5.1 | 0 | 6.715 | 7957.275
|  |  |  | (3-1/8"x12") GLU-LAM STAIR STRINGER | 150 |  | LF | 0.017 | 95 | 1.615 | 5.65 | 0 | 7.265 | 1089.75
|  |  |  | (3-1/8"x15") GLU-LAM BEAM | 5 |  | LF | 0.017 | 95 | 1.615 | 6.05 | 0 | 7.665 | 38.325
|  |  |  | (5-1/8"x7-1/2") GLU-LAM BEAM | 8 |  | LF | 0.017 | 95 | 1.615 | 6.38 | 0 | 7.995 | 63.96
|  |  |  | (5-1/8"x9") GLU-LAM BEAM | 30 |  | LF | 0.017 | 95 | 1.615 | 7.75 | 0 | 9.365 | 280.95
|  |  |  | (5-1/8"x12") GLU-LAM BEAM | 30 |  | LF | 0.017 | 95 | 1.615 | 8.15 | 0 | 9.765 | 292.95
|  |  |  | (5-1/8"x13-1/2") GLU-LAM BEAM | 20 |  | LF | 0.017 | 95 | 1.615 | 8.25 | 0 | 9.865 | 197.3
|  |  |  | (5-1/8"x15") GLU-LAM BEAM | 45 |  | LF | 0.017 | 95 | 1.615 | 8.65 | 0 | 10.265 | 461.925
|  |  |  | (5-1/8"x18") GLU-LAM BEAM | 25 |  | LF | 0.017 | 95 | 1.615 | 9.05 | 0 | 10.665 | 266.625
|  |  |  | (8x10) DF #1 BEAM | 560 |  | LF | 0.018 | 95 | 1.71 | 8.35 | 0 | 10.06 | 5633.6
|  |  |  | (8x14) DF #1 BEAM | 90 |  | LF | 0.018 | 95 | 1.71 | 8.85 | 0 | 10.56 | 950.4
|  |  |  | (8x16) DF #1 BEAM | 25 |  | LF | 0.018 | 95 | 1.71 | 9.18 | 0 | 10.89 | 272.25
|  |  |  | (2x6) SISTER JOISTS | 45 |  | LF | 0.017 | 95 | 1.615 | 1.1 | 0 | 2.715 | 122.175
|  |  |  | 11-7/8" TJI230 FLOOR JOISTS | 1520 |  | LF | 0.018 | 95 | 1.71 | 5.65 | 0 | 7.36 | 11187.2
|  |  |  | 11-7/8" TJI210 ROOF JOISTS | 2030 |  | LF | 0.018 | 95 | 1.71 | 5.25 | 0 | 6.96 | 14128.8
|  |  |  | (3x6) DF #1 ROOF RAFTER | 320 |  | LF | 0.018 | 95 | 1.71 | 5.37 | 0 | 7.08 | 2265.6
|  |  |  | PRE-ENGINEERED ROOF TRUSS | 180 |  | LF | 0.018 | 95 | 1.71 | 7.5 | 0 | 9.21 | 1657.8
|  |  |  | 16 GA.x3" STRAP | 80 |  | LF | 0.2 | 95 | 19 | 4.5 | 0 | 23.5 | 1880
|  |  |  | SIMPSON STHD14 | 11 |  | EA | 0.2 | 95 | 19 | 30 | 0 | 49 | 539
|  |  |  | SIMPSON CJT5Z | 4 |  | EA | 0.2 | 95 | 19 | 38 | 0 | 57 | 228
|  |  |  | SIMPSON HGU7.25 | 23 |  | EA | 0.2 | 95 | 19 | 65 | 0 | 84 | 1932
|  |  |  | SIMPSON CJT4Z | 20 |  | EA | 0.2 | 95 | 19 | 35 | 0 | 54 | 1080
|  |  |  | SIMPSON HCU612 | 13 |  | EA | 0.2 | 95 | 19 | 70 | 0 | 89 | 1157
|  |  |  | SIMPSON VPA CONNECTOR | 139 |  | EA | 0.2 | 95 | 19 | 58 | 0 | 77 | 10703
| A110 & A111 |  |  | (2x4) GWB INTERIOR FURRING WALL (208 LF)
95 |  |  |  | (2x4) P.T Wood stud 16" O.C. | 1425 |  | LF | 0.014 | 95 | 1.33 | 0.88 | 0 | 2.21 | 3149.25
96 |  |  |  | (2x4) P.T Top & bottom track. | 624 |  | LF | 0.014 | 95 | 1.33 | 0.88 | 0 | 2.21 | 1379.04
| A110 & A111 |  |  | (2x4) GWB INTERIOR WALL (178 LF)
97 |  |  |  | (2x4) Wood stud 16" O.C. | 1220 |  | LF | 0.014 | 95 | 1.33 | 0.85 | 0 | 2.18 | 2659.6
98 |  |  |  | (2x4) Top & bottom track. | 534 |  | LF | 0.014 | 95 | 1.33 | 0.85 | 0 | 2.18 | 1164.12
| A110 & A111 |  |  | (2x6) GWB INTERIOR WALL (231 LF)
99 |  |  |  | (2x6) Wood stud 16" O.C. | 1585 |  | LF | 0.014 | 95 | 1.33 | 0.95 | 0 | 2.28 | 3613.8
100 |  |  |  | (2x6) Top & bottom track. | 693 |  | LF | 0.014 | 95 | 1.33 | 0.95 | 0 | 2.28 | 1580.04
| A110 & A111 |  |  | (2x6) GWB EXTERIOR WALL (588 LF)
101 |  |  |  | (2x6) Wood stud 16" O.C. | 3510 |  | LF | 0.014 | 95 | 1.33 | 0.95 | 0 | 2.28 | 8002.8
102 |  |  |  | (2x6) Top & bottom track. | 1764 |  | LF | 0.014 | 95 | 1.33 | 0.95 | 0 | 2.28 | 4021.92
| A110 & A111 |  |  | (2x4) GWB FIRPLACE WALL (9 LF)
103 |  |  |  | (2x4) P.T Wood stud 16" O.C. | 135 |  | LF | 0.014 | 95 | 1.33 | 0.88 | 0 | 2.21 | 298.35
104 |  |  |  | (2x4) P.T Top & bottom track. | 36 |  | LF | 0.014 | 95 | 1.33 | 0.88 | 0 | 2.21 | 79.56
| A110 & A111 |  |  | (2x6) GWB FIRPLACE WALL (42 LF)
105 |  |  |  | (2x6) P.T Wood stud 16" O.C. | 320 |  | LF | 0.014 | 95 | 1.33 | 0.98 | 0 | 2.31 | 739.2
106 |  |  |  | (2x6) P.T Top & bottom track. | 126 |  | LF | 0.014 | 95 | 1.33 | 0.98 | 0 | 2.31 | 291.06
|  |  | 61000 | ROUGH CARPENTRY
107 | A110 to A131 & S1 to S4 |  |  | (3/4") T&G APA RATED STURD-I-FLOOR SHEATHING | 2515 |  | SF | 0.011 | 95 | 1.045 | 0.65 | 0 | 1.695 | 4262.925
108 |  |  |  | (15/32") WOOD STRUCT.1 SHEARWALL SHEATHING | 240 |  | SF | 0.011 | 95 | 1.045 | 0.67 | 0 | 1.715 | 411.6
109 |  |  |  | (5/8") PLYWOOD ROOF SHEATHING | 4850 |  | SF | 0.011 | 95 | 1.045 | 0.67 | 0 | 1.715 | 8317.75
| A110 & A111 |  |  | (2x6) GWB EXTERIOR WALL (588 LF)
110 |  |  |  | (5/8") Plywood Sheathing. | 3640 |  | SF | 0.012 | 95 | 1.14 | 0.75 | 0 | 1.89 | 6879.6
| A110 & A111 |  |  | (2x4) GWB FIRPLACE WALL (9 LF)
111 |  |  |  | (5/8") Plywood Sheathing. | 155 |  | SF | 0.012 | 95 | 1.14 | 0.75 | 0 | 1.89 | 292.95
| A110 & A111 |  |  | (2x6) GWB FIRPLACE WALL (42 LF)
112 |  |  |  | (5/8") Plywood Sheathing. | 395 |  | SF | 0.012 | 95 | 1.14 | 0.75 | 0 | 1.89 | 746.55
|  |  | 62000 | FINISH CARPENTRY
112 | A110 & A111 |  |  | (10"Wx48"L) TREAD | 27 |  | EA | 0.4 | 65 | 26 | 145 | 0 | 171 | 4617
|  |  | 64100 | ARCHITECTURAL WOOD CASEWORK
113 | A110 & A111 |  |  | VANITY BASE CABINET | 53 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 4259.345
114 |  |  |  | CORNER FOOT SHELF | 1 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 80.365
115 |  |  |  | PANTRY BASE CABINET | 14 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 1125.11
116 |  |  |  | PANTRY WALL CABINET | 24 |  | SF | 0.22 | 95 | 20.9 | 50 | 0 | 70.9 | 1701.6
117 |  |  |  | BASE CABINET | 48 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 3857.52
118 |  |  |  | PANTRY CABINET | 18 |  | SF | 0.22 | 95 | 20.9 | 50 | 0 | 70.9 | 1276.2
119 |  |  |  | WALL CABINET | 29 |  | SF | 0.22 | 95 | 20.9 | 50 | 0 | 70.9 | 2056.1
120 |  |  |  | ISLAND BASE CABINET | 26 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 2089.49
121 |  |  |  | GREAT ROOM BASE CABINET | 18 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 1446.57
122 |  |  |  | LAUNDRY BASE CABINET | 33 |  | SF | 0.267 | 95 | 25.365 | 55 | 0 | 80.365 | 2652.045
123 |  |  |  | GREAT ROOM WALL CABINET | 44 |  | SF | 0.22 | 95 | 20.9 | 50 | 0 | 70.9 | 3119.6
124 |  |  |  | (1'D) PANTRY SHELVES | 21 |  | LF | 0.078 | 95 | 7.41 | 19.5 | 0 | 26.91 | 565.11
125 |  |  |  | (1'2"D) WALL SHELVES | 12 |  | LF | 0.085 | 95 | 8.075 | 21 | 0 | 29.075 | 348.9
126 |  |  |  | (14"D) SHELVES | 13 |  | LF | 0.085 | 95 | 8.075 | 21 | 0 | 29.075 | 377.975
|  |  |  | Subtotal | [9 empty] | 147629.11
|  |  | 70000 | DIVISION 07 - THERMAL AND MOISTURE PROTECTION
| A110 & A111 |  |  | ROOFING
128 |  |  |  | (8" THK) Spray applied polyurethane Inuslation. | 985 |  | SF | 0.01 | 92 | 0.92 | 1.75 | 0 | 2.67 | 2629.95
129 |  |  |  | Underlayment | 985 |  | SF | 0.006 | 92 | 0.552 | 0.3 | 0 | 0.852 | 839.22
130 |  |  |  | EPDM Roofing. | 985 |  | SF | 0.024 | 92 | 2.208 | 1.2 | 0 | 3.408 | 3356.88
| A110 & A111 |  |  | ROOFING
131 |  |  |  | (8" THK) Spray applied polyurethane Inuslation. | 3865 |  | SF | 0.01 | 92 | 0.92 | 1.75 | 0 | 2.67 | 10319.55
132 |  |  |  | Underlayment | 3865 |  | SF | 0.006 | 92 | 0.552 | 0.3 | 0 | 0.852 | 3292.98
133 |  |  |  | Asphalt shingle. | 3865 |  | SF | 0.021 | 92 | 1.932 | 1.55 | 0 | 3.482 | 13457.93
134 | A110 & A111 |  |  | (6" THK) R15 Floor Sound batt insulation | 2515 |  | SF | 0.01 | 65 | 0.65 | 1.05 | 0 | 1.7 | 4275.5
135 |  |  |  | Gutter. | 250 |  | LF | 0.057 | 92 | 5.244 | 3.25 | 0 | 8.494 | 2123.5
136 |  |  |  | Downspout. | 168 |  | LF | 0.057 | 92 | 5.244 | 5.5 | 0 | 10.744 | 1804.992
137 |  |  |  | Drip edge | 250 |  | LF | 0.057 | 92 | 5.244 | 3.25 | 0 | 8.494 | 2123.5
| A110 & A111 |  |  | (2x4) GWB INTERIOR FURRING WALL (208 LF)
138 |  |  |  | (3-1/2") Batt insulation. | 1890 |  | SF | 0.008 | 92 | 0.736 | 0.59 | 0 | 1.326 | 2506.14
| A110 & A111 |  |  | (2x4) GWB INTERIOR WALL (178 LF)
139 |  |  |  | (3-1/2") Batt insulation. | 1615 |  | SF | 0.008 | 92 | 0.736 | 0.59 | 0 | 1.326 | 2141.49
| A110 & A111 |  |  | (2x6) GWB INTERIOR WALL (231 LF)
140 |  |  |  | (6") Batt insulation. | 2100 |  | SF | 0.008 | 92 | 0.736 | 0.98 | 0 | 1.716 | 3603.6
| A110 & A111 |  |  | (2x6) GWB EXTERIOR WALL (588 LF)
141 |  |  |  | Tyvek house wrap. | 3640 |  | SF | 0.008 | 92 | 0.736 | 0.45 | 0 | 1.186 | 4317.04
142 |  |  |  | (6") Batt insulation. | 3640 |  | SF | 0.008 | 92 | 0.736 | 0.98 | 0 | 1.716 | 6246.24
| A110 & A111 |  |  | (2x4) GWB FIRPLACE WALL (9 LF)
143 |  |  |  | (3-1/2") Batt insulation. | 155 |  | SF | 0.008 | 92 | 0.736 | 0.59 | 0 | 1.326 | 205.53
| A110 & A111 |  |  | (2x6) GWB FIRPLACE WALL (42 LF)
144 |  |  |  | (6") Batt insulation. | 395 |  | SF | 0.008 | 92 | 0.736 | 0.98 | 0 | 1.716 | 677.82
|  |  |  | Subtotal | [9 empty] | 63921.862
|  |  | 80000 | DIVISION 08 - OPENING
144 | A110 & A111 |  |  | (3'x8') FIBERGLASS DOOR. (4 EA) | 96 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 5548.8
145 |  |  |  | (7'x8') FIBERGLASS DOOR. (1 EA) | 56 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 3236.8
146 |  |  |  | (2'4"x7') GLASS DOOR. (1 EA) | 16 |  | SF | 0.26 | 90 | 23.4 | 65 | 0 | 88.4 | 1414.4
147 |  |  |  | (1'10"x2'6") ATTIC ACCESS. (2 EA) | 2 |  | EA | 0.055 | 90 | 4.95 | 95 | 0 | 99.95 | 199.9
|  |  | 81113 | HOLLOW METAL DOORS, FRAMES AND HARDWARE
148 | A110 & A111 |  |  | (3'x6'8") INSULATED METAL DOOR. (1 EA) | 20 |  | SF | 0.26 | 90 | 23.4 | 48 | 0 | 71.4 | 1428
149 |  |  |  | (9'x8') INSULATED METAL DOOR. (2 EA) | 144 |  | SF | 0.26 | 90 | 23.4 | 48 | 0 | 71.4 | 10281.6
|  |  | 82100 | WOOD DOORS
150 | A110 & A111 |  |  | (3'x6'8") WD DOOR. (11 EA) | 220 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 12716
151 |  |  |  | (2'6"x6'8") WD DOOR. (7 EA) | 117 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 6762.6
152 |  |  |  | (4'x6'8") WD DOOR. (1 EA) | 27 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 1560.6
153 |  |  |  | (5'x6'8") WD DOOR. (2 EA) | 67 |  | SF | 0.22 | 90 | 19.8 | 38 | 0 | 57.8 | 3872.6
|  |  | 85113 | ALUMINUM WINDOWS
154 | A110 & A111 |  |  | (3x2) WINDOW. (1 EA) | 6 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 563.4
155 |  |  |  | (8'11"x4'6") WINDOW. (1 EA) | 41 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 3849.9
156 |  |  |  | (6'6"x4'6") WINDOW. (3 EA) | 88 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 8263.2
157 |  |  |  | (3'x5'6") WINDOW. (2 EA) | 33 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 3098.7
158 |  |  |  | (3'x2') WINDOW. (1 EA) | 6 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 563.4
159 |  |  |  | (8'x5'6") WINDOW. (1 EA) | 44 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 4131.6
160 |  |  |  | (6'x2') WINDOW. (1 EA) | 12 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 1126.8
161 |  |  |  | (9'x7'6") WINDOW. (1 EA) | 68 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 6385.2
162 |  |  |  | (5'x5'6") WINDOW. (1 EA) | 28 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 2629.2
163 |  |  |  | (5'x4') WINDOW. (1 EA) | 20 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 1878
164 |  |  |  | (6'6"x5'6") WINDOW. (2 EA) | 72 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 6760.8
165 |  |  |  | (6'6"x2') WINDOW. (1 EA) | 13 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 1220.7
166 |  |  |  | (11'2"x9'5") WINDOW. (1 EA) | 106 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 9953.4
167 |  |  |  | (12'1"x7'6") WINDOW. (2 EA) | 182 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 17089.8
168 |  |  |  | (3'x7'6") WINDOW. (1 EA) | 23 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 2159.7
169 |  |  |  | (6'2"x8'1") WINDOW. (1 EA) | 50 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 4695
170 |  |  |  | (3'x5'6") WINDOW. (1 EA) | 17 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 1596.3
171 |  |  |  | (8'x5'6") WINDOW. (1 EA) | 44 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 4131.6
172 |  |  |  | (7'x5'6") WINDOW. (1 EA) | 39 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 3662.1
173 |  |  |  | (4'x4'6") WINDOW. (1 EA) | 19 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 1784.1
174 |  |  |  | (2'6"x4'6") WINDOW. (2 EA) | 23 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 2159.7
175 |  |  |  | (7'5"x4'6") WINDOW. (1 EA) | 35 |  | SF | 0.21 | 90 | 18.9 | 75 | 0 | 93.9 | 3286.5
176 |  |  |  | Blinds for WINDOW (28 EA) | 969 |  | SF | 0.195 | 90 | 17.55 | 4.5 | 0 | 22.05 | 21366.45
|  |  |  | Subtotal | [9 empty] | 159376.85
|  |  | 90000 | DIVISION 09 - FINISHES
177 | A201 To A203 |  |  | S1 - SIDING - 1X8 HORIZONTAL WOOD SHIPLAP SIDING - : MONTANA TIMBER | 1928 |  | SF | 0.04 | 92 | 3.68 | 6.65 | 0 | 10.33 | 19916.24
178 |  |  |  | S2 - SIDING - BOARD & BATT - MONTANA TIMBER PRODUCTS | 1135 |  | SF | 0.044 | 92 | 4.048 | 9.65 | 0 | 13.698 | 15547.23
179 |  |  |  | (1X8) FASCIA | 520 |  | LF | 0.125 | 92 | 11.5 | 15.65 | 0 | 27.15 | 14118
180 |  |  |  | (1X6) FASCIA | 25 |  | LF | 0.125 | 92 | 11.5 | 13.25 | 0 | 24.75 | 618.75
181 |  |  |  | CONCRETE WALL PANEL | 150 |  | SF | 0.028 | 92 | 2.576 | 13.65 | 0.5 | 16.726 | 2508.9
182 |  |  |  | WOOD WALL CLADING | 102 |  | SF | 0.054 | 92 | 4.968 | 14 | 0 | 18.968 | 1934.736
183 |  |  |  | C2 - SOFFIT - 3/4" PLYWOOD SAWN SOFFITT | 920 |  | SF | 0.013 | 92 | 1.196 | 3.25 | 0 | 4.446 | 4090.32
|  |  | 92600 | GYPSUM BOARD ASSEMBLIES
| A110 & A111 |  |  | (1- HR) GWB CEILING
184 |  |  |  | 5/8" TYPE X GWB ceiling. | 4997 |  | SF | 0.028 | 92 | 2.576 | 1.2 | 0 | 3.776 | 18868.672
|  |  | 92600 | GYPSUM BOARD ASSEMBLIES
| A110 & A111 |  |  | (2x4) GWB INTERIOR FURRING WALL (208 LF)
186 |  |  |  | (5/8"- 1 Layer) Gyp. BD. one side. | 1890 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 4528.44
| A110 & A111 |  |  | (2x4) GWB INTERIOR WALL (178 LF)
187 |  |  |  | (5/8"- 1 Layer) Gyp. BD. both side. | 3225 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 7727.1
| A110 & A111 |  |  | (2x6) GWB INTERIOR WALL (231 LF)
188 |  |  |  | (5/8"- 1 Layer) Gyp. BD. both side. | 4195 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 10051.22
| A110 & A111 |  |  | (2x6) GWB EXTERIOR WALL (588 LF)
189 |  |  |  | (5/8"- 1 Layer) Gyp. BD. one side. | 3640 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 8721.44
| A110 & A111 |  |  | (2x4) GWB FIRPLACE WALL (9 LF)
190 |  |  |  | (5/8"- 1 Layer) Gyp. BD. one side. | 155 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 371.38
| A110 & A111 |  |  | (2x6) GWB FIRPLACE WALL (42 LF)
191 |  |  |  | (5/8"- 1 Layer) Gyp. BD. one side. | 395 |  | SF | 0.013 | 92 | 1.196 | 1.2 | 0 | 2.396 | 946.42
|  |  | 9301300 | CERAMIC TILE
191 | A110 & A111 |  |  | CERAMIC TILE | 240 |  | SF | 0.064 | 92 | 5.888 | 6.5 | 0 | 12.388 | 2973.12
192 |  |  |  | CERAMIC WALL TILE | 190 |  | SF | 0.064 | 92 | 5.888 | 6.5 | 0 | 12.388 | 2353.72
193 |  |  |  | SHOWER TILE | 25 |  | SF | 0.064 | 92 | 5.888 | 6.5 | 0 | 12.388 | 309.7
194 |  |  |  | KITCHEN BACKSPLASH | 40 |  | SF | 0.064 | 92 | 5.888 | 6.5 | 0 | 12.388 | 495.52
195 |  |  |  | GREAT ROOM WALL TILE | 40 |  | SF | 0.064 | 92 | 5.888 | 6.5 | 0 | 12.388 | 495.52
|  |  | 9671600 | EPOXY FLOORING
196 | A110 & A111 |  |  | SEALED CONCRETE | 1440 |  | SF | 0.018 | 92 | 1.656 | 0.95 | 0 | 2.606 | 3752.64
|  |  | 96000 | FLOORING
197 | A110 & A111 |  |  | VINYL TILE | 335 |  | SF | 0.038 | 92 | 3.496 | 3.65 | 0 | 7.146 | 2393.91
198 |  |  |  | CARPET | 978 |  | SF | 0.022 | 92 | 2.024 | 4.2 | 0 | 6.224 | 6087.072
199 |  |  |  | (3/4") WD FLOOR | 1372 |  | SF | 0.038 | 92 | 3.496 | 5.5 | 0 | 8.996 | 12342.512
200 |  |  |  | (6") WD BASE | 645 |  | LF | 0.028 | 92 | 2.576 | 3 | 0 | 5.576 | 3596.52
|  |  | 99100 | PAINTING
201 | A110 & A111 |  |  | DOORS PAINT | 1500 |  | SF | 0.035 | 88 | 3.08 | 0.53 | 0 | 3.61 | 5415
202 |  |  |  | GWB CEILING PAINT | 4997 |  | SF | 0.023 | 88 | 2.024 | 0.23 | 0 | 2.254 | 11263.238
203 |  |  |  | GWB WALL PAINT | 13500 |  | SF | 0.023 | 88 | 2.024 | 0.23 | 0 | 2.254 | 30429
204 |  |  |  | EXTERIOR WALL PAINT | 3065 |  | SF | 0.035 | 88 | 3.08 | 0.32 | 0 | 3.4 | 10421
|  |  |  | Subtotal | [9 empty] | 202277.32
|  |  | 100000 | DIVISION 10 - SPECIALTIES
205 |  |  |  | FIREPLACE | 1 |  | EA | 0.55 | 90 | 49.5 | 4059 | 0 | 4108.5 | 4108.5
|  |  | 1011000 | DOOR HARDWARE
206 |  |  |  | DOOR HARDWARE. (32 EA) | 32 |  | SET | 4.85 | 90 | 436.5 | 125 | 0 | 561.5 | 17968
|  |  | 108100 | TOILET AND BATH ACCESSORIES
207 | A110 & A111 |  |  | ADA SHOWER SEAT | 1 |  | EA | 0.65 | 90 | 58.5 | 250 | 0 | 308.5 | 308.5
208 |  |  |  | Toilet Paper Dispenser | 3 |  | EA | 0.5 | 90 | 45 | 60 | 0 | 105 | 315
209 |  |  |  | Grab Bar 36" | 1 |  | EA | 0.5 | 90 | 45 | 46 | 0 | 91 | 91
210 |  |  |  | Grab Bar 42" | 1 |  | EA | 0.5 | 90 | 45 | 52 | 0 | 97 | 97
211 |  |  |  | 18" Vertical Grab Bar | 1 |  | EA | 0.5 | 90 | 45 | 40 | 0 | 85 | 85
212 |  |  |  | Soap Dispenser | 5 |  | EA | 0.5 | 90 | 45 | 75 | 0 | 120 | 600
213 |  |  |  | Coat Hook | 3 |  | EA | 0.85 | 90 | 76.5 | 25 | 0 | 101.5 | 304.5
214 |  |  |  | Mirror | 5 |  | EA | 1.25 | 90 | 112.5 | 350 | 0 | 462.5 | 2312.5
215 |  |  |  | Automatic Roll Paper Towel Dispenser | 3 |  | EA | 0.5 | 90 | 45 | 75 | 0 | 120 | 360
216 |  |  |  | SHOWER GLASS | 36 |  | SF | 0.044 | 90 | 3.96 | 18 | 0 | 21.96 | 790.56
|  |  |  | Subtotal | [9 empty] | 27340.56
|  |  | 110000 | DIVISION 11 - EQUIPMENT
217 | A110 & A111 |  |  | DISHWASHER | 1 |  | EA | 4.89 | 95 | 464.55 | 850 | 0 | 1314.55 | 1314.55
218 |  |  |  | MICROWAVE | 1 |  | EA | 4.5 | 95 | 427.5 | 450 | 0 | 877.5 | 877.5
219 |  |  |  | COOKING RANGE W/ HOOD | 1 |  | EA | 5.88 | 95 | 558.6 | 2650 | 0 | 3208.6 | 3208.6
220 |  |  |  | UNDERCOUNTER REFRIGERATOR | 1 |  | EA | 4.25 | 95 | 403.75 | 550 | 0 | 953.75 | 953.75
221 |  |  |  | WASHER | 1 |  | EA | 4.55 | 95 | 432.25 | 850 | 0 | 1282.25 | 1282.25
222 |  |  |  | DRYER | 1 |  | EA | 4.55 | 95 | 432.25 | 700 | 0 | 1132.25 | 1132.25
223 |  |  |  | REFRIGERATOR | 1 |  | EA | 6.55 | 95 | 622.25 | 2800 | 0 | 3422.25 | 3422.25
|  |  |  | Subtotal | [9 empty] | 12191.15
|  |  | 120000 | DIVISION 12 - FURNISHING
224 | A110 & A111 |  |  | DINNING TABLE W/ 8 CHAIRS | 1 |  | EA | 2.5 | 95 | 237.5 | 3500 | 0 | 3737.5 | 3737.5
225 |  |  |  | KITCHEN CHAIR | 4 |  | EA | 2.5 | 95 | 237.5 | 150 | 0 | 387.5 | 1550
226 |  |  |  | SOFA | 2 |  | EA | 2.5 | 95 | 237.5 | 850 | 0 | 1087.5 | 2175
227 |  |  |  | TABLE | 1 |  | EA | 2.5 | 95 | 237.5 | 550 | 0 | 787.5 | 787.5
228 |  |  |  | SINGLE SOFA W/ SINGLE SIDE TABLE | 2 |  | EA | 2.5 | 95 | 237.5 | 650 | 0 | 887.5 | 1775
229 |  |  |  | BED W/ SIDE TABLES | 4 |  | EA | 2.5 | 95 | 237.5 | 975 | 0 | 1212.5 | 4850
230 |  |  |  | THREE SEAT SOFA W/ TABLE | 1 |  | EA | 2.5 | 95 | 237.5 | 720 | 0 | 957.5 | 957.5
231 |  |  |  | SINGLE SEAT SOFA | 2 |  | EA | 2.5 | 95 | 237.5 | 250.8 | 0 | 488.3 | 976.6
232 |  |  |  | TABLE W/ TWO CHAIRS | 1 |  | EA | 2.5 | 95 | 237.5 | 350 | 0 | 587.5 | 587.5
|  |  | 123661 | SOLID SURFACING COUNTERTOPS
233 |  |  |  | QUARTZ COUNTERTOP | 37 |  | SF | 0.26 | 95 | 24.7 | 98 | 0 | 122.7 | 4539.9
234 |  |  |  | SS COUNTERTOP | 115 |  | SF | 0.26 | 95 | 24.7 | 92 | 0 | 116.7 | 13420.5
|  |  |  | Subtotal | [9 empty] | 35357
|  |  | 21000000 | DIVISION 21 - FIRE PROTECTION
|  |  | 21100000 | FIRE SPRINKLER
235 |  |  |  | SPRINKLER SYSTEM RISER | 1 |  | LS | [6 empty] | 25000
|  |  |  | Subtotal | [9 empty] | 25000
|  |  | 2200000 | DIVISION 22 - PLUMBING
236 | A110 & A111 |  |  | 2-Way Grade cleanout | 1 |  | EA | 0.85 | 120 | 102 | 150 | 0 | 252 | 252
237 |  |  |  | BATH TUB | 2 |  | EA | 3.65 | 120 | 438 | 450 | 0 | 888 | 1776
238 |  |  |  | CB-1 - CLOTHES WASHER UTILITY BOX | 1 |  | EA | 2.25 | 120 | 270 | 145 | 0 | 415 | 415
239 |  |  |  | FCO - FLOOR CLEANOUT | 4 |  | EA | 0.85 | 120 | 102 | 95.98 | 0 | 197.98 | 791.92
240 |  |  |  | FD-1 - FLOOR DRAIN | 8 |  | EA | 1.25 | 120 | 150 | 97.74 | 0 | 247.74 | 1981.92
241 |  |  |  | GAS METER | 1 |  | EA | 6.5 | 120 | 780 | 250 | 0 | 1030 | 1030
242 |  |  |  | GCO - GRADE CLEANOUT | 1 |  | EA | 1.25 | 120 | 150 | 102.63 | 0 | 252.63 | 252.63
243 |  |  |  | HB-1 - RECESSED HOSE BIBB - WOODFORD - B65-CC | 2 |  | EA | 1.98 | 120 | 237.6 | 150 | 0 | 387.6 | 775.2
244 |  |  |  | Ib-1 - ICEMACHINE UTILITY BOX | 1 |  | EA | 2.25 | 120 | 270 | 189 | 0 | 459 | 459
245 |  |  |  | KS-1 - KITCHEN SINK | 1 |  | EA | 6.6 | 120 | 792 | 635 | 0 | 1427 | 1427
246 |  |  |  | LAVATORY | 5 |  | EA | 4.7 | 120 | 564 | 381 | 0 | 945 | 4725
247 |  |  |  | PANTRY SINK | 1 |  | EA | 4.7 | 120 | 564 | 366 | 0 | 930 | 930
248 |  |  |  | Roof hydrant - ROOF HYDRANT - WOODFORD - SRH-MS - FREEZELESS | 2 |  | EA | 1.65 | 120 | 198 | 514 | 0 | 712 | 1424
249 |  |  |  | RPZ-1 - REDUCED PRESSURE ZONE - WATTS - LF009-QT-S | 2 |  | EA | 1.98 | 120 | 237.6 | 1200 | 0 | 1437.6 | 2875.2
250 |  |  |  | SHOWER HEAD W/ VALVE & TRIM SET | 1 |  | EA | 3.65 | 120 | 438 | 1500 | 0 | 1938 | 1938
251 |  |  |  | GD-1 - GARBAGE DISPOSAL | 1 |  | EA | 1.65 | 120 | 198 | 71.74 | 0 | 269.74 | 269.74
252 |  |  |  | TD-1 - TRENCH DRAIN - ZURN - Z883 | 1 |  | EA | 1.65 | 120 | 198 | 120 | 0 | 318 | 318
253 |  |  |  | Wall cleanout - JR SMITH | 5 |  | EA | 0.85 | 120 | 102 | 80 | 0 | 182 | 910
254 |  |  |  | WATER CLOSET | 3 |  | EA | 4.25 | 120 | 510 | 480 | 0 | 990 | 2970
WATER HEATER & EQUIPMENTS
255 |  |  |  | CP-1 - RECIRCULATING PUMP | 1 |  | EA | 4.5 | 120 | 540 | 1698 | 0 | 2238 | 2238
256 |  |  |  | WATER HEATER | 1 |  | EA | 12.98 | 120 | 1557.6 | 1495 | 0 | 3052.6 | 3052.6
257 |  |  |  | EXPANSION TANK - AMTROL - ST-5 | 1 |  | EA | 4.5 | 120 | 540 | 950 | 0 | 1490 | 1490
258 |  |  |  | SHUTT OFF VALVE | 25 |  | EA | 0.55 | 120 | 66 | 45 | 0 | 111 | 2775
259 |  |  |  | PRESSURE RELIEF VALVE | 2 |  | EA | 0.85 | 120 | 102 | 95 | 0 | 197 | 394
260 |  |  |  | THERMOMETER | 4 |  | EA | 0.85 | 120 | 102 | 85 | 0 | 187 | 748
261 |  |  |  | CHECK VALVE | 4 |  | EA | 0.65 | 120 | 78 | 120 | 0 | 198 | 792
262 |  |  |  | MIXING VALVE | 2 |  | EA | 1.25 | 120 | 150 | 145 | 0 | 295 | 590
263 |  |  |  | AQUASTAT | 1 |  | EA | 1.25 | 120 | 150 | 75.87 | 0 | 225.87 | 225.87
264 |  |  |  | ALLOWANCES FOR MISC. | 1 |  | LS | [6 empty] | 15000
| A110 & A111 |  |  | DOMESTIC WATER PIPING COPPER TYPE "L"
265 |  |  |  | (1") Cold water pipe | 65 |  | LF | 0.118 | 120 | 14.16 | 8.02 | 0 | 22.18 | 1441.7
266 |  |  |  | (1") Hot water pipe | 65 |  | LF | 0.118 | 120 | 14.16 | 9.02 | 0 | 23.18 | 1506.7
267 |  |  |  | (1/2") Cold water pipe | 160 |  | LF | 0.099 | 120 | 11.88 | 4.24 | 0 | 16.12 | 2579.2
268 |  |  |  | (1/2") Hot water pipe | 160 |  | LF | 0.099 | 120 | 11.88 | 4.24 | 0 | 16.12 | 2579.2
269 |  |  |  | (1-1/2") COLD WATER PIPE | 45 |  | LF | 0.154 | 120 | 18.48 | 14.16 | 0 | 32.64 | 1468.8
270 |  |  |  | (2") COLD WATER PIPE | 65 |  | LF | 0.271 | 120 | 32.52 | 16 | 0 | 48.52 | 3153.8
271 |  |  |  | (3/4") Cold water pipe | 75 |  | LF | 0.105 | 120 | 12.6 | 6.19 | 0 | 18.79 | 1409.25
272 |  |  |  | (3/4") Hot water pipe | 75 |  | LF | 0.105 | 120 | 12.6 | 6.19 | 0 | 18.79 | 1409.25
273 |  |  |  | (3/4") HOT WATER RETURN PIPE | 75 |  | LF | 0.105 | 120 | 12.6 | 7.5 | 0 | 20.1 | 1507.5
SANITARY PIPING SCH 40 PVC
274 |  |  |  | (1-1/2") Vent pipe | 125 |  | LF | 0.222 | 120 | 26.64 | 8.59 | 0 | 35.23 | 4403.75
275 |  |  |  | (2") Sanitary pipe | 60 |  | LF | 0.271 | 120 | 32.52 | 10.66 | 0 | 43.18 | 2590.8
276 |  |  |  | (2") Vent pipe | 130 |  | LF | 0.271 | 120 | 32.52 | 10.66 | 0 | 43.18 | 5613.4
277 |  |  |  | (3") Sanitary pipe | 70 |  | LF | 0.302 | 120 | 36.24 | 19.68 | 0 | 55.92 | 3914.4
278 |  |  |  | (3") Vent pipe | 60 |  | LF | 0.302 | 120 | 36.24 | 19.68 | 0 | 55.92 | 3355.2
279 |  |  |  | (3") VTR | 1 |  | EA | 0.302 | 120 | 36.24 | 250 | 0 | 286.24 | 286.24
280 |  |  |  | (4") Sanitary pipe | 65 |  | LF | 0.333 | 120 | 39.96 | 24.02 | 0 | 63.98 | 4158.7
GAS PIPING
281 |  |  |  | GAS PIPING | 1 |  | LS | [6 empty] | 25000
282 |  |  |  | misc.connections and accessories | 1 |  | LS | [6 empty] | 15000
|  |  |  | Subtotal | [9 empty] | 134203.97
|  |  | 230000 | DIVISION 23 - HEATING, VENTILATING, AND AIR-CONDITIONING (HVAC)
283 | A110 & A111 |  |  | EF - EXHAUST FAN | 3 |  | EA | 1.85 | 120 | 222 | 350 | 0 | 572 | 1716
284 |  |  |  | AIR HANDLING UNIT W/ CONDENSING UNIT. (3 TON) | 3 |  | EA | 6.55 | 120 | 786 | 5500 | 0 | 6286 | 18858
285 |  |  |  | ALLOWANCES FOR AIR METAL DUCTS | 1 |  | LS | 274.78 | 120 | 32973.6 | 2248.2 | 0 | 35221.8 | 35221.8
286 |  |  |  | ALLOWANCES FOR AIR TRANSFER DEVICES | 1 |  | LS | 124.9 | 120 | 14988 | 444.644 | 0 | 15432.644 | 15432.644
287 |  |  |  | ALLOWANCES FOR MISC. | 1 |  | LS | [6 empty] | 25000
|  |  |  | Subtotal | [9 empty] | 96228.444
|  |  | 2600000 | DIVISION 26 - ELECTRICAL
288 | E110 To E112 |  |  | SINGLE POLE SWITCH | 37 |  | EA | 0.35 | 120 | 42 | 18.5 | 0 | 60.5 | 2238.5
289 |  |  |  | DUPLEX RECEPTACLE | 34 |  | EA | 0.4 | 120 | 48 | 18.95 | 0 | 66.95 | 2276.3
290 |  |  |  | SIMPLEX RECEPTACLE | 30 |  | EA | 0.4 | 120 | 48 | 16.25 | 0 | 64.25 | 1927.5
291 |  |  |  | GFI DUPLEX RECEPTACLE | 18 |  | EA | 0.4 | 120 | 48 | 36 | 0 | 84 | 1512
292 |  |  |  | CEILING MTD RECEPTACLE | 19 |  | EA | 0.4 | 120 | 48 | 22 | 0 | 70 | 1330
293 |  |  |  | THREE POLE SWITCH | 21 |  | EA | 0.45 | 120 | 54 | 32 | 0 | 86 | 1806
294 |  |  |  | FLOOR BOX DUPLEX RECEPTACLE | 1 |  | EA | 0.85 | 120 | 102 | 65 | 0 | 167 | 167
295 |  |  |  | TV OUTLET | 2 |  | EA | 0.45 | 120 | 54 | 22 | 0 | 76 | 152
296 |  |  |  | SMOKE DETECTOR | 4 |  | EA | 0.98 | 120 | 117.6 | 48 | 0 | 165.6 | 662.4
297 |  |  |  | COMBINATION SMOKE/CARBONMONOXIDE DETECTOR | 3 |  | EA | 1.25 | 120 | 150 | 85 | 0 | 235 | 705
298 |  |  |  | DUPLEX RECEPTACLE, WP | 6 |  | EA | 0.45 | 120 | 54 | 25 | 0 | 79 | 474
299 |  |  |  | FLOOR BOX DUPLEX RECEPTACLE | 2 |  | EA | 0.85 | 120 | 102 | 65 | 0 | 167 | 334
300 |  |  |  | GFCI DUPLEX RECEPTACLE W/ USB OUTLET WEATHERPROOF | 2 |  | EA | 0.85 | 120 | 102 | 35 | 0 | 137 | 274
301 |  |  |  | GFCI USB RECEPTACLE | 4 |  | EA | 0.85 | 120 | 102 | 26.75 | 0 | 128.75 | 515
302 |  |  |  | JUNCTION BOX | 15 |  | EA | 0.45 | 120 | 54 | 32 | 0 | 86 | 1290
303 |  |  |  | JUNCTION BOX WEATHERPROOF | 5 |  | EA | 0.45 | 120 | 54 | 33.5 | 0 | 87.5 | 437.5
304 |  |  |  | MOTION SENSOR | 9 |  | EA | 6.99 | 120 | 838.8 | 350 | 0 | 1188.8 | 10699.2
305 |  |  |  | MOTOR RATED SWITCH | 10 |  | EA | 0.85 | 120 | 102 | 85 | 0 | 187 | 1870
306 |  |  |  | NON FUSED DISCONNECT SWITCH | 15 |  | EA | 1.2 | 120 | 144 | 85 | 0 | 229 | 3435
307 |  |  |  | SPECIAL OUTLET | 4 |  | EA | 0.45 | 120 | 54 | 38 | 0 | 92 | 368
ELECTRICAL PANELS. (ASSUMED)
308 |  |  |  | ELECTRICAL PANEL 3C, 208/120V, 3PH, 4W, 200A | 2 |  | EA | 18.98 | 120 | 2277.6 | 2240 | 0 | 4517.6 | 9035.2
309 |  |  |  | ELECTRICAL PANEL 1C, 208/120V, 3PH, 4W, 400A | 1 |  | EA | 30.65 | 120 | 3678 | 4000 | 0 | 7678 | 7678
310 |  |  |  | DISTRIBUTION BOARD 1000A | 1 |  | EA | 60 | 120 | 7200 | 6500 | 0 | 13700 | 13700
BREAKERS. (ASSUMED)
311 |  |  |  | ELECTRCAL BREAKER | 1 |  | LS | [6 empty] | 5000
OTHERS
312 |  |  |  | ELECTRIC WIRING & CONDUIT | 1 |  | LS | 399.76 | 123.8 | 49490.288 | 39976 | 0 | 89466.288 | 89466.288
313 |  |  |  | PRIMARY&SEC./ TELEPHONE CABLE UNDERGROUND | 1 |  | LS | [6 empty] | 25000
|  |  | 26000040 | ELECTRICAL FIXTURES
314 | E110 To E112 |  |  | P - PENDANT | 7 |  | EA | 1.25 | 120 | 150 | 320 | 0 | 470 | 3290
315 |  |  |  | R - RECESSED CAN LED - 4" - LOTUS | 86 |  | EA | 1 | 120 | 120 | 85 | 0 | 205 | 17630
316 |  |  |  | RA - LED - 4" ROUND, WHITE TRIM - LOTUS | 9 |  | EA | 1 | 120 | 120 | 85 | 0 | 205 | 1845
317 |  |  |  | RE - LED - RECESSED CAN - 4" - LOTUS | 14 |  | EA | 1 | 120 | 120 | 85 | 0 | 205 | 2870
318 |  |  |  | RWP - LED - 4" WEATHERPROOF | 2 |  | EA | 1 | 120 | 120 | 85 | 0 | 205 | 410
319 |  |  |  | S - EXTERIOR WALL SCONCE - DRY SKYLIGHT - LIGHTOLOGY, HIN856910 | 6 |  | EA | 1.65 | 120 | 198 | 250 | 0 | 448 | 2688
320 |  |  |  | SL - LED - STRIP LIGHT - WHITE | 2 |  | EA | 1.45 | 120 | 174 | 110 | 0 | 284 | 568
321 |  |  |  | SM - LED - SURFACE MOUNT | 5 |  | EA | 1.45 | 120 | 174 | 100 | 0 | 274 | 1370
322 |  |  |  | U - LED - UTILITY LED | 20 |  | EA | 1.25 | 120 | 150 | 120 | 0 | 270 | 5400
323 |  |  |  | V - VANITY LED | 6 |  | EA | 1.65 | 120 | 198 | 250 | 0 | 448 | 2688
|  |  | 26560040 | FIRE ALARM
324 |  |  |  | FIRE ALARM SYSTEM | 1 |  | LS | [6 empty] | 5000
|  |  |  | Subtotal | [9 empty] | 226111.888
|  |  | 2700000 | DIVISION 27 - COMMUNICATION
325 |  |  |  | DATA OUTLET. (ASSUMED) | 8 |  | EA | 0.6 | 120 | 72 | 20.7 | 0 | 92.7 | 741.6
326 |  |  |  | TELE/DATA OUTLET. (ASSUMED) | 8 |  | EA | 0.58 | 120 | 69.6 | 12.89 | 0 | 82.49 | 659.92
327 |  |  |  | TELEPHONE OUTLET. (ASSUMED) | 8 |  | EA | 0.5 | 120 | 60 | 12.89 | 0 | 72.89 | 583.12
328 |  |  |  | TELEVISION OUTLET. (ASSUMED) | 8 |  | EA | 0.55 | 120 | 66 | 7 | 0 | 73 | 584
|  |  |  | Subtotal | [9 empty] | 2568.64
|  |  | 2800000 | DIVISION 28 - ELECTRONIC SAFETY
329 |  |  |  | ACCESS SAFETY | 1 |  | LS | [6 empty] | 25000
|  |  |  | Subtotal | [9 empty] | 25000
|  |  | 310000 | DIVISION 31 - EARTHWORK
| A101 |  |  | GRADING
330 |  |  |  | ROUGH GRADING | 19935 |  | SF | 0.06 | 95 | 5.7 | 0 | 1 | 6.7 | 133564.5
331 |  |  |  | FINISH GRADING | 3535 |  | SF | 0.045 | 95 | 4.275 | 0 | 1.5 | 5.775 | 20414.625
|  |  | 312500 | EROSION & SEDIMENTATION CONTOL
332 |  |  |  | EROSION & SEDIMENTATION CONTOL | 1 |  | LS | [6 empty] | 15000
|  |  |  | Subtotal | [9 empty] | 168979.125
|  |  | 320000 | DIVISION 32 - EXTERIOR IMPROVEMENT
|  |  | 32121600 | ASPHALT PAVING
333 | A101 & A102 |  |  | 1.5" ASPHALT PAVEMENT | 2456 |  | SF | 0.044 | 87.5 | 3.85 | 3 | 0.15 | 7 | 17192
334 |  |  |  | 3" HMA 12.5M64 BINDER COURSE | 2456 |  | SF | 0.036 | 87.5 | 3.15 | 1.3 | 0.15 | 4.6 | 11297.6
335 |  |  |  | 8" DGA BASE COURSE (2B material) | 2456 |  | SF | 0.052 | 87.5 | 4.55 | 0.88 | 0.08 | 5.51 | 13532.56
|  |  | 32162300 | SIDEWALKS
336 |  |  |  | CONC. SIDEWALK | 525 |  | SF | 0.054 | 87.5 | 4.725 | 6.1 | 0 | 10.825 | 5683.125
|  |  | 32172500 | SURVEYING & LAYOUTS
337 |  |  |  | SURVEYING & LAYOUTS | 1 |  | LS | [6 empty] | 15000
|  |  | 32320000 | SITE RETAINING WALLS
338 |  |  |  | (8" THK) RETAINING WALL | 21 |  | CF | 0.29 | 87.5 | 25.375 | 4.65 | 15 | 45.025 | 945.525
IRRIGATION
339 |  |  |  | ALLOWANCES FOR IRRIGATION | 9932 |  | SF | 0.008 | 87.5 | 0.7 | 8.65 | 0 | 9.35 | 92864.2
|  |  | 3293000 | LANDSCAPE
340 | A102 |  |  | SHRUB: - KARL FORESTER | 19 |  | EA | 0.68 | 87.5 | 59.5 | 12.99 | 6.8 | 79.29 | 1506.51
341 |  |  |  | SHRUB: - GLOBE BLUE SPRUCE | 6 |  | EA | 0.68 | 87.5 | 59.5 | 12.99 | 6.8 | 79.29 | 475.74
342 |  |  |  | EVERGREEN TREE - DOUGLAS FIR | 4 |  | EA | 3.45 | 87.5 | 301.875 | 250 | 30 | 581.875 | 2327.5
343 |  |  |  | DECIDUOUS TREE: - 2" CALIPER QUAKING ASPEN | 4 |  | EA | 3.45 | 87.5 | 301.875 | 150 | 30 | 481.875 | 1927.5
344 |  |  |  | REVEGETATE W/ NATIVE GRASS | 9932 |  | SF | 0.022 | 87.5 | 1.925 | 0.535 | 0.01159 | 2.4716 | 24547.8319
345 |  |  |  | (12" THK) TOPSOIL | 9932 |  | SF | 0.015 | 87.5 | 1.3125 | 1.5 | 0.25 | 3.0625 | 30416.75
346 |  |  |  | (3" THK) MULCH | 9932 |  | SF | 0.0135 | 87.5 | 1.1812 | 0.45542 | 0.01892 | 1.6556 | 16443.3199
347 |  |  |  | SOD | 4152 |  | SF | 0.0135 | 87.5 | 1.1812 | 0.45542 | 0.01892 | 1.6556 | 6874.0097
348 |  |  |  | ROCKBED | 1384 |  | SF | 0.025 | 87.5 | 2.1875 | 0.45542 | 4.25 | 6.8929 | 9539.8013
|  |  |  | Subtotal | [9 empty] | 250573.9727
|  |  | 330000 | UTILITIES
|  |  | 331000 | WATER UTILITIES
349 |  |  |  | STUB & CAP WATER SERVICE LINE | 1 |  | EA | 1.8 | 87.5 | 157.5 | 25.93 | 0 | 183.43 | 183.43
350 |  |  |  | WATER WELL | 1 |  | EA | 6.25 | 87.5 | 546.875 | 1050 | 0 | 1596.875 | 1596.875
351 |  |  |  | REMOTE FIRE DEPARTMENT CONNECTION | 1 |  | EA | 1.8 | 87.5 | 157.5 | 0 | 0 | 157.5 | 157.5
352 |  |  |  | PIV W/ TAMPER SWITCH | 1 |  | EA | 1.8 | 87.5 | 157.5 | 99.98 | 0 | 257.48 | 257.48
353 |  |  |  | (6") TAPPING SLEEVE & VALVE | 1 |  | EA | 1.8 | 87.5 | 157.5 | 473.42 | 0 | 630.92 | 630.92
354 |  |  |  | (6") RPDA W/ ENCLOSURE | 2 |  | EA | 1.8 | 87.5 | 157.5 | 1362.5 | 0 | 1520 | 3040
355 | A101 |  |  | (6") PVC WATER LINE CL. 235, CL900 PVC (DOMESTIC PRIVATE) | 115 |  | LF | 0.072 | 87.5 | 6.3 | 31.17 | 0 | 37.47 | 4309.05
356 |  |  |  | (3") PVC WATER LINE CL. 235, CL900 PVC (PRIVATE) | 30 |  | LF | 0.058 | 87.5 | 5.075 | 10.65 | 0 | 15.725 | 471.75
357 |  |  |  | EXCAVATION | 42 |  | CY | 0.16 | 87.5 | 14 | 0 | 2.65 | 16.65 | 699.3
358 |  |  |  | BEDDING | 14 |  | CY | 0.11 | 87.5 | 9.625 | 22 | 1.22 | 32.845 | 459.83
359 |  |  |  | TRENCH SPOIL EXPORT | 15 |  | CY | 0.22 | 87.5 | 19.25 | 0 | 6.85 | 26.1 | 391.5
360 |  |  |  | BACK FILLING | 27 |  | CY | 0.12 | 87.5 | 10.5 | 0 | 2.5 | 13 | 351
|  |  | 331000 | SANITARY SEWER
361 | A101 |  |  | STUB & CAP SS LINE (ASSUMED) | 1 |  | EA | 1.8 | 87.5 | 157.5 | 35 | 0 | 192.5 | 192.5
362 |  |  |  | (6") SEWER LINE | 125 |  | LF | 0.069 | 87.5 | 6.0375 | 31.18 |  | 37.2175 | 4652.1875
363 |  |  |  | EXCAVATION | 38 |  | CY | 0.16 | 87.5 | 14 | 0 | 2.65 | 16.65 | 632.7
364 |  |  |  | BEDDING | 13 |  | CY | 0.11 | 87.5 | 9.625 | 22 | 1.22 | 32.845 | 426.985
365 |  |  |  | TRENCH SPOIL EXPORT | 14 |  | CY | 0.22 | 87.5 | 19.25 | 0 | 6.85 | 26.1 | 365.4
366 |  |  |  | BACK FILLING | 24 |  | CY | 0.12 | 87.5 | 10.5 | 0 | 2.5 | 13 | 312
|  |  | 331000 | STORM DRAINAGE
367 | A101 |  |  | STORM CLEANOUTS (ASSUMED) | 4 |  | EA | 4 | 87.5 | 350 | 1060.95 | 0 | 1410.95 | 5643.8
368 |  |  |  | (6") PVC STORM PIPE (ASSUMED) | 125 |  | LF | 0.069 | 87.5 | 6.0375 | 31.18 |  | 37.2175 | 4652.1875
369 |  |  |  | EXCAVATION | 38 |  | CY | 0.16 | 87.5 | 14 | 0 | 2.65 | 16.65 | 632.7
370 |  |  |  | BEDDING | 13 |  | CY | 0.11 | 87.5 | 9.625 | 22 | 1.22 | 32.845 | 426.985
371 |  |  |  | TRENCH SPOIL EXPORT | 14 |  | CY | 0.22 | 87.5 | 19.25 | 0 | 6.85 | 26.1 | 365.4
372 |  |  |  | BACK FILLING | 24 |  | CY | 0.12 | 87.5 | 10.5 | 0 | 2.5 | 13 | 312
|  |  |  | Subtotal | [9 empty] | 31163.48
|  |  |  | Total. | [9 empty] | 1949682.4917
|  |  |  | Add wastage of materials | [9 empty] | 97484.1246
|  |  |  | Add Contractor's overhead & profit @ 20% | [9 empty] | 389936.4983
|  |  |  | G.Total | [9 empty] | 2437103.1147
Please review prices before submission of bid
ADDENDA
Addendum Issued: NONE up to Date (09/15/2014): None
Please review any Addendum issued after Date 07/04/23
OWNER
ARCHITECT
CUSHING LANE MANHATTAN, MT
SUNSPEAR FARMHOUSE