## QTY
|  | Project: |  |  | # OF CARPORTS: |  | # OF APTS: |  | TOTAL NRSF:
|  | Location (City, State): |  |  | # OF GARAGES |  | # STUDIO: |  | TOTAL GSF:
|  | ID: | 71-B
BIDDER NAME:
S# | DWG # | DETAIL # | CSI NO | DESCRIPTION | QTY. | Calc. | UNIT | LABOR |  |  | MATERIAL (PER UNIT) | EQUIPMENT (PER UNIT) | COMPOSITE RATE/UNIT | TOTAL COST
[8 empty] | Manhour / Unit | $/HOUR | COST
|  |  | 10000 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION | 1 |  | LS
2 |  |  |  | BOND & INSURANCE | 1 |  | LS
3 |  |  |  | SUPERVISION | 1 |  | LS
4 |  |  |  | SUBMITTALS & SAMPLES | 1 |  | LS
5 |  |  |  | TEMPORARY FACILITIES & CONTROLS | 1 |  | LS
6 |  |  |  | PROJECT SCHEDULE | 1 |  | LS
7 |  |  |  | CLOSEOUT PROCEDURES | 1 |  | LS
8 |  |  |  | PERMITS | 1 |  | LS
Subtotal
|  |  | 20000 | DIVISION 02 - EXISTING CONDITIONS
|  |  | 20700 | SELECTIVE REMOVALS AND DEMOLITION
9 | SHEET#3 |  |  | REMOVE EXISTING CONCRETE PAD | 17499 | 17498.39 | SF
10 |  |  |  | REMOVE EXISTING PAVEMENT | 12245 | 12244.6 | SF
11 |  |  |  | REMOVE EXISTING STRUCTURE | 12465 | 12464.39 | SF
12 |  |  |  | REMOVE EXISTING GRAVEL | 290949 | 290949.15 | SF
13 |  |  |  | RELOCATE EXISTIN POLE | 1 | 1 | EA
14 |  |  |  | ABANDONED EXISTING INLETS | 2 | 2 | EA
15 |  |  |  | REMOVE EXISTING CURB | 109 | 108.42 | LF
16 |  |  |  | REMOVE EXISTING CHAINLINK FENCE | 221 | 221.78 | LF
17 |  |  |  | REMOVE EXISTING CULVERT PIPE | 26 | 25.84 | LF
18 |  |  |  | SAWCUT | 96 | 95.84 | LF
|  |  |  | Subtotal | [9 empty] | 0
|  |  | 310000 | DIVISION 31 - EARTHWORK
TOPSOIL
19 |  |  |  | TEST SOIL COMPACTION | 49800 | 49800.5 | SF
20 |  |  |  | REVEGETATE EXISTING IMPERVIOUS | 110620 | 110619.48 | SF
| SHEET#6 |  |  | GRADING
LANDSCAPE AREA
21 |  |  |  | Cut | 876 |  | CY
22 |  |  |  | Fill | 2362 |  | CY
23 |  |  |  | IMPORT Soil | 1485 |  | CY
HARDSCAPE AREA
24 |  |  |  | Cut | 7410 |  | CY
25 |  |  |  | Fill | 636 |  | CY
26 |  |  |  | EXPORT Soil | 6774 |  | CY
BUILDING PAD AREA
27 |  |  |  | Cut | 2082 |  | CY
28 |  |  |  | Fill | 4960 |  | CY
29 |  |  |  | IMPORT Soil | 2878 |  | CY
| SHEET#4 |  |  | SITE PREPARATION
30 |  |  |  | (R1-1) STOP SIGN | 1 | 1 | EA
31 |  |  |  | (6'H) CHAIN LINK FENCE | 485 | 483.61 | LF
32 |  |  |  | TURBIDITY BARRIER | 26 | 26.57 | LF
TRASH ENCLOSURE
33 |  |  |  | (6'H) BOARD FENCE | 190 | 188.21 | LF
34 |  |  |  | (6.5'x4') TRASH DUMPSTER | 8 | 8 | EA
35 |  |  |  | (3'x3') RECYCLING CAN | 16 | 16 | EA
36 |  |  |  | (4"x4") GALV. STEEL POST. (6'H) | 24 | 24 | EA
|  |  | 312500 | EROSION & SEDIMENTATION CONTOL
37 | SHEET#10 |  |  | STABALIZED CONSTRUCTION ENTRANCE | 1296 | 1295.39 | SF
38 |  |  |  | TOPSOIL STOCKPILE | 2138 | 2137.7 | SF
39 |  |  |  | INLET PROTECTION | 8 | 8 | EA
40 |  |  |  | SILL FENCE | 2995 | 2991.05 | LF
|  |  |  | Subtotal | [9 empty] | 0
|  |  | 320000 | DIVISION 32 - EXTERIOR IMPROVEMENT
|  |  | 32000010 | CONCRETE WORK
41 |  |  |  | (6") CONCRETE CURB | 2125 | 2123.08 | LF
42 |  |  |  | DEPRESSED CURB | 75 | 73.28 | LF
|  |  | 32121600 | ASPHALT PAVING
| SHEET#4 |  |  | ASPHALT PAVEMENT
43 |  |  |  | (6") DENSE GRADED AGGREGRATE | 77715 | 77715 | SF
44 |  |  |  | (5") HMA 25mm M64 BASE COURSE | 77715 | 77715 | SF
45 |  |  |  | (2") HMA 9.5mm M64 SURFACE COURSE | 77715 | 77715 | SF
46 |  |  |  | GEOTEXTILE FABRIC | 77715 | 77715 | SF
SCOUR HOLE
47 |  |  |  | (8"D) D50 STONE | 90 | 90 | SF
48 |  |  |  | FILTER FABRIC | 90 | 90 | SF
|  |  | 32320000 | SITE RETAINING WALLS
46 |  |  |  | RETAINING WALL | 2224 |  | SF
|  |  | 32172300 | PAVEMENT MARKING
50 | SHEET#4 |  |  | (4") PAVEMENT SRIPPING | 1917 | 1916.73 | LF
51 |  |  |  | STOP BAR | 16 | 15.77 | LF
52 |  |  |  | ADA PAVEMENT SIGN | 4 | 4 | EA
|  |  |  | Subtotal | [9 empty] | 0
|  |  | 330000 | UTILITIES
|  |  | 331000 | WATER UTILITIES
53 | SHEET#7 |  |  | (6") RPDA W/ ENCLOSURE. (ASSUMED) | 2 |  | EA
54 |  |  |  | (8"X6") TEE. (ASSUMED) | 2 |  | EA
55 |  |  |  | (6") GATE VALVE. (ASSUMED) | 2 |  | EA
56 |  |  |  | FIRE HYDRANT | 1 | 1 | EA
57 |  |  |  | (6") DIP DOMESTIC WATER LINE | 1210 | 1209.51 | LF
58 |  |  |  | (6") DUCTILE IRON FIRE WATER | 1218 | 1217.07 | LF
59 |  |  |  | (4") DUCTILE IRON FIRE WATER | 26 | 25.4 | LF
DRY UTILITIES
60 |  |  |  | (1-1/4") PEP GAS SERVICE LINE | 1194 | 1193.43 | LF
61 |  |  |  | U/G TEC LINE | 1176 | 1175.71 | LF
62 |  |  |  | EXCAVATION | 2085 | 2085 | CY
63 |  |  |  | BEDDING | 715 | 715 | CY
64 |  |  |  | TRENCH SOIL EXPORT | 961 | 961 | CY
65 |  |  |  | BACK FILLING | 1124 | 1124 | CY
|  |  | 331000 | SANITARY SEWER
66 | SHEET#7 |  |  | ROOF LEADER | 4 | 4 | EA
67 |  |  |  | DOGHOUSE MANHOLE (RIM: 49.25) | 1 | 1 | EA
68 |  |  |  | SANITARY EJECTOR PUMP | 1 | 1 | EA
69 |  |  |  | (4") PVC SANITARY PIPE | 514 | 513.26 | LF
70 |  |  |  | (2") PVC SANITARY PIPE | 658 | 658.09 | LF
71 |  |  |  | EXCAVATION | 290 |  | CY
72 |  |  |  | BEDDING | 88 |  | CY
73 |  |  |  | TRENCH SOIL EXPORT | 92 |  | CY
74 |  |  |  | BACK FILLING | 198 |  | CY
|  |  | 331000 | STORM DRAINAGE
75 | SHEET#7 |  |  | TYPE "A" INLET (RIM: 48.00, INV: 45.43). (2.57 VLF) | 1 | 1 | EA
76 |  |  |  | TYPE "B" INLET (RIM: 48.44, INV: 45.95). (2.54 VLF) | 1 | 1 | EA
77 |  |  |  | TYPE "B" INLET (RIM: 48.10, INV: 45.60). (2.50 VLF) | 1 | 1 | EA
78 |  |  |  | TYPE "B" INLET (RIM: 48.10, INV: 44.50). (3.60 VLF) | 1 | 1 | EA
79 |  |  |  | TYPE "B" INLET (RIM: 47.25, INV: 42.95). (4.30 VLF) | 1 | 1 | EA
80 |  |  |  | TYPE "B" INLET (RIM: 47.25, INV: 42.80). (4.45 VLF) | 1 | 1 | EA
81 |  |  |  | TYPE "B" INLET (RIM: 51.45, INV: 46.45). (5.00 VLF) | 1 | 1 | EA
82 |  |  |  | TYPE "B" INLET (RIM: 52.60, INV: 48.10). (4.50 VLF) | 1 | 1 | EA
83 |  |  |  | TYPE "B" INLET (RIM: 53.60, INV: 48.75). (4.85 VLF) | 1 | 1 | EA
84 |  |  |  | TYPE "B" INLET (RIM: 55.00, INV: 51.75). (3.25 VLF) | 1 | 1 | EA
85 |  |  |  | MANHOLE (RIM: 54.65, INV: 49.05). (5.60 VLF) | 1 | 1 | EA
86 |  |  |  | MANHOLE (RIM: 52.60, INV: 48.10). (4.50 VLF) | 1 | 1 | EA
87 |  |  |  | CONVERT EXISTING TYPE "B" INLET TO TYPE "E" INLET | 1 | 1 | EA
88 |  |  |  | CONC. HEADWALL | 5 | 5 | EA
89 |  |  |  | (12") HDPE | 608 | 607.88 | LF
90 |  |  |  | (12") RCP | 325 | 324.68 | LF
91 |  |  |  | (15") RCP | 1181 | 1180.48 | LF
92 |  |  |  | (18") RCP | 458 | 458.42 | LF
93 |  |  |  | (12") DIP | 976 | 975.75 | LF
94 |  |  |  | (15'W) PRECAST BOX CULVERT | 38 | 37.81 | LF
95 |  |  |  | TRENCH DRAIN | 152 | 152.09 | LF
96 |  |  |  | EXCAVATION | 2753 |  | CY
97 |  |  |  | BEDDING | 997 |  | CY
98 |  |  |  | TRENCH SOIL EXPORT | 1521 |  | CY
99 |  |  |  | BACK FILLING | 1231 |  | CY
|  |  |  | Subtotal | [9 empty] | 0
|  |  |  | Total. | [9 empty] | 0
|  |  |  | Add wastage of materials | [9 empty] | 0
|  |  |  | Add Contractor's overhead & profit @ 15% | [9 empty] | 0
|  |  |  | G.Total | [9 empty] | 0
Please review prices before submission of bid
ADDENDA
Addendum Issued: NONE up to Date (09/15/2014): None
Please review any Addendum issued after Date 11/08/22
OWNER
ARCHITECT
12 HARTS LANE BLOCK 31 LOTS 2.03 & 2.05 EAST BRUNSWICK TOWNSHIP
SUNSCAPE ENTERPRISES, INC.