## Estimate Statement
Project: |  |  | JUSTIN MARX _ 18003 1ST AVE NW | [10 empty] | Summary | Amount
Project Location: |  |  | 18003 1st Ave NW Shoreline, WA 94559 | [10 empty] | TOTAL COST | 0
Date: |  |  | 2023-06-09
Sr# | Drawing Ref. | Sub- Division Codes | Description | Quantity | Wastage | Qty. With Wastage | UOM | Unit Material Cost | Total Material Cost | Unit Labor Hrs. | Cost/Hr | Manhours | Total Labor Cost | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV.26 ELECTRICAL | [11 empty] | 0
Labor/Hour
CONDUITS
1 |  |  | 1/2" Dia Emt Conduit | 142 | 10% | 156.2 | LF |  | 0 |  |  | 0 | 0 | 0
2 |  |  | 3/4" Dia Emt Conduit | 28.4 | 10% | 31.24 | LF |  | 0 |  |  | 0 | 0 | 0
CONDUCTORS
3 |  |  | 2 #12, 1 #12D Romex Cable For Lighting | 74.86 | 10% | 82.346 | LF |  | 0 |  |  | 0 | 0 | 0
4 |  |  | 2 #12, 1 #12G Cu Service For Lighting Fixtures | 48.27 | 10% | 53.097 | LF |  | 0 |  |  | 0 | 0 | 0
5 |  |  | 2 #12, 1 #12G Cu Service For Low Voltage Trellis | 10 | 10% | 11 | LF |  | 0 |  |  | 0 | 0 | 0
6 |  |  | 2 #12, 1 #12G Cu Service For Receptacles | 83.93 | 10% | 92.323 | LF |  | 0 |  |  | 0 | 0 | 0
7 |  |  | 2 #8, 1 #8G Cu Service For Mechanical Unit | 28.38 | 10% | 31.218 | LF |  | 0 |  |  | 0 | 0 | 0
LIGHTING FIXTURES
8 |  |  | Ceiling Mounted Led Light Fixture | 17 | 0% | 17 | EA |  | 0 |  |  | 0 | 0 | 0
9 |  |  | Wall Mounted Led Light Fixture | 2 | 0% | 2 | EA |  | 0 |  |  | 0 | 0 | 0
LIGHTING CONTROLS
10 |  |  | One Way Light Switch | 6 | 0% | 6 | EA |  | 0 |  |  | 0 | 0 | 0
POWER FIXTURES
11 |  |  | Duplex Receptacle, Wall Mounted | 9 | 0% | 9 | EA |  | 0 |  |  | 0 | 0 | 0
12 |  |  | Non Fused Disconnect Switch For Fan Coil Unit | 2 | 0% | 2 | EA |  | 0 |  |  | 0 | 0 | 0
[11 empty] | Total Labor Hrs. | 0
| Trades Total | [13 empty] | 0
| Material Tax | [11 empty] | 10.33% |  | 0
| OH&P | [11 empty] | 25% |  | 0
| TOTALS | [13 empty] | 0