## DETAILED ESTIMATE
PROJECT : TACO BELL
ADDRESS : 2863 TOWN CENTER DRIVE, FAYETTEVILLE, NC 28306
DATE : 6/29/2022
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | UNIT MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.01 | GENERAL CONDITIONS | [8 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  |  |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  |  |  | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS |  |  |  | 0
4 |  | Contractors Use Of New And Existing Facilities | 1 | 0% | 1 | LS |  |  |  | 0
5 |  | Correction Of Unsatisfactory Conditions | 1 | 0% | 1 | LS |  |  |  | 0
6 |  | Restoration Of Unit Damaged During Installation | 1 | 0% | 1 | LS |  |  |  | 0
7 |  | Replacement Of Units Which Cannot Be Restored | 1 | 0% | 1 | LS |  |  |  | 0
8 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS |  |  |  | 0
9 |  | Signage | 1 | 0% | 1 | LS |  |  |  | 0
10 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  |  |  | 0
11 |  | Temporary Services | 1 | 0% | 1 | LS |  |  |  | 0
12 |  | Water | 1 | 0% | 1 | LS |  |  |  | 0
13 |  | Lighting And Power | 1 | 0% | 1 | LS |  |  |  | 0
14 |  | Toilet Facilities | 1 | 0% | 1 | LS |  |  |  | 0
15 |  | Material Storage | 1 | 0% | 1 | LS |  |  |  | 0
16 |  | Contractor's Safety Program | 1 | 0% | 1 | LS |  |  |  | 0
| DIV.02 | EXISTING CONDITIONS | [8 empty] | 0
DEMOLITION
17 |  | Concrete Sidewalk & Pavement to be Removed | 112 | 0% | 112 | SF |  |  |  | 0
18 |  | Concrete Curb & Gutter to be Removed | 142 | 0% | 142 | LF |  |  |  | 0
19 |  | Full Depth Sawcut Existing Concrete | 35 | 0% | 35 | LF |  |  |  | 0
20 |  | Fire Hydrant to be Relocted | 1 | 0% | 1 | EA |  |  |  | 0
21 |  | Sign to be Removed | 1 | 0% | 1 | EA |  |  |  | 0
EROSION CONTROL PLAN
22 |  | Concrete Washout Area | 46 | 10% | 50.6 | SF |  |  |  | 0
23 |  | Construction Entrance | 1470 | 10% | 1617 | SF |  |  |  | 0
24 |  | Silt fence | 935 | 10% | 1028.5 | LF |  |  |  | 0
25 |  | Strom Inlet Protection | 5 | 0% | 5 | EA |  |  |  | 0
SITE WORK
CURB AND GUTTER
26 |  | 6" Wide Concrete Curb | 1240 | 10% | 1364 | LF |  |  |  | 0
27 |  | Concrete Curb & Gutter | 135 | 10% | 148.5 | LF |  |  |  | 0
BOLLARDS
28 |  | 6" Dia bollard | 4 | 0% | 4 | EA |  |  |  | 0
29 |  | Concrete 3000 Psi | 0.78519 | 10% | 0.8637 | CY |  |  |  | 0
30 |  | Formwork | 21.2 | 10% | 23.32 | SFCA |  |  |  | 0
31 |  | Excavation | 1.5259 | 10% | 1.6785 | CY |  |  |  | 0
32 |  | Backfill | 0.74074 | 10% | 0.81481 | CY |  |  |  | 0
MENU BOARD BOLLARDS
33 |  | 6" Dia bollard | 1 | 0% | 1 | EA |  |  |  | 0
34 |  | Concrete 3000 Psi | 0.088889 | 10% | 0.097778 | CY |  |  |  | 0
35 |  | Formwork | 2.4 | 10% | 2.64 | SFCA |  |  |  | 0
36 |  | Excavation | 0.17778 | 10% | 0.19556 | CY |  |  |  | 0
37 |  | Backfill | 0.088889 | 10% | 0.097778 | CY |  |  |  | 0
DUMPSTER BOLLARDS
38 |  | 6" Dia bollard | 4 | 0% | 4 | EA |  |  |  | 0
39 |  | Concrete 3000 Psi Concrete encasement at dumpter enclosure | 0.26167 | 10% | 0.28783 | CY |  |  |  | 0
40 |  | Formwork | 7.065 | 10% | 7.7715 | SFCA |  |  |  | 0
41 |  | Excavation | 0.58148 | 10% | 0.63963 | CY |  |  |  | 0
42 |  | Backfill | 0.31981 | 10% | 0.3518 | CY |  |  |  | 0
SIGNAGE
43 |  | Handcap signage | 2 | 10% | 2.2 | EA |  |  |  | 0
44 |  | Van accessible handicap parking sign | 2 | 10% | 2.2 | EA |  |  |  | 0
45 |  | Stop Sign | 3 | 10% | 3.3 | EA |  |  |  | 0
46 |  | Directional Sign | 4 | 10% | 4.4 | EA |  |  |  | 0
47 |  | Concrete 3000 Psi | 1.8148 | 10% | 1.9963 | CY |  |  |  | 0
48 |  | Formwork | 49 | 10% | 53.9 | SFCA |  |  |  | 0
49 |  | Excavation | 5 | 10% | 5.5 | CY |  |  |  | 0
50 |  | Backfill | 3.1852 | 10% | 3.5037 | CY |  |  |  | 0
TRUNCATED DOMES
51 |  | Truncated Domes | 50 | 10% | 55 | SF |  |  |  | 0
PAVEMENT STRIPPING
52 |  | 24" Stopping bar | 75 | 10% | 82.5 | LF |  |  |  | 0
53 |  | Directional Arrow Symbol | 9 | 0% | 9 | LF |  |  |  | 0
54 |  | Accessible parking symbols | 2 | 0% | 2 | EA |  |  |  | 0
55 |  | 4" White Stripping lines | 860 | 10% | 946 | EA |  |  |  | 0
CONCRETE SIDEWALK
56 |  | 4" Thick concrete sidewalk 4000 Psi | 1540 | 10% | 1694 | SF |  |  |  | 0
57 |  | Reinforce With 6x6 W/ 1.4x1.4 WWF | 28.2333 | 10% | 31.0567 | LB |  |  |  | 0
58 |  | 4" Compacted Sand base | 18.8222 | 10% | 20.7044 | CY |  |  |  | 0
59 |  | 4" Edge form | 580 | 10% | 638 | LF |  |  |  | 0
60 |  | Saw cut control joint | 246.4 | 10% | 271.04 | LF |  |  |  | 0
61 |  | Expansion joint | 580 | 10% | 638 | LF |  |  |  | 0
CONCRETE SIDEWALK ACCESSIBLE RAMP
62 |  | 4" Thick concrete sidewalk 4000 Psi | 180 | 10% | 198 | SF |  |  |  | 0
63 |  | Reinforce With 6x6 W/ 1.4x1.4 WWF | 3.3 | 10% | 3.63 | LB |  |  |  | 0
64 |  | 4" Compacted Sand base | 2.2 | 10% | 2.42 | CY |  |  |  | 0
65 |  | 4" Edge form | 95 | 10% | 104.5 | LF |  |  |  | 0
66 |  | Saw cut control joint | 28.8 | 10% | 31.68 | LF |  |  |  | 0
67 |  | Expansion joint | 95 | 10% | 104.5 | LF |  |  |  | 0
CONCRETE PAVEMENT
68 |  | 6" Thick Portland Cement Concrete (4000 PSI) | 1065 | 10% | 1171.5 | SF |  |  |  | 0
69 |  | Reinforce With 6x6 W/ 2.1x2.1 WWF | 1065 | 10% | 1171.5 | SF |  |  |  | 0
70 |  | 4" Compacted Aggregate base | 13.0167 | 10% | 14.3183 | CY |  |  |  | 0
71 |  | 6" Edge form | 230 | 10% | 253 | LF |  |  |  | 0
72 |  | Saw cut control joint | 170.4 | 10% | 187.44 | LF |  |  |  | 0
73 |  | Expansion joint | 230 | 10% | 253 | LF |  |  |  | 0
BLACK COLORED CONCRETE PAVEMENT
74 |  | 6" Thick Portland Cement Concrete (4000 PSI) | 705 | 10% | 775.5 | SF |  |  |  | 0
75 |  | Reinforce With 6x6 W/ 2.1x2.1 WWF | 705 | 10% | 775.5 | SF |  |  |  | 0
76 |  | 4" Compacted Aggregate base | 8.6167 | 10% | 9.4783 | CY |  |  |  | 0
77 |  | 6" Edge form | 205 | 10% | 225.5 | LF |  |  |  | 0
78 |  | Saw cut control joint | 112.8 | 10% | 124.08 | LF |  |  |  | 0
79 |  | Expansion joint | 205 | 10% | 225.5 | LF |  |  |  | 0
MENU BOARD & CANOPY AREA PAD
80 |  | 4" Thick concrete Pad 4000 Psi | 50 | 10% | 55 | SF |  |  |  | 0
81 |  | Reinforce With 6x6 W/ 1.4x1.4 WWF | 50 | 10% | 55 | LB |  |  |  | 0
82 |  | 4" Compacted Sand base | 1.2407 | 10% | 1.3648 | CY |  |  |  | 0
83 |  | 4" Edge form | 27 | 10% | 29.7 | LF |  |  |  | 0
84 |  | Saw cut control joint | 8 | 10% | 8.8 | LF |  |  |  | 0
85 |  | Expansion joint | 27 | 10% | 29.7 | LF |  |  |  | 0
DUMPSTER ENCLOSURE GATE POST FOOTING
86 |  | Dumpster gate [5'-3" Wide x 7'-9" High] (Metal Framed With Trex Composite Decking) | 4 | 10% | 4.4 | EA |  |  |  | 0
87 |  | Concrete 3000 Psi | 0.46519 | 10% | 0.5117 | CY |  |  |  | 0
88 |  | Formwork | 12.56 | 10% | 13.816 | SFCA |  |  |  | 0
89 |  | Excavation | 1.0467 | 10% | 1.1513 | CY |  |  |  | 0
90 |  | Backfill | 0.58148 | 10% | 0.63963 | CY |  |  |  | 0
DUMPSTER ENCLOSURE PAD
91 |  | 6" Thick Portland Cement Concrete (4000 PSI) | 375 | 10% | 412.5 | SF |  |  |  | 0
92 |  | Reinforce With 6x6 W/ 2.1x2.1 WWF | 375 | 10% | 412.5 | SF |  |  |  | 0
93 |  | 4" Compacted Aggregate base | 4.5833 | 10% | 5.0417 | CY |  |  |  | 0
94 |  | 6" Edge form | 54 | 10% | 59.4 | LF |  |  |  | 0
95 |  | Saw cut control joint | 60 | 10% | 66 | LF |  |  |  | 0
96 |  | Expansion joint | 54 | 10% | 59.4 | LF |  |  |  | 0
DUMPSTER APRON PAD
97 |  | 7" Thick Portland Cement Concrete (4000 PSI) | 440 | 10% | 484 | SF |  |  |  | 0
98 |  | Reinforce With #4 @ 24" O.C | 440 | 10% | 484 | SF |  |  |  | 0
99 |  | 6" Compacted Aggregate base | 8.1481 | 10% | 8.963 | CY |  |  |  | 0
100 |  | 12"x12" Thick Edge | 85 | 10% | 93.5 | LF |  |  |  | 0
101 |  | Saw cut control joint | 70.4 | 10% | 77.44 | LF |  |  |  | 0
102 |  | Expansion joint | 85 | 10% | 93.5 | LF |  |  |  | 0
DUMPSTER ENCLOSURE WALL
103 |  | 8" Solid Grouted CMU wall #5 @ 48" o.c. Vertical rebar Dura-o-Wall Every Second Course. Stucco & Paint | 520 | 10% | 572 | SF |  |  |  | 0
DUMPSTER ENCLOSURE WALL FOOTING
104 |  | Dumpster wall footing | 65 | 10% | 71.5 | LF |  |  |  | 0
105 |  | Concrete 3000 Psi | 4.8028 | 10% | 5.2831 | CY |  |  |  | 0
106 |  | Formwork | 138.32 | 10% | 152.152 | SFCA |  |  |  | 0
107 |  | Excavation | 9.0278 | 10% | 9.9306 | CY |  |  |  | 0
108 |  | Backfill | 4.225 | 10% | 4.6475 | CY |  |  |  | 0
109 |  | 2-#5 Cont | 130 | 10% | 143 | LB |  |  |  | 0
STANDARD DUTY ASPHALT PAVEMENT
110 |  | 2.0" HMA, Surface Course | 5365 | 10% | 5901.5 | SF |  |  |  | 0
111 |  | 2.0" HMA, Intermediate Course | 5365 | 10% | 5901.5 | SF |  |  |  | 0
112 |  | 6" Compacted Stone base | 133.1315 | 10% | 146.4446 | CY |  |  |  | 0
113 |  | 12" Compacted Subgrade | 5365 | 10% | 5901.5 | CY |  |  |  | 0
HEAVY DUTY ASPHALT PAVEMENT
114 |  | 2.5" HMA, Surface Course | 19170 | 10% | 21087 | SF |  |  |  | 0
115 |  | 3.0" HMA, Intermediate Course | 19170 | 10% | 21087 | SF |  |  |  | 0
116 |  | 8" Compacted Stone base | 475.7 | 10% | 523.27 | CY |  |  |  | 0
117 |  | 12" Compacted Subgrade | 19170 | 10% | 21087 | CY |  |  |  | 0
MISC ITEMS
118 |  | Precast Concrete Wheel Stop | 10 | 0% | 10 | EA |  |  |  | 0
MENU BOARD & FOOTING
119 |  | Menu Board (5'-0-1/2" Wide x 4'-11-5/8" High) | 1 | 0% | 1 | EA |  |  |  | 0
Footing
120 |  | Concrete 3000 Psi | 6.28 | 10% | 6.908 | CY |  |  |  | 0
121 |  | Formwork circular footing | 188.4 | 10% | 207.24 | SFCA |  |  |  | 0
122 |  | Excavation | 13.9556 | 10% | 15.3511 | CY |  |  |  | 0
123 |  | Backfill | 0.87222 | 10% | 0.95944 | CY |  |  |  | 0
124 |  | 4#5 Vertical bars | 151.2 | 10% | 166.32 | LB |  |  |  | 0
125 |  | #3 @ 12" o.c. Ties | 146.448 | 10% | 161.0928 | LB |  |  |  | 0
CLEARANCE BAR & FOOTING
126 |  | Clearance Bar Post (HSS 4x4x1/4) [10'-0" Height] | 1 | 0% | 1 | EA |  |  |  | 0
127 |  | Clearance Bar [8'-6" Length] | 1 | 0% | 1 | EA |  |  |  | 0
Footing
128 |  | Concrete 3000 Psi | 0.20556 | 10% | 0.22611 | CY |  |  |  | 0
129 |  | Formwork circular footing | 5.55 | 10% | 6.105 | SFCA |  |  |  | 0
130 |  | Excavation | 0.40741 | 10% | 0.44815 | CY |  |  |  | 0
131 |  | Backfill | 0.20556 | 10% | 0.22611 | CY |  |  |  | 0
132 |  | 4#5 Vertical bars | 20.16 | 10% | 22.176 | LB |  |  |  | 0
133 |  | #3 @ 12" o.c. Ties | 15.255 | 10% | 16.7805 | LB |  |  |  | 0
SPEAKER & FOOTING
134 |  | Speaker ( As Specified) | 1 | 0% | 1 | EA |  |  |  | 0
Footing
135 |  | Concrete 3000 Psi | 0.074074 | 10% | 0.081481 | CY |  |  |  | 0
136 |  | Formwork circular footing | 2 | 10% | 2.2 | SFCA |  |  |  | 0
137 |  | Excavation | 0.14815 | 10% | 0.16296 | CY |  |  |  | 0
138 |  | Backfill | 0.074074 | 10% | 0.081481 | CY |  |  |  | 0
139 |  | 4#5 Vertical bars | 10.08 | 10% | 11.088 | LB |  |  |  | 0
140 |  | #3 @ 12" o.c. Ties | 6.075 | 10% | 6.6825 | LB |  |  |  | 0
CANOPY & FOOTING
141 |  | Canopy Post (HSS5x5x5/16) [10'-0" Height] | 1 | 0% | 1 | EA |  |  |  | 0
142 |  | Canopy Shed (As Specified) | 1 | 0% | 1 | EA |  |  |  | 0
Footing
143 |  | Concrete 3000 Psi | 0.4 | 10% | 0.44 | CY |  |  |  | 0
144 |  | Formwork circular footing | 10.2 | 10% | 11.22 | SFCA |  |  |  | 0
145 |  | Excavation | 0.75556 | 10% | 0.83111 | CY |  |  |  | 0
146 |  | Backfill | 0.37778 | 10% | 0.41556 | CY |  |  |  | 0
147 |  | 4#6 Vertical bars | 60.48 | 10% | 66.528 | LB |  |  |  | 0
148 |  | #3 @ 12" o.c. Ties | 21.357 | 10% | 23.4927 | LB |  |  |  | 0
UTILITIES
149 |  | 1-1/2" Domestic Water Pipe | 230 | 10% | 253 | LF |  |  |  | 0
150 |  | 6" Fire Water Pipe | 48 | 10% | 52.8 | LF |  |  |  | 0
Trench
151 |  | Excavation | 30.8889 | 10% | 33.9778 | CY |  |  |  | 0
152 |  | Backfill | 30.3837 | 10% | 33.4221 | CY |  |  |  | 0
Trench details are assumed.
153 |  | 6" SDR 35 Pvc San Pipe | 178 | 10% | 195.8 | LF |  |  |  | 0
154 |  | Communication Conduit | 155 | 10% | 170.5 | LF |  |  |  | 0
155 |  | Electrical Conduit | 160 | 10% | 176 | LF |  |  |  | 0
156 |  | 2" Pvc Electrical Conduit | 885 | 10% | 973.5 | LF |  |  |  | 0
157 |  | Gas Line | 245 | 10% | 269.5 | LF |  |  |  | 0
158 |  | Lateral Boring: Steel Casing For Gas Pipe | 65 | 10% | 71.5 | LF |  |  |  | 0
Pipe trenches
159 |  | Excavation | 754.6296 | 10% | 830.0926 | CY |  |  |  | 0
160 |  | Gravel bedding | 20.2241 | 10% | 22.2465 | CY |  |  |  | 0
161 |  | Backfill | 732.226 | 10% | 805.4486 | CY |  |  |  | 0
Trench details are assumed.
162 |  | 1-1/2" Back Flow Preventer | 1 | 0% | 1 | EA |  |  |  | 0
163 |  | Gas Meter & Service Connection | 1 | 0% | 1 | EA |  |  |  | 0
164 |  | 6" Sanitary Cleanout | 5 | 0% | 5 | EA |  |  |  | 0
165 |  | 1000 Gallon Grease Trap Interceptor | 1 | 0% | 1 | EA |  |  |  | 0
STORM WATER
166 |  | 10" Pvc Pipe | 175 | 10% | 192.5 | LF |  |  |  | 0
167 |  | 15" HDPE Pipe | 598 | 10% | 657.8 | LF |  |  |  | 0
168 |  | 18" HDPE Pipe | 28 | 10% | 30.8 | LF |  |  |  | 0
Pipe trench
169 |  | Excavation/Layback excavation | 1869 | 10% | 2055.9 | CY |  |  |  | 0
170 |  | Compacted backfill | 1761.9219 | 10% | 1938.1141 | CY |  |  |  | 0
171 |  | Gravel bedding | 107.0781 | 10% | 117.7859 | CY |  |  |  | 0
Pipe trench dimensions are assumed and layback excavation is also included. Please confirm.
172 |  | Curb Inlet | 4 | 0% | 4 | EA |  |  |  | 0
173 |  | Roof Drain | 3 | 0% | 3 | EA |  |  |  | 0
174 |  | Strom Manhole | 1 | 0% | 1 | EA |  |  |  | 0
Light poles
175 |  | Square Aluminum Light poles- Non Tapered -25'-0" Height An Overall Fixture Heaight 27-6" | 6 | 0% | 6 | EA |  |  |  | 0
Footing
176 |  | Concrete 3000 Psi | 6.28 | 10% | 6.908 | CY |  |  |  | 0
177 |  | Formwork circular footing | 339.12 | 10% | 373.032 | SFCA |  |  |  | 0
178 |  | Excavation | 19.5378 | 10% | 21.4916 | CY |  |  |  | 0
179 |  | Backfill | 1.2211 | 10% | 1.3432 | CY |  |  |  | 0
180 |  | 4#5 Vertical bars | 211.68 | 10% | 232.848 | LB |  |  |  | 0
181 |  | #3 @ 12" o.c. Ties | 146.448 | 10% | 161.0928 | LB |  |  |  | 0
Footing details are assumed.
Lighting plan
182 |  | Single Mounted Light @ Pole Manufactuer : BEACON PRODUCTS Model#: VP-2-320L-315-4K7-2-UNV-A-DBT | 1 | 0% | 1 | EA |  |  |  | 0
183 |  | Single Mounted Light @ Pole Manufactuer : BEACON PRODUCTS Model#: VP-2-320L-315-4K7-4F-UNV-A-DBT | 1 | 0% | 1 | EA |  |  |  | 0
184 |  | Single Mounted Light @ Pole Manufactuer : BEACON PRODUCTS Model#: VP-2-320L-315-4K7-4W-UNV-A-DBT | 3 | 0% | 3 | EA |  |  |  | 0
185 |  | Back to Back Light @ Pole Manufactuer : BEACON PRODUCTS Model#: (2) VP-2-320L-315-4K7-5QW-UNV-A-DBT | 1 | 0% | 1 | EA |  |  |  | 0
LANDSCAPING
Trees
186 |  | Botanical Name / Common Name: Acer Buergerianum / Trident Maple | 1 | 0% | 1 | EA |  |  |  | 0
187 |  | Botanical Name / Common Name: Lagerstroemia Indica 'Nactchez' / Natchez Crepe Myrtle | 3 | 0% | 3 | EA |  |  |  | 0
Shrubs
188 |  | Botanical Name / Common Name: Ilex Cornuta ' Dwaf Burford' / Dwarf Burford Holly | 14 | 0% | 14 | EA |  |  |  | 0
189 |  | Botanical Name / Common Name: Ilex Cornuta ' Needlepoint' / Needlepoint Holly | 18 | 0% | 18 | EA |  |  |  | 0
190 |  | Botanical Name / Common Name: Ilex Vornitoria ' Stoke's Dwarf' / Stoke's Dwarf Holly | 18 | 0% | 18 | EA |  |  |  | 0
191 |  | Botanical Name / Common Name: Loropetalum Chinese ' Kurenai' / Dwarf Pink Chinese Fringe Flower | 2 | 0% | 2 | EA |  |  |  | 0
192 |  | Botanical Name / Common Name: Nandina Domestica ' Firepower' / Fire Power Dwarf Nandina | 24 | 0% | 24 | EA |  |  |  | 0
SWM SEED
193 |  | Sod Area | 16130 | 10% | 17743 | SF |  |  |  | 0
194 |  | Brickship Mulch | 1805 | 10% | 1985.5 | SF |  |  |  | 0
195 |  | Perennial Plantings | 235 | 10% | 258.5 | SF |  |  |  | 0
196 |  | Permanent/ Temporary Seeding Area | 18940 | 10% | 20834 | SF |  |  |  | 0
197 |  | Landscape Edging | 375 | 10% | 412.5 | LF |  |  |  | 0
| DIV.31 | EARTHWORKS | [8 empty] | 0
CUT & FILL
198 |  | Clearing and grubbing | 1.219 | 10% | 1.3409 | AC |  |  |  | 0
199 |  | Compacted subgrade of all pavements | 28890 | 10% | 31779 | SF |  |  |  | 0
200 |  | Top soil stripping (4" Assumed) (53100 SF) | 1966.6667 | 10% | 2163.3333 | CY |  |  |  | 0
201 |  | Fill | 3819.537 | 10% | 4201.4907 | CY |  |  |  | 0
SUB TOTAL | [9 empty] | 0 | 0
OVERHEAD & PROFIT (25%) | [8 empty] | 25% | 0 | 0
TOTAL BID | [9 empty] | 0 | 0
PREPARED BY :
Notes
1. This estimate is based on real market prices that are regularly updated by our team persons through market surveys and online resoures, we still encourage our clients to put their own.
2. This sheet is your property and we encourage you to fine tune the wastage and pricing values to your preference.
3. Feel free to contact us for any queries or suggestions.
Scope: Demo,Sitework, Grading and Stormwater.
Rest are excluded
Exclusions
Building concrete
Structural excavation backfill