## Estimate
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | Date: | 2023-03-03
Gross Area (SF) |  | Project: | Yardbird Tenant Improvement | [8 empty] | Summary | Amount
Covered Area (SF) |  | Project Location: | 11375 Legacy Ave. Palm Beach Gardens FL 33410 | [8 empty] | Subtotal | 54013.7719
[12 empty] | Profit/Overhead | 15934.0627
[12 empty] | Total | 69947.8346
REF. SHEET | DETAIL | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LAB COST | TOTAL LAB COST | UNIT MAT COST | TOTAL MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
|  | GENERAL REQUIREMENTS | [10 empty] | 11101
|  | Supervision | 1 | 0% | 1 | LS
|  | Permits | 1 | 0% | 1 | LS |  |  |  |  | 2000 | 2000
|  | Final Cleanup | 1 | 0% | 1 | LS |  |  |  |  | 7650 | 7650
|  | Mobilization Costs | 1 | 0% | 1 | LS |  |  |  |  | 0 | 0
|  | Project Overheads | 1 | 0% | 1 | LS |  |  |  |  | 1 | 1
|  | Bonds | 1 | 0% | 1 | LS |  |  |  |  | 1450 | 1450
|  | Temporary Control & Facilities | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Contractor's Safety Program | 1 | 0% | 1 | LS | [5 empty] | 0
|  | Div-02 Selective Removal & Demolition | [10 empty] | 42912.7719
Architectural Demolition
D101 | D101 | Remove 6" Stud Wall (H=22'-0") | 2632.3 | 0% | 2632.3 | SF | 2.68 | 7054.564 |  | 0 | 2.68 | 7054.564
D101 | D101 | Remove 4" Stud Wall (H=22'-0") | 420.2 | 0% | 420.2 | SF | 2.6 | 1092.52 |  | 0 | 2.6 | 1092.52
D101 | D101 | Remove 8" Stud Wall (H=22'-0") | 453.64 | 0% | 453.64 | SF | 2.78 | 1261.1192 |  | 0 | 2.78 | 1261.1192
D101 | D101 | Remove 6" Stud Wall (H=4'-0") | 12.04 | 0% | 12.04 | SF | 2.68 | 32.2672 |  | 0 | 2.68 | 32.2672
D101 | D101 | Remove Single Leaf Door | 9 | 0% | 9 | EA | 71.56 | 644.04 |  | 0 | 71.56 | 644.04
D101 | D101 | Remove Glazing (Please Verify Hieght) | 591 | 0% | 591 | SF | 1.98 | 1170.18 |  | 0 | 1.98 | 1170.18
D101 | D101 | Remove Flooring W/ Wall Base | 3747.44 | 0% | 3747.44 | SF | 1.91 | 7157.6104 |  | 0 | 1.91 | 7157.6104
D101 | D101 | Saw Cut Concrete Slab | 17.72 | 0% | 17.72 | LF | 1.82 | 32.2504 |  | 0 | 1.82 | 32.2504
D101 | D101 | Remove Concrete Slab | 7.87 | 0% | 7.87 | SF | 3.5 | 27.545 |  | 0 | 3.5 | 27.545
D101 | D101 | Remove Grab Bar | 4 | 0% | 4 | EA | 8 | 32 |  | 0 | 8 | 32
D101 | D101 | Remove Soap Dispenser | 2 | 0% | 2 | EA | 6.5 | 13 |  | 0 | 6.5 | 13
D101 | D101 | Remove Tissue Paper Holder | 2 | 0% | 2 | EA | 6.5 | 13 |  | 0 | 6.5 | 13
D101 | D101 | Remove Restroom Accessory | 5 | 0% | 5 | EA | 8 | 40 |  | 0 | 8 | 40
D102 | D102 | Remove ACT Ceiling | 3501.44 | 0% | 3501.44 | SF | 2.01 | 7037.8944 |  | 0 | 2.01 | 7037.8944
D101 | D101 | Remove Countertop | 14.58 | 0% | 14.58 | SF | 8.59 | 125.2422 |  | 0 | 8.59 | 125.2422
D101 | D101 | Remove Base Cabinets | 7.42 | 0% | 7.42 | LF | 31.58 | 234.3236 |  | 0 | 31.58 | 234.3236
D101 | D101 | Remove Closet | 6.15 | 0% | 6.15 | LF | 21.89 | 134.6235 |  | 0 | 21.89 | 134.6235
D101 | D101 | Remove Gypsum Board (H=6'-0") | 137.4 | 0% | 137.4 | SF | 1.19 | 163.506 |  | 0 | 1.19 | 163.506
MEP Demolition
P-002 | P-002 | Remove Sink | 2 | 0% | 2 | EA | 64.1 | 128.2 |  | 0 | 64.1 | 128.2
P-002 | P-002 | Remove Water Closet | 1 | 0% | 1 | EA | 85 | 85 |  | 0 | 85 | 85
P-002 | P-002 | Remove Lavatory | 2 | 0% | 2 | EA | 74.5 | 149 |  | 0 | 74.5 | 149
P-002 | P-002 | Relocate Plumbing Fixture | 2 | 0% | 2 | EA | 105.1 | 210.2 |  | 0 | 105.1 | 210.2
P-002 | P-002 | Relocate Water Heater | 1 | 0% | 1 | EA | 95 | 95 |  | 0 | 95 | 95
P-002 | P-002 | Remove Floor Drain | 1 | 0% | 1 | EA | 25 | 25 |  | 0 | 25 | 25
M-002 | M-002 | Remove & Disconnect Thermostate | 3 | 0% | 3 | EA | 12.5 | 37.5 |  | 0 | 12.5 | 37.5
M-002 | M-002 | Remove & Disconnect Transfer Switch | 1 | 0% | 1 | EA | 12.5 | 12.5 |  | 0 | 12.5 | 12.5
M-002 | M-002 | Remove Air Handling Unit | 1 | 0% | 1 | EA | 135 | 135 |  | 0 | 135 | 135
M-002 | M-002 | Remove Condensing Unit | 1 | 0% | 1 | EA | 130 | 130 |  | 0 | 130 | 130
M-002 | M-002 | Disconnect & Remove Exhaust Fan | 2 | 0% | 2 | EA | 35 | 70 |  | 0 | 35 | 70
M-002 | M-002 | Allowance For Demolition Of Mechanical Items & Ducts Etc. -Please Review | 3864.85 | 0% | 3864.85 | SF | 1.95 | 7536.4575 |  | 0 | 1.95 | 7536.4575
E-002 | E-002 | Allowance For Demolition Of Electrical Lighting Fixtures & Power Items -Please Review | 3843.65 | 0% | 3843.65 | SF | 2.09 | 8033.2285 |  | 0 | 2.09 | 8033.2285
[12 empty] | 54013.7719 | 54013.7719
Material Tax | [10 empty] | 9.5% | 5131.3083 | 5131.3083
OH&P | [10 empty] | 20% | 10802.7544 | 10802.7544
[12 empty] | 69947.8346 | 69947.8346