## BASE BID
ITEM # | REF. SHEET | DETAIL | CSI SECT | Sub Contractor | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | UNIT ITEM COST WITH MARKUPS | TOTAL ITEM COST WITH MARKUPS
Estimate of Materials Quantities and Cost of Construction
CLICK HERE TO GO BACK TO COST SUMMARY
|  |  | Sub-Total | 1315257.807 |  |  |  |  | Date: | 4607100%
|  | Material Sales Tax | 7.97% | 55004.2031 | (Adjust the percentage for Material tax as required) |  |  |  | Project: | DALLAS EV CHARGING
|  | Overhead & Profit / Inflation (Material) | 20% | 138028.1131 | (Adjust the percentage for Overhead & Profit as required) |  |  |  | Project Location: | 1137 MEDICAL DISTRICT DR, DALLAS, TX 75207
|  | Overhead & Profit (Labor) | 20% | 125023.4483 | (Adjust the percentage for Overhead & Profit as required) |  |  |  | Project and Wage Type: | Private (Non-Prevailing wage)
|  | Bond Fee | 1.5% | 24499.7036 | (Adjust the percentage for Bond Fee as required)
|  |  | Total Bid | 1657813.275 |  |  |  |  | Gross Internal Area of Structure (SF)
Covered Area of Structure (SF)
|  | Material Wastage 1 | 0% | ( for Quantities in Each & LS) |  |  |  |  | No. of Units
|  | Material Wastage 2 | 5% | ( for Quantities in LF, SF, SY, CY, LBS, TONS) |  |  |  |  | No. of Floors and Overall Height
| (Changing the wastage percentage here will update the wastage for whole tab) | [7 empty] | Hardscaping Area (SF) | 0
[9 empty] | Soft scaping Area (SF) | 0
To change hourly rates for any trade please go to "Hourly Rates" Tab
ITEM # | REF. SHEET | DETAIL | CSI SECT | Sub Contractor | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | UNIT COST WITH MARKUPS | TOTAL COST WITH MARKUPS
|  |  | DIV-01 |  | General | [11 empty] | 108211.4035 | 1207046.4034 |  | 1207046.4034
Plan Design And Permitting
1 |  |  | DIV-01 | General Requirements | Architecture (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
2 |  |  | DIV-01 | General Requirements | Engineering (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
3 |  |  | DIV-01 | General Requirements | Surveying | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
4 |  |  | DIV-01 | General Requirements | Soils Report (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
5 |  |  | DIV-01 | General Requirements | Geological Report (Assumed By Owner) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
6 |  |  | DIV-01 | General Requirements | Concrete Testing | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
7 |  |  | DIV-01 | General Requirements | Permit Fee | 1 | 0% | 1 | LS | 90.5285 | 90.5285 | 60 | 5431.7088 |  | 0 | 5431.7088 |  | 6615.8213 | 6615.8213
8 |  |  | DIV-01 | General Requirements | Permits (Based On Interior Finish Area) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
9 |  |  | DIV-01 | General Requirements | Plan Coordination | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
10 |  |  | DIV-01 | General Requirements | Roof Inspection | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
11 |  |  | DIV-01 | General Requirements | Blueprints (?? Pages) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
Utilities
12 |  |  | DIV-01 | General Requirements | Utilities During Construction (Based On Interior Finish Area) | 1 | 0% | 1 | LS | 52.1444 | 52.1444 | 60 | 3128.6643 |  | 0 | 3128.6643 |  | 3810.7131 | 3810.7131
13 |  |  | DIV-01 | General Requirements | Port-O-Potty (Based On Interior Finish Area) | 1 | 0% | 1 | LS | 46.5316 | 46.5316 | 60 | 2791.8983 |  | 0 | 2791.8983 |  | 3400.5322 | 3400.5322
14 |  |  | DIV-01 | General Requirements | Temporary Power (Based On Interior Finish Area) | 1 | 0% | 1 | LS | 117.687 | 117.687 | 60 | 7061.2215 |  | 0 | 7061.2215 |  | 8600.5677 | 8600.5677
15 |  |  | DIV-01 | General Requirements | 115kva Transformer Provided by U.S. Electric. (Installation Only) | 1 | 0% | 1 | LS | 18 | 18 | 60 | 1080 |  | 0 | 1080 |  | 1315.44 | 1315.44
Equipment And Tools
16 |  |  | DIV-01 | General Requirements | Tool Rentals | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
17 |  |  | DIV-01 | General Requirements | Tool Shed | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
18 |  |  | DIV-01 | General Requirements | Dust Control | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
19 |  |  | DIV-01 | General Requirements | Ice, Water, Beverages | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
20 |  |  | DIV-01 | General Requirements | Garbage Dumpster / Trash Containers | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
21 |  |  | DIV-01 | General Requirements | Mobilization/Demobilization (Temporary Control & Facilities) | 1 | 0% | 1 | LS | 502.936 | 502.936 | 60 | 30176.1601 |  | 0 | 30176.1601 |  | 36754.563 | 36754.563
22 |  |  | DIV-01 | General Requirements | Crane And Rigging Services For Placement Of Large Electrical Equipment | 1 | 0% | 1 | LS | 170.9982 | 170.9982 | 60 | 10259.8944 |  | 0 | 10259.8944 |  | 12496.5514 | 12496.5514
23 |  |  | DIV-01 | General Requirements | Electrical Testing And Verification Required Prior To Energization | 1 | 0% | 1 | LS | 100.5872 | 100.5872 | 60 | 6035.232 |  | 0 | 6035.232 |  | 7350.9126 | 7350.9126
[5 empty] | Signage And Promotion | [9 empty] | 0
24 |  |  | DIV-01 | General Requirements | Job Signs | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
25 |  |  | DIV-01 | General Requirements | Job Photos | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
26 |  |  | DIV-01 | General Requirements | Signage | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
27 |  |  | DIV-01 | General Requirements | Promotion/Entertainment | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
28 |  |  | DIV-01 | General Requirements | Misc. | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
Cleaning And Final
29 |  |  | DIV-01 | General Requirements | Trash | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
30 |  |  | DIV-01 | General Requirements | Final Cleaning | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
31 |  |  | DIV-01 | General Requirements | Window Washing (Rough # Of Windows ) | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
32 |  |  | DIV-01 | General Requirements | Punch List Items | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
Bonds, Insurance, Legal
33 |  |  | DIV-01 | General Requirements | Casualty Insurance | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
34 |  |  | DIV-01 | General Requirements | Medical Insurance | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
35 |  |  | DIV-01 | General Requirements | General Liability Insurance | 1 | 0% | 1 | LS |  | 0 | 60 | 0 |  | 0 | 0 |  | 0 | 0
Project Management & Supervision
36 |  |  | DIV-01 | General Requirements | Project Management & Supervision | 1 | 0% | 1 | LS | 704.1104 | 704.1104 | 60 | 42246.6241 |  | 0 | 42246.6241 |  | 51456.3882 | 51456.3882
|  |  | DIV-02 |  | Demolition | [11 empty] | 1857.82
Electrical Demolition
37 |  |  | DIV-02 | Demo - Building | Existing Site Pole Lights To Be Removed (1 Light) | 6 | 0% | 6 | EA | 3 | 18 | 48.89 | 880.02 |  | 0 | 880.02 |  | 178.6441 | 1071.8644
38 |  |  | DIV-02 | Demo - Building | Existing Site Pole Lights To Be Removed (2 Light) | 6 | 0% | 6 | EA | 3 | 18 | 48.89 | 880.02 |  | 0 | 880.02 |  | 178.6441 | 1071.8644
39 |  |  | DIV-02 | Demo - Building | Protect & Maintain Existing Electrical Equipment | 1 | 0% | 1 | EA | 2 | 2 | 48.89 | 97.78 |  | 0 | 97.78 |  | 119.096 | 119.096
|  |  | DIV-26 |  | Electrical | [11 empty] | 1019412.7172
Site Lighting Fixtures
40 |  |  | DIV-26 | Electrician | PC1: Parking Canopy Fixture Manufacturer: U.S. Architectural Lighting Mounting: Surface Finish: SCBA Optics: High Performance Lens Size: 19"x19"x8.75" | 12 | 0% | 12 | EA | 3.12 | 37.44 | 60 | 2246.4 | 320 | 3840 | 6086.4 |  | 643.6562 | 7723.8739
41 |  |  | DIV-26 | Electrician | ZX1: Parking Lot Pole Light, Single Head Manufacturer: Lithonia (DSx2) Finish: Flat Black Optics: T4M Distribution Size: Length: 40.1", Width: 16.5",Depth: 5.6" Pole, Height Pole: 15' | 1 | 0% | 1 | EA | 3.45 | 3.45 | 60 | 207 | 465 | 465 | 672 |  | 856.1124 | 856.1124
42 |  |  | DIV-26 | Electrician | ZX1R: Parking Lot Pole Light, Single Head Manufacturer: Lithonia (DSx2) Finish: Black Optics: Rcco Distribution Size: Length: 40.1", Width: 16.5",Depth: 5.6" Pole, Height Pole: 15' | 1 | 0% | 1 | EA | 3.45 | 3.45 | 60 | 207 | 465 | 465 | 672 |  | 856.1124 | 856.1124
43 |  |  | DIV-26 | Electrician | ZX-4D: Shoe-Box Style, Cutoff Dual Head Manufacturer: Gardco (GL-18-24-200LA-CW-UNV--SCBA) Finish: SCBA Optics: Type III Distribution Size: Length: 32", Width: 18",Depth: 7" Pole, Height Pole: 27' | 7 | 0% | 7 | EA | 4 | 28 | 60 | 1680 | 950 | 6650 | 8330 |  | 1526.2707 | 10683.8951
Pole Light Details
44 |  |  | DIV-26 | Electrician | 3/4" Dia x 8'-0" Copper Rod | 9 | 0% | 9 | EA | 0.35 | 3.15 | 60 | 189 | 42 | 378 | 567 |  | 80.1316 | 721.1845
45 |  |  | DIV-26 | Electrician | 14" Dia Pole Bsae Plate | 9 | 0% | 9 | EA | 0.75 | 6.75 | 60 | 405 | 85 | 765 | 1170 |  | 165.2161 | 1486.9451
46 |  |  | DIV-26 | Electrician | #6 Cu Grouding Wire , 3/4" RGS Conduit | 90 | 5% | 94.5 | LF | 0.1 | 9.45 | 60 | 567 | 5.5 | 519.75 | 1086.75 |  | 14.4519 | 1365.7069
47 |  |  | DIV-26 | Electrician | #6 Bare CU Grouding Wire | 180 | 5% | 189 | LF | 0.01231 | 2.3266 | 60 | 139.5954 | 0.7605 | 143.7345 | 283.3299 |  | 1.8874 | 356.7233
48 |  |  | DIV-26 | Electrician | In Line Fusewith Fuse Holder | 9 | 0% | 9 | EA | 0.35 | 3.15 | 60 | 189 | 38 | 342 | 531 |  | 74.936 | 674.4243
49 |  |  | DIV-26 | Electrician | HandHole Cover | 9 | 0% | 9 | EA | 0.323 | 2.907 | 60 | 174.42 | 32 | 288 | 462.42 |  | 65.1695 | 586.5255
50 |  |  | DIV-26 | Electrician | 4 Sets #4 Ties On Top Of BASE | 9 | 0% | 9 | EA | 0.212 | 1.908 | 60 | 114.48 | 28 | 252 | 366.48 |  | 51.862 | 466.7583
51 |  |  | DIV-26 | Electrician | Anchor Bolts (4-EA) | 9 | 0% | 9 | EA | 0.75 | 6.75 | 60 | 405 | 95 | 855 | 1260 |  | 178.2051 | 1603.8457
52 |  |  | DIV-26 | Electrician | 8#6 Bars Vertical With 3 Sets #4 Ties | 9 | 0% | 9 | EA | 1.1 | 9.9 | 60 | 594 | 110 | 990 | 1584 |  | 223.2665 | 2009.3985
53 |  |  | DIV-26 | Electrician | 24" Dia x 11' Pole Base, 8' Below Grade & 3' Above Grade | 9 | 0% | 9 | EA | 3.65 | 32.85 | 60 | 1971 | 850 | 7650 | 9621 |  | 1370.8032 | 12337.2286
Power
Receptacle
54 |  |  | DIV-26 | Electrician | GFCI Quadraplex Receptacle, Nema 5-20R | 17 | 0% | 17 | EA | 0.212 | 3.604 | 60 | 216.24 | 28 | 476 | 692.24 |  | 51.862 | 881.6546
55 |  |  | DIV-26 | Electrician | Quadraplex Receptacle, Nema 5-20R | 5 | 0% | 5 | EA | 0.3 | 1.5 | 60 | 90 | 35 | 175 | 265 |  | 67.3853 | 336.9267
Switch
56 |  |  | DIV-26 | Electrician | Toggle Motor Starter With Overload Protection | 2 | 0% | 2 | EA | 2.45 | 4.9 | 60 | 294 | 285 | 570 | 864 |  | 549.2312 | 1098.4624
Power Cord Reel Detail (Assumed)
57 |  |  | DIV-26 | Electrician | Outlet Box With Twist-Lock Receptacle And Cord Reel Connector | 20 | 0% | 20 | EA | 1.12 | 22.4 | 60 | 1344 | 125 | 2500 | 3844 |  | 244.2115 | 4884.2307
58 |  |  | DIV-26 | Electrician | Cord Grip (1' Length) | 20 | 0% | 20 | EA | 0.2 | 4 | 60 | 240 | 18 | 360 | 600 |  | 37.9961 | 759.9224
59 |  |  | DIV-26 | Electrician | Seismic Safety Chain Or Cord | 20 | 0% | 20 | EA | 0.212 | 4.24 | 60 | 254.4 | 28 | 560 | 814.4 |  | 51.862 | 1037.2407
60 |  |  | DIV-26 | Electrician | 3#6) 40' Cord Reel Hubbell Heavy Duty (Other Manufacturer Equal) | 20 | 0% | 20 | EA | 2.3 | 46 | 60 | 2760 | 296.32 | 5926.4 | 8686.4 |  | 552.9727 | 11059.4543
Disconnect Switch
61 |  |  | DIV-26 | Electrician | Ds-Gs: 60A/2P Disconnect Switch, 60A Fuse, Nema 3R, Uni-Strut Structural Steel Support | 1 | 0% | 1 | EA | 2.1 | 2.1 | 60 | 126 | 225 | 225 | 351 |  | 445.7195 | 445.7195
62 |  |  | DIV-26 | Electrician | Ds-Bd: 200A/3P Disconnect Switch, 200A Fuse, Nema 3R, Uni-Strut Structural Steel Support | 1 | 0% | 1 | EA | 3.45 | 3.45 | 60 | 207 | 585 | 585 | 792 |  | 1011.9799 | 1011.9799
63 |  |  | DIV-26 | Electrician | Ds-Bd: 200A/2P Disconnect Switch, 200A Fuse, Nema 3R, Uni-Strut Structural Steel Support | 1 | 0% | 1 | EA | 3.4 | 3.4 | 60 | 204 | 545 | 545 | 749 |  | 956.37 | 956.37
64 |  |  | DIV-26 | Electrician | 600A/3P Disconnect Switch, Nema 3R, Uni-Strut Structural Steel Support | 23 | 0% | 23 | EA | 4.23 | 97.29 | 60 | 5837.4 | 1850 | 42550 | 48387.4 |  | 2712.0851 | 62377.9567
Panels
65 |  |  | DIV-26 | Electrician | P1, Electrical Panel, 120/208V, 3PH 4 Wire, Panel Size: 22" Wide x6" Deep, Nema 3R, 42 Poles | 1 | 0% | 1 | EA | 4.12 | 4.12 | 60 | 247.2 | 1150 | 1150 | 1397.2 |  | 1794.8194 | 1794.8194
66 |  |  | DIV-26 | Electrician | RP1, Lighting Relay Panel, Mounting: Surface, Enclosure: Nema 3R, With 12 Relays | 1 | 0% | 1 | EA | 4.56 | 4.56 | 60 | 273.6 | 1650 | 1650 | 1923.6 |  | 2476.4224 | 2476.4224
67 |  |  | DIV-26 | Electrician | DP-1, Distribution Panel, Detail Not Given | 1 | 0% | 1 | EA | 6 | 6 | 60 | 360 | 2250 | 2250 | 2610 |  | 3360.9949 | 3360.9949
Breaker
68 |  |  | DIV-26 | Electrician | 3 Pole, 400 AMP Mian Circuit Breaker | 1 | 0% | 1 | EA | 4.12 | 4.12 | 60 | 247.2 | 1250 | 1250 | 1497.2 |  | 1924.709 | 1924.709
69 |  |  | DIV-26 | Electrician | 1 Pole, 20 AMP Circuit Breaker | 42 | 0% | 42 | EA | 0.212 | 8.904 | 60 | 534.24 | 22 | 924 | 1458.24 |  | 44.0687 | 1850.8838
Lighting Controls
70 |  |  | DIV-26 | Electrician | Astronomical Time Clock | 1 | 0% | 1 | EA | 2.3655 | 2.3655 | 60 | 141.93 | 285 | 285 | 426.93 |  | 543.056 | 543.056
71 |  |  | DIV-26 | Electrician | Low Voltage Photocell | 1 | 0% | 1 | EA | 0.5395 | 0.5395 | 60 | 32.37 | 65 | 65 | 97.37 |  | 123.8549 | 123.8549
72 |  |  | DIV-26 | Electrician | Low Voltage Override Switch | 1 | 0% | 1 | EA | 0.3984 | 0.3984 | 60 | 23.904 | 48 | 48 | 71.904 |  | 91.4621 | 91.4621
73 |  |  | DIV-26 | Electrician | 120/277 Multi-Volt Control Power Tranformer | 1 | 0% | 1 | EA | 1.0375 | 1.0375 | 60 | 62.25 | 125 | 125 | 187.25 |  | 238.1824 | 238.1824
Ev Charge
74 |  |  | DIV-26 | Electrician | CH1-1: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
75 |  |  | DIV-26 | Electrician | CH1-2: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
76 |  |  | DIV-26 | Electrician | CH1-3: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
77 |  |  | DIV-26 | Electrician | CH1-4: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
78 |  |  | DIV-26 | Electrician | CH1-5: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
79 |  |  | DIV-26 | Electrician | CH1-6: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
80 |  |  | DIV-26 | Electrician | CH1-7: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
81 |  |  | DIV-26 | Electrician | CH2-1: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
82 |  |  | DIV-26 | Electrician | CH2-2: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
83 |  |  | DIV-26 | Electrician | CH2-3: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
84 |  |  | DIV-26 | Electrician | CH2-4: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
85 |  |  | DIV-26 | Electrician | CH2-5: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
86 |  |  | DIV-26 | Electrician | CH2-6: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
87 |  |  | DIV-26 | Electrician | CH2-7: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
88 |  |  | DIV-26 | Electrician | CH2-8: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
89 |  |  | DIV-26 | Electrician | CH3-1: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
90 |  |  | DIV-26 | Electrician | CH3-2: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
91 |  |  | DIV-26 | Electrician | CH3-3: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
92 |  |  | DIV-26 | Electrician | CH3-4: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
93 |  |  | DIV-26 | Electrician | CH3-5: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
94 |  |  | DIV-26 | Electrician | CH3-7: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
95 |  |  | DIV-26 | Electrician | CH3-8: Level 3 Dispenser Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 4.5 | 4.5 | 60 | 270 | 0 | 0 | 270 |  | 328.86 | 328.86
96 |  |  | DIV-26 | Electrician | EV1-1: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
97 |  |  | DIV-26 | Electrician | EV1-2: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
98 |  |  | DIV-26 | Electrician | EV1-3: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
99 |  |  | DIV-26 | Electrician | EV1-4: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
100 |  |  | DIV-26 | Electrician | EV1-5: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
101 |  |  | DIV-26 | Electrician | EV1-6: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
102 |  |  | DIV-26 | Electrician | EV1-7: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
103 |  |  | DIV-26 | Electrician | EV2-1: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
104 |  |  | DIV-26 | Electrician | EV2-2: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
105 |  |  | DIV-26 | Electrician | EV2-3: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
106 |  |  | DIV-26 | Electrician | EV2-4: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
107 |  |  | DIV-26 | Electrician | EV2-5: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
108 |  |  | DIV-26 | Electrician | EV2-6: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
109 |  |  | DIV-26 | Electrician | EV2-7: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
110 |  |  | DIV-26 | Electrician | EV2-8: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
111 |  |  | DIV-26 | Electrician | EV3-1: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
112 |  |  | DIV-26 | Electrician | EV3-2: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
113 |  |  | DIV-26 | Electrician | EV3-3: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
114 |  |  | DIV-26 | Electrician | EV3-4: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
115 |  |  | DIV-26 | Electrician | EV3-5: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
116 |  |  | DIV-26 | Electrician | EV3-6: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
117 |  |  | DIV-26 | Electrician | EV3-7: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
118 |  |  | DIV-26 | Electrician | EV3-8: Level 3 Power Cabinet Manufacturer/Catalog Series: Delta Charger, Type EIDD, 350KW Provide By Owner, Installed By Contractor | 1 | 0% | 1 | EA | 5 | 5 | 60 | 300 | 0 | 0 | 300 |  | 365.4 | 365.4
Digital Multimeter
119 |  |  | DIV-26 | Electrician | Digital Multimeters, Sel #735 | 3 | 0% | 3 | EA | 6 | 18 | 60 | 1080 | 2970 | 8910 | 9990 |  | 4296.1996 | 12888.5989
Duct Bank
120 |  |  | DIV-26 | Electrician | 5'-0" X 1'-5" Concrete Encased Duck Bank | 78 | 5% | 81.9 | LF | 2.8 | 229.32 | 60 | 13759.2 | 160.3125 | 13129.5938 | 26888.7938 |  | 412.8532 | 33812.6758
121 |  |  | DIV-26 | Electrician | 5' X 2'-7" Concrete Encased Duck Bank | 44 | 5% | 46.2 | LF | 3.75 | 173.25 | 60 | 10395 | 239.0625 | 11044.6875 | 21439.6875 |  | 584.5672 | 27007.0049
Distribution
122 |  |  | DIV-26 | Electrician | Ses-1: 480/277V, 3Ph, 4 Wire, 4000A, 100000Aic, Nema 3R Switchboard Vault In Ct Cabinets (97"-W X 102"-L), With Pad Mounted (Owner Furnished, Contractor Install) | 1 | 0% | 1 | EA | 65 | 65 | 60 | 3900 | 0 | 0 | 3900 |  | 4750.2 | 4750.2
123 |  |  | DIV-26 | Electrician | Ses-2: 480/277V, 3Ph, 4 Wire, 4000A, 100000Aic, Nema 3R Switchboard Vault In Ct Cabinets (97"-W X 102"-L), With Pad Mounted (Owner Furnished, Contractor Install) | 1 | 0% | 1 | EA | 65 | 65 | 60 | 3900 | 0 | 0 | 3900 |  | 4750.2 | 4750.2
124 |  |  | DIV-26 | Electrician | Ses-3: 480/277V, 3Ph, 4 Wire, 4000A, 100000Aic, Nema 3R Switchboard Vault In Ct Cabinets (97"-W X 102"-L), With Pad Mounted (Owner Furnished, Contractor Install) | 1 | 0% | 1 | EA | 65 | 65 | 60 | 3900 | 0 | 0 | 3900 |  | 4750.2 | 4750.2
125 |  |  | DIV-26 | Electrician | SG-1, Utility pad Mounted Switch Gear, Provided Concrete Pad For ONCOR Switch | 1 | 0% | 1 | EA | 10 | 10 | 60 | 600 | 0 | 0 | 600 |  | 730.8 | 730.8
126 |  |  | DIV-26 | Electrician | 4000A/3P Lsig Circuit Breaker, W/ Kirk Key | 3 | 0% | 3 | EA | 52 | 156 | 60 | 9360 | 0 | 0 | 9360 |  | 3800.16 | 11400.48
127 |  |  | DIV-26 | Electrician | 2000A/3P Lsig Circuit Breaker, W/ Kirk Key | 1 | 0% | 1 | EA | 6 | 6 | 60 | 360 | 0 | 0 | 360 |  | 438.48 | 438.48
128 |  |  | DIV-26 | Electrician | 600A/3P Lsi Circuit Breaker | 20 | 0% | 20 | EA | 6 | 120 | 60 | 7200 | 0 | 0 | 7200 |  | 438.48 | 8769.6
129 |  |  | DIV-26 | Electrician | 600A/3P Lsi Lockable Circuit Breaker | 8 | 0% | 8 | EA | 4 | 32 | 60 | 1920 | 0 | 0 | 1920 |  | 292.32 | 2338.56
130 |  |  | DIV-26 | Electrician | 350A/3P Lsi Circuit Breaker | 1 | 0% | 1 | EA | 4 | 4 | 60 | 240 | 0 | 0 | 240 |  | 292.32 | 292.32
131 |  |  | DIV-26 | Electrician | 400A/3P Lsi Circuit Breaker | 1 | 0% | 1 | EA | 4 | 4 | 60 | 240 | 0 | 0 | 240 |  | 292.32 | 292.32
132 |  |  | DIV-26 | Electrician | 200A/3P Circuit Breaker | 1 | 0% | 1 | EA | 4 | 4 | 60 | 240 | 0 | 0 | 240 |  | 292.32 | 292.32
133 |  |  | DIV-26 | Electrician | 200A/2P Circuit Breaker | 2 | 0% | 2 | EA | 4 | 8 | 60 | 480 | 0 | 0 | 480 |  | 292.32 | 584.64
134 |  |  | DIV-26 | Electrician | 60A/3P Circuit Breaker | 3 | 0% | 3 | EA | 2.85 | 8.55 | 60 | 513 | 0 | 0 | 513 |  | 208.278 | 624.834
135 |  |  | DIV-26 | Electrician | 60A/2P Circuit Breaker | 1 | 0% | 1 | EA | 2.85 | 2.85 | 60 | 171 | 0 | 0 | 171 |  | 208.278 | 208.278
136 |  |  | DIV-26 | Electrician | 20A/1P Circuit Breaker | 3 | 0% | 3 | EA | 0.25 | 0.75 | 60 | 45 | 0 | 0 | 45 |  | 18.27 | 54.81
137 |  |  | DIV-26 | Electrician | Meter ,Meter Base , And CTS (By ONCOR) | 3 | 0% | 3 | EA | 2.56 | 7.68 | 60 | 460.8 | 0 | 0 | 460.8 |  | 187.0848 | 561.2544
138 |  |  | DIV-26 | Electrician | Spd: Surge Protective Devise | 3 | 0% | 3 | EA | 1.85 | 5.55 | 60 | 333 | 0 | 0 | 333 |  | 135.198 | 405.594
Transformer
139 |  |  | DIV-26 | Electrician | Tx-1: Utility Xfmr 2500Kva, 12470-480Y/277V 3Phase, 4 Wire (ONCOR Provided) Pad Mounted (10Ftx10Ft Pad By Div 26) | 1 | 0% | 1 | EA | 128 | 128 | 60 | 7680 | 0 | 0 | 7680 |  | 9354.24 | 9354.24
140 |  |  | DIV-26 | Electrician | Tx-2: Utility Xfmr 2500Kva, 12470-480Y/277V 3Phase, 4 Wire (ONCOR Provided) Pad Mounted (10Ftx10Ft Pad By Div 26) | 1 | 0% | 1 | EA | 128 | 128 | 60 | 7680 | 0 | 0 | 7680 |  | 9354.24 | 9354.24
141 |  |  | DIV-26 | Electrician | Tx-3: Utility Xfmr 2500Kva, 12470-480Y/277V 3Phase, 4 Wire (ONCOR Provided) Pad Mounted (10Ftx10Ft Pad By Div 26) | 1 | 0% | 1 | EA | 128 | 128 | 60 | 7680 | 0 | 0 | 7680 |  | 9354.24 | 9354.24
142 |  |  | DIV-26 | Electrician | T-1: Transformer 150Kva, 480-208Y/120V 3Phase, 4 Wire, Dry Type Nema 3R | 1 | 0% | 1 | EA | 22 | 22 | 60 | 1320 | 18690 | 18690 | 20010 |  | 25884.1169 | 25884.1169
Grounding Detail
143 |  |  | DIV-26 | Electrician | 5/8"X8' Copper Weld Ground Rod (By Utility) | 3 | 0% | 3 | EA | 0.35 | 1.05 | 60 | 63 | 42 | 126 | 189 |  | 80.1316 | 240.3948
144 |  |  | DIV-26 | Electrician | 3/4"X 8' Copper Weld Ground Rod | 46 | 0% | 46 | EA | 0.365 | 16.79 | 60 | 1007.4 | 48 | 2208 | 3215.4 |  | 89.0212 | 4094.9745
145 |  |  | DIV-26 | Electrician | Ground Bus Bar | 49 | 0% | 49 | EA | 0.45 | 22.05 | 60 | 1323 | 55 | 2695 | 4018 |  | 104.3253 | 5111.9374
146 |  |  | DIV-26 | Electrician | Neutral Bus Bar | 49 | 0% | 49 | EA | 0.45 | 22.05 | 60 | 1323 | 55 | 2695 | 4018 |  | 104.3253 | 5111.9374
147 |  |  | DIV-26 | Electrician | Ground Ring | 26 | 0% | 26 | EA | 0.1 | 2.6 | 60 | 156 | 6 | 156 | 312 |  | 15.1014 | 392.6357
148 |  |  | DIV-26 | Electrician | Ufer | 3 | 0% | 3 | EA | 0.65 | 1.95 | 60 | 117 | 75 | 225 | 342 |  | 144.9192 | 434.7575
149 |  |  | DIV-26 | Electrician | #6 Copper, 3/4" RGS Conduit | 1000 | 5% | 1050 | LF | 0.1 | 105 | 60 | 6300 | 5.5 | 5775 | 12075 |  | 14.4519 | 15174.5215
150 |  |  | DIV-26 | Electrician | #6 Bare Copper | 1040 | 5% | 1092 | LF | 0.01231 | 13.4425 | 60 | 806.5512 | 0.7605 | 830.466 | 1637.0172 |  | 1.8874 | 2061.0679
151 |  |  | DIV-26 | Electrician | #1/0 Copper Wire, 3/4" RGS Conduit | 260 | 5% | 273 | LF | 0.02424 | 6.6175 | 60 | 397.0512 | 2.5756 | 703.1388 | 1100.19 |  | 5.1169 | 1396.9122
152 |  |  | DIV-26 | Electrician | #1/0 Bare Copper Wire | 520 | 5% | 546 | LF | 0.02424 | 13.235 | 60 | 794.1024 | 2.5756 | 1406.2776 | 2200.38 |  | 5.1169 | 2793.8244
153 |  |  | DIV-26 | Electrician | #2 Copper Wire, 3/4" RGS Conduit | 3700 | 5% | 3885 | LF | 0.11778 | 457.5753 | 60 | 27454.518 | 5.6931 | 22117.6935 | 49572.2115 |  | 16.0021 | 62168.1755
End Cap
154 |  |  | DIV-26 | Electrician | 4" Dia Conduit End Cap | 15 | 0% | 15 | EA | 0.2 | 3 | 60 | 180 | 12 | 180 | 360 |  | 30.2027 | 453.0412
155 |  |  | DIV-26 | Electrician | 1" Dia Conduit End Cap | 44 | 0% | 44 | EA | 0.1 | 4.4 | 60 | 264 | 5 | 220 | 484 |  | 13.8025 | 607.309
Misc.
156 |  |  | DIV-26 | Electrician | Junction Box | 36 | 0% | 36 | EA | 0.35 | 12.6 | 60 | 756 | 40 | 1440 | 2196 |  | 77.5338 | 2791.2175
157 |  |  | DIV-26 | Electrician | 236Ct: (24"-L X24"-W X12"-D) Precast Concrete Pull Box Installation: Flush In-Grade Box Options: Open Bottom Cover Type: Bolt Down Cover Traffic Tier: Traffic Rated Oldcastle Chrity (B24) Hubbell Quazite Series Approved Equal | 4 | 0% | 4 | EA | 4.1 | 16.4 | 60 | 984 | 1100 | 4400 | 5384 |  | 1728.413 | 6913.6522
158 |  |  | DIV-26 | Electrician | 236Ct: (36"-L X36"-W X36"-D) Precast Concrete Pull Box Installation: Flush In-Grade Box Options: Open Bottom Cover Type: Bolt Down Cover Traffic Tier: Traffic Rated New Basis #PCA30483690000 Approved Equal | 3 | 0% | 3 | EA | 4.56 | 13.68 | 60 | 820.8 | 1850 | 5550 | 6370.8 |  | 2736.2015 | 8208.6044
159 |  |  | DIV-26 | Electrician | 249ct: 48"-L X48"-W X36"-D) Precast Concrete Pull Box Installation: Flush In-Grade Box Options: Open Bottom Cover Type: Bolt Down Cover Traffic Tier: Traffic Rated New Basis #FCA24363690050 Approved Equal | 5 | 0% | 5 | EA | 6 | 30 | 60 | 1800 | 2350 | 11750 | 13550 |  | 3490.8844 | 17454.4221
160 |  |  | DIV-26 | Electrician | 2000 Amp Cam Lock Connection To Switchboard | 1 | 0% | 1 | EA | 4.12 | 4.12 | 60 | 247.2 | 1200 | 1200 | 1447.2 |  | 1859.7642 | 1859.7642
Site Wiring & Conduits Lighting
161 |  |  | DIV-26 | Electrician | 3#8 CU THWN | 1711 | 5% | 1796.55 | LF | 0.03 | 53.8965 | 60 | 3233.79 | 1.3689 | 2459.2973 | 5693.0873 |  | 3.9705 | 7133.1264
162 |  |  | DIV-26 | Electrician | 1-1/2" RGS Conduit | 34.97 | 5% | 36.7185 | LF | 0.145 | 5.3242 | 60 | 319.4509 | 10.3 | 378.2006 | 697.6515 |  | 23.9752 | 880.3342
163 |  |  | DIV-26 | Electrician | 1-1/2" PVC Conduit | 366.43 | 5% | 384.7515 | LF | 0.035 | 13.4663 | 60 | 807.9782 | 1.52 | 584.8223 | 1392.8004 |  | 4.5321 | 1743.7404
164 |  |  | DIV-26 | Electrician | 1-1/2" Emt Conduit | 1310 | 5% | 1375.5 | LF | 0.089 | 122.4195 | 60 | 7345.17 | 5.9 | 8115.45 | 15460.62 |  | 14.1676 | 19487.5385
165 |  |  |  |  | 1-1/2" Conn Ss Stl - Emt | 105 | 0% | 105 | EA
166 |  |  |  |  | 1-1/2" Coupling Ss Stl - Emt | 131 | 0% | 131 | EA
167 |  |  |  |  | 1-1/2" 1-H Strap - Emt - Steel | 196 | 0% | 196 | EA
168 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 261 | 0% | 261 | EA
169 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 261 | 0% | 261 | EA
Site Wiring & Conduits Power
170 |  |  | DIV-26 | Electrician | 3#10 CU THWN | 559 | 5% | 586.95 | LF | 0.02181 | 12.8014 | 60 | 768.0828 | 0.8973 | 526.6702 | 1294.753 |  | 2.7594 | 1619.6144
171 |  |  | DIV-26 | Electrician | 3#12 CU THWN | 522 | 5% | 548.1 | LF | 0.02181 | 11.9541 | 60 | 717.2437 | 0.654 | 358.4574 | 1075.7011 |  | 2.4434 | 1339.2015
172 |  |  | DIV-26 | Electrician | 3#8 CU THWN | 710 | 5% | 745.5 | LF | 0.03 | 22.365 | 60 | 1341.9 | 2.2689 | 1691.465 | 3033.365 |  | 5.1395 | 3831.4704
173 |  |  | DIV-26 | Electrician | 4#12 CU THWN | 163 | 5% | 171.15 | LF | 0.02908 | 4.977 | 60 | 298.6225 | 0.872 | 149.2428 | 447.8653 |  | 3.2578 | 557.573
174 |  |  | DIV-26 | Electrician | 1-1/2" PVC Conduit | 195.13 | 5% | 204.8865 | LF | 0.04 | 8.1955 | 60 | 491.7276 | 1.8 | 368.7957 | 860.5233 |  | 5.2612 | 1077.9513
175 |  |  | DIV-26 | Electrician | 3/4" PVC Conduit | 680 | 5% | 714 | LF | 0.025 | 17.85 | 60 | 1071 | 0.92 | 656.88 | 1727.88 |  | 3.022 | 2157.6965
176 |  |  | DIV-26 | Electrician | 1" PVC Conduit, With Pull Strings | 33.13 | 5% | 34.7865 | LF | 0.03 | 1.0436 | 60 | 62.6157 | 1.25 | 43.4831 | 106.0988 |  | 3.816 | 132.746
177 |  |  | DIV-26 | Electrician | 1-1/2" RGS Conduit | 15.3 | 5% | 16.065 | LF | 0.145 | 2.3294 | 60 | 139.7655 | 10.3 | 165.4695 | 305.235 |  | 23.9752 | 385.162
178 |  |  | DIV-26 | Electrician | 3/4" RGS Conduit | 548 | 5% | 575.4 | LF | 0.1 | 57.54 | 60 | 3452.4 | 4.02 | 2313.108 | 5765.508 |  | 12.5296 | 7209.5088
179 |  |  | DIV-26 | Electrician | 1" RGS Conduit, With Pull Strings | 10.15 | 5% | 10.6575 | LF | 0.123 | 1.3109 | 60 | 78.6524 | 6.15 | 65.5436 | 144.196 |  | 16.977 | 180.9329
180 |  |  | DIV-26 | Electrician | 3/4" Emt Conduit | 15.07 | 5% | 15.8235 | LF | 0.062 | 0.98106 | 60 | 58.8634 | 1.7 | 26.9 | 85.7634 |  | 6.7391 | 106.6359
181 |  |  |  |  | 3/4" Conn Ss Stl - Emt | 2 | 0% | 2 | EA
182 |  |  |  |  | 3/4" Coupling Ss Stl - Emt | 2 | 0% | 2 | EA
183 |  |  |  |  | 3/4" 1-H Strap - Emt - Steel | 3 | 0% | 3 | EA
184 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 4 | 0% | 4 | EA
185 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 4 | 0% | 4 | EA
186 |  |  | DIV-26 | Electrician | 1-1/2" Emt Conduit | 499.5 | 5% | 524.475 | LF | 0.089 | 46.6783 | 60 | 2800.6965 | 5.9 | 3094.4025 | 5895.099 |  | 14.1676 | 7430.5538
187 |  |  |  |  | 1-1/2" Conn Ss Stl - Emt | 40 | 0% | 40 | EA
188 |  |  |  |  | 1-1/2" Coupling Ss Stl - Emt | 50 | 0% | 50 | EA
189 |  |  |  |  | 1-1/2" 1-H Strap - Emt - Steel | 75 | 0% | 75 | EA
190 |  |  |  |  | #8 To #10 X 7/8 Plas Anchor (3/16) | 100 | 0% | 100 | EA
191 |  |  |  |  | #10 X 1 P/H Self-Tap Screw | 100 | 0% | 100 | EA
Site Feeder Wiring & Conduits
192 |  |  | DIV-26 | Electrician | 3#1, #6, #2, #2 CU THWN | 5.19 | 5% | 5.4495 | LF | 0.35 | 1.9073 | 60 | 114.4395 | 18 | 98.091 | 212.5305 |  | 48.9581 | 266.7973
193 |  |  | DIV-26 | Electrician | 3#4, #8, #4, #2 CU THWN | 10 | 5% | 10.5 | LF | 0.28 | 2.94 | 60 | 176.4 | 15 | 157.5 | 333.9 |  | 39.9458 | 419.4312
194 |  |  | DIV-26 | Electrician | 3#4, #8, #4, #2 CU THWN , 1-1/2" PVC Conduit | 57.86 | 5% | 60.753 | LF | 0.42 | 25.5163 | 60 | 1530.9756 | 22 | 1336.566 | 2867.5416 |  | 59.2693 | 3600.7878
195 |  |  | DIV-26 | Electrician | 3#8 CU THWN | 90 | 5% | 94.5 | LF | 0.18 | 17.01 | 60 | 1020.6 | 8.5 | 803.25 | 1823.85 |  | 24.195 | 2286.4286
196 |  |  | DIV-26 | Electrician | 4#250, #1/0, #4/0, #3/0 AL THWN | 140 | 5% | 147 | LF | 0.55 | 80.85 | 60 | 4851 | 45 | 6615 | 11466 |  | 98.6443 | 14500.7117
197 |  |  | DIV-26 | Electrician | 4#250, #4, #1/0, #2 AL THWN | 421 | 5% | 442.05 | LF | 0.5 | 221.025 | 60 | 13261.5 | 38 | 16797.9 | 30059.4 |  | 85.898 | 37971.2237
198 |  |  | DIV-26 | Electrician | 4#500, #3/0, #300, #3/0 AL THWN | 157 | 5% | 164.85 | LF | 0.68 | 112.098 | 60 | 6725.88 | 72 | 11869.2 | 18595.08 |  | 143.2149 | 23608.9723
199 |  |  | DIV-26 | Electrician | 4#750, #800, #750, #750 AL THWN | 810 | 5% | 850.5 | LF | 0.8 | 680.4 | 60 | 40824 | 95 | 80797.5 | 121621.5 |  | 181.8591 | 154671.1412
200 |  |  | DIV-26 | Electrician | 1-1/2" PVC Conduit | 128 | 5% | 134.4 | LF | 0.04 | 5.376 | 60 | 322.56 | 1.8 | 241.92 | 564.48 |  | 5.2612 | 707.1069
201 |  |  | DIV-26 | Electrician | 1" PVC Conduit, With Pull String | 34.73 | 5% | 36.4665 | LF | 0.03 | 1.094 | 60 | 65.6397 | 1.25 | 45.5831 | 111.2228 |  | 3.816 | 139.1569
202 |  |  | DIV-26 | Electrician | 4" PVC Conduit | 616 | 5% | 646.8 | LF | 0.07 | 45.276 | 60 | 2716.56 | 5.5 | 3557.4 | 6273.96 |  | 12.2595 | 7929.4609
203 |  |  | DIV-26 | Electrician | 3" PVC Conduit | 296 | 5% | 310.8 | LF | 0.055 | 17.094 | 60 | 1025.64 | 4.73 | 1470.084 | 2495.724 |  | 10.1632 | 3158.715
204 |  |  | DIV-26 | Electrician | 2-1/2" PVC Conduit | 161 | 5% | 169.05 | LF | 0.05 | 8.4525 | 60 | 507.15 | 2.94 | 497.007 | 1004.157 |  | 7.4728 | 1263.2689
205 |  |  | DIV-26 | Electrician | 1-1/2" RGS Conduit | 35 | 5% | 36.75 | LF | 0.145 | 5.3287 | 60 | 319.725 | 10.3 | 378.525 | 698.25 |  | 23.9752 | 881.0895
206 |  |  | DIV-26 | Electrician | 2-1/2" RGS Conduit | 30 | 5% | 31.5 | LF | 0.32 | 10.08 | 60 | 604.8 | 28 | 882 | 1486.8 |  | 59.7547 | 1882.2722
207 |  |  | DIV-26 | Electrician | 3" RGS Conduit | 30 | 5% | 31.5 | LF | 0.32 | 10.08 | 60 | 604.8 | 28.5 | 897.75 | 1502.55 |  | 60.4041 | 1902.7298
208 |  |  | DIV-26 | Electrician | 4" RGS Conduit | 351 | 5% | 368.55 | LF | 0.4 | 147.42 | 60 | 8845.2 | 39 | 14373.45 | 23218.65 |  | 79.8889 | 29443.0631
209 |  |  | DIV-27 | Electrician | 1" RGS Conduit, With Pull String | 10.03 | 5% | 10.5315 | LF | 0.123 | 1.2954 | 60 | 77.7225 | 6.15 | 64.7687 | 142.4912 |  | 16.977 | 178.7938
Site EV Charging Wiring & Conduits
210 |  |  | DIV-26 | Electrician | AC2: 4#12 CU THWN, 1" PVC Conduit, 600V Cabling DC: (4SETS) 2#500, #500 (G), 4" PVC Conduit AMW 3650 1.5KV CM1: Owner Furnished Contractor Intalled Cable In 1" PVC Conduit | 2007.75 | 5% | 2108.1375 | LF | 0.22078 | 465.4346 | 60 | 27926.0758 | 26.6 | 56076.4575 | 84002.5333 |  | 50.6852 | 106851.4187
211 |  |  | DIV-26 | Electrician | AC2: 4#12 CU THWN, 1" RGS Conduit, 600V Cabling DC: (4SETS) 2#500, #500 (G), 4" RGS Conduit AMW 3650 1.5KV CM1: Owner Furnished Contractor Intalled Cable In 1" RGS Conduit | 225.07 | 5% | 236.3235 | LF | 0.26145 | 61.7868 | 60 | 3707.2067 | 31.5 | 7444.1902 | 11151.397 |  | 60.022 | 14184.603
212 |  |  | DIV-26 | Electrician | 3#500,#1/0. #4/0, 3/0 CU THWN | 3044 | 5% | 3196.2 | LF | 0.3735 | 1193.7807 | 60 | 71626.842 | 45 | 143829 | 215455.842 |  | 85.7457 | 274060.3344
213 |  |  | DIV-26 | Electrician | 4" PVC Conduit | 2579.72 | 5% | 2708.706 | LF | 0.07 | 189.6094 | 60 | 11376.5652 | 5.5 | 14897.883 | 26274.4482 |  | 12.2595 | 33207.4496
214 |  |  | DIV-26 | Electrician | 4" PVC Conduit, With Pull Strings | 776.86 | 5% | 815.703 | LF | 0.07 | 57.0992 | 60 | 3425.9526 | 5.5 | 4486.3665 | 7912.3191 |  | 12.2595 | 10000.1315
215 |  |  | DIV-26 | Electrician | 4" RGS Conduit | 464 | 5% | 487.2 | LF | 0.4 | 194.88 | 60 | 11692.8 | 39 | 19000.8 | 30693.6 |  | 79.8889 | 38921.884
Site Primary Conduits
216 |  |  | DIV-26 | Electrician | 4" PVC SCH. 80 Conduit, With Pull String | 512.16 | 5% | 537.768 | LF | 0.07 | 37.6438 | 60 | 2258.6256 | 5.5 | 2957.724 | 5216.3496 |  | 12.2595 | 6592.7804
217 |  |  | DIV-26 | Electrician | 4" RGS Conduit, With Pull String | 80 | 5% | 84 | LF | 0.4 | 33.6 | 60 | 2016 | 39 | 3276 | 5292 |  | 79.8889 | 6710.6697
|  |  | DIV-27 |  | Communications | [11 empty] | 130011.72
Data Cord Reel Outlets
218 |  |  | DIV-27 | Communication | Data Outlet With Single Gang Faceplate | 8 | 0% | 8 | EA | 0.212 | 1.696 | 60 | 101.76 | 24.5 | 196 | 297.76 |  | 47.3159 | 378.5272
219 |  |  | DIV-27 | Communication | Data Access Point | 10 | 0% | 10 | EA | 3 | 30 | 60 | 1800 | 315 | 3150 | 4950 |  | 628.3921 | 6283.9208
220 |  |  | DIV-27 | Communication | TWI Data Access Point | 5 | 0% | 5 | EA | 3.25 | 16.25 | 60 | 975 | 350 | 1750 | 2725 |  | 692.1234 | 3460.6171
221 |  |  | DIV-27 | Communication | WP Data Access Point | 15 | 0% | 15 | EA | 3.45 | 51.75 | 60 | 3105 | 406 | 6090 | 9195 |  | 779.4776 | 11692.1636
Misc.
222 |  |  | DIV-27 | Communication | Junction Box | 13 | 0% | 13 | EA | 0.35 | 4.55 | 60 | 273 | 40 | 520 | 793 |  | 77.5338 | 1007.9397
Low Voltage Conduit
223 |  |  | DIV-26 | Communication | 1" PVC Conduit, With Pull Strings | 16704 | 5% | 17539.2 | LF | 0.03 | 526.176 | 60 | 31570.56 | 1.25 | 21924 | 53494.56 |  | 3.816 | 66929.927
224 |  |  | DIV-27 | Communication | 4" PVC Conduit, With Pull Strings | 3181 | 5% | 3340.05 | LF | 0.07 | 233.8035 | 60 | 14028.21 | 5.5 | 18370.275 | 32398.485 |  | 12.2595 | 40947.4273
225 |  |  | DIV-27 | Communication | 1" RGS Conduit, With Pull Strings | 910 | 5% | 955.5 | LF | 0.123 | 117.5265 | 60 | 7051.59 | 6.15 | 5876.325 | 12927.915 |  | 16.977 | 16221.5687
226 |  |  | DIV-27 | Communication | 4" RGS Conduit, With Pull Strings | 200 | 5% | 210 | LF | 0.4 | 84 | 60 | 5040 | 39 | 8190 | 13230 |  | 79.8889 | 16776.6741
|  |  | DIV-28 |  | Electronic Safety And Security | [11 empty] | 13661.2462
Misc.
227 |  |  | DIV-28 | Electronic Safety and Security (FA) | Provided Knox Box For ONCOR | 1 | 0% | 1 | EA | 3.4 | 3.4 | 60 | 204 | 450 | 450 | 654 |  | 832.975 | 832.975
Security System
228 |  |  | DIV-28 | Electronic Safety and Security (FA) | Security Camera | 11 | 0% | 11 | EA | 3.3 | 36.3 | 60 | 2178 | 350 | 3850 | 6028 |  | 695.7774 | 7653.5517
229 |  |  | DIV-28 | Electronic Safety and Security (FA) | Security Camera- TWI | 8 | 0% | 8 | EA | 3.4 | 27.2 | 60 | 1632 | 450 | 3600 | 5232 |  | 832.975 | 6663.7998
230 |  |  | DIV-28 | Electronic Safety and Security (FA) | Card Reader | 3 | 0% | 3 | EA | 2.25 | 6.75 | 60 | 405 | 250 | 750 | 1155 |  | 489.1539 | 1467.4616
Seurity System Conduit
231 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1-1/2" PVC Conduit, With Pull Strings | 43.82 | 5% | 46.011 | LF | 0.04 | 1.8404 | 60 | 110.4264 | 1.8 | 82.8198 | 193.2462 |  | 5.2612 | 242.0736
232 |  |  | DIV-28 | Electronic Safety and Security (FA) | 1-1/2" RGS Conduit, With Pull Strings | 20 | 5% | 21 | LF | 0.145 | 3.045 | 60 | 182.7 | 10.3 | 216.3 | 399 |  | 23.9752 | 503.4797
|  |  | DIV-31 |  | Earthwork | [11 empty] | 42102.9
Excavation
233 |  |  | DIV-31 | Earth worker | Excavation For Below Grade Conduit | 1040 | 5% | 1092 | CY | 0.385 | 420.42 | 60 | 25225.2 | 0 | 0 | 25225.2 |  | 28.1358 | 30724.2936
Native Backfill
234 |  |  | DIV-31 | Earth worker | Backfill For Below Grade Conduit | 940 | 5% | 987 | CY | 0.285 | 281.295 | 60 | 16877.7 | 0 | 0 | 16877.7 |  | 20.8278 | 20557.0386
SUB TOTAL | [9 empty] | Total Lab. Hours = | 10425.657 | Total Lab. Cost = | 625117.2415 | Total Mat. Cost = | 690140.5655 | 1315257.807 | 1315257.807 |  | 1657813.275
MATERIAL TAX | [11 empty] | 7.97% |  |  | 55004.2031 | 55004.2031 | 55004.2031
OVERHEAD & PROFIT / INFLATION (Material) | [11 empty] | 20% |  |  | 138028.1131 | 138028.1131 | 138028.1131
OVERHEAD & PROFIT (Labor) | [11 empty] | 20% | 125023.4483 |  |  | 125023.4483 | 125023.4483
BOND FEE | [11 empty] | 1.5% | 11252.1103 |  | 13247.5932 | 24499.7036 | 24499.7036
TOTAL BASE BID | [12 empty] | 761392.8002 |  | 896420.4748 | 1657813.275 | 1657813.275 |  | 1657813.275

## Dashboard
Project Dashboard
Contentration of Sub-Contractor Cost
DALLAS EV CHARGING
18/02/2026
$1,657,813
Private (Non-Prevailing wage)
1137 MEDICAL DISTRICT DR, DALLAS, TX 75207
ELECTRICAL
Project Name
Date
Base Bid
Project Type
Address
Scope of Work
$690,141
Material
$625,117
Labor
$55,004
Material Tax
$138,028
Material Profit
$125,023
Labor Profit
$24,500
Bond Fee
Base Bid
$1,657,813
By Others
Separate Permit

## Data for Dashboard (hidden)
Pie Chart:
| Type | Amount
| Material | 690140.5655 | 41.63%
| Labor | 625117.2415 | 37.71% | Type | Percentage
| Material Tax | 55004.2031 | 3.318% | Material Tax | 7.97%
| Overhead & Profit (Material) | 138028.1131 | 8.326% | Overhead & Profit (Material) | 20%
| Overhead & Profit (Labor) | 125023.4483 | 7.541% | Overhead & Profit (Labor) | 20%
| Bond Fee | 24499.7036 | 1.478% | Bond Fee | 1.5%
|  | 1657813.275 |  | OH & P on subnotes | 5%

## COST SUMMARY
COST SUMMARY
|  | Date: | 4607100% |  |  |  |  | Project Type: | Private (Non-Prevailing wage)
|  | Project: | DALLAS EV CHARGING |  |  |  |  | Scope of Work: | ELECTRICAL
|  | Project Location: | 1137 MEDICAL DISTRICT DR, DALLAS, TX 75207 |  |  |  |  | Total Base Bid: | 1657813.275
| BASE BID /ALTERNATES/ALLOWANCES |  | TOTAL COSTS |  |  |  | Please enter the sub-quotes in column R (Highlighted orange) against each division/trade and update the Overhead & Profit % as required below; column K will be updated automatically with Subquotes with OH&P. If there is no value entered in column R, the cost from column J (by DE) will be picked.
| Base Bid |  | 1657813.275
| Hourly Rates Tab | [5 empty] | OH&P on Subquotes |  | 5%
Note: Click on any of the above text to go to the relevant Tab
For Client's Use Only
| CSI Summary for Base Bid | [5 empty] | Comparison with Sub-Quotes |  |  | Enter the numbers manually
Enter Subquotes below
| Div. No. | CSI Division | Labor Cost | Material Cost | Total Cost | % of sub-total cost | Division Cost with OH&P & Material Tax | Sub-Quotes w/ OH&P | Difference | Finalized Bid amount by GC | Remarks
| DIV-01 | General Requirements | 108211.4035 | 0 | 108211.4035 | 8.227% | 131801.4895 | 0 | 131801.4895 |  |  | 0
| DIV-02 | Demo - Building | 1857.82 | 0 | 1857.82 | 0.1413% | 2262.8248 | 0 | 2262.8248
| DIV-26 | Electrical | 435780.7091 | 636984.0769 | 1072764.786 | 81.56% | 1358156.6548 | 0 | 1358156.6548 |  |  | 0
| DIV-27 | Communications | 32452.2825 | 44207.3687 | 76659.6512 | 5.828% | 96947.6324 | 0 | 96947.6324 |  |  | 0
| DIV-28 | Electronic Safety & Security | 4712.1264 | 8949.1198 | 13661.2462 | 1.039% | 17363.3414 | 0 | 17363.3414 |  |  | 0
| DIV-31 | Earthwork | 42102.9 | 0 | 42102.9 | 3.201% | 51281.3322 | 0 | 51281.3322 |  |  | 0
|  | SUB TOTAL | 625117.2415 | 690140.5655 | 1315257.807 | 100% | 1657813.275 | 0 | 1657813.275 | 0 |  | 0
|  | MATERIAL TAX | 0 | 55004.2031 | 55004.2031 | 7.97%
|  | OVERHEAD & PROFIT / INFLATION (Material) | 0 | 138028.1131 | 138028.1131 | 20%
|  | OVERHEAD & PROFIT (Labor) | 125023.4483 | 0 | 125023.4483 | 20%
|  | Bond Fee |  |  | 24499.7036 | 1.5%
|  | TOTAL BASE BID |  |  | 1657813.275
For Client's Use Only
| Sub-Contractor/Trade Summary for Base Bid | [5 empty] | Comparison with Sub-Quotes |  |  | Enter the numbers manually
Enter Subquotes below
| Sub Contractor |  | Labor Cost | Material Cost | Total Cost | % of sub-total cost | Sub Contractor Cost with OH&P & Material Tax | Sub-Quotes w/ OH&P | Difference | Finalized Bid amount by GC | Remarks
| General Requirements |  | 108211.4035 | 0 | 108211.4035 | 8.227% | 131801.4895 | 0 | 131801.4895 |  |  | 0
| Demo - Building |  | 1857.82 | 0 | 1857.82 | 0.1413% | 2262.8248 | 0 | 2262.8248
| Communication |  | 63945.12 | 66066.6 | 130011.72 | 9.885% | 163698.7656 | 0 | 163698.7656 |  |  | 0
| Earth worker |  | 42102.9 | 0 | 42102.9 | 3.201% | 51281.3322 | 0 | 51281.3322 |  |  | 0
| Electrician |  | 404287.8716 | 615124.8457 | 1019412.7172 | 77.51% | 1291405.5215 | 0 | 1291405.5215 |  |  | 0
| Electronic Safety and Security (FA) |  | 4712.1264 | 8949.1198 | 13661.2462 | 1.039% | 17363.3414 | 0 | 17363.3414 |  |  | 0
| SUB TOTAL |  | 625117.2415 | 690140.5655 | 1315257.807 | 100% | 1657813.275 | 0 | 1657813.275 | 0 |  | 0
| MATERIAL TAX |  | 0 | 55004.2031 | 55004.2031 | 7.97%
| OVERHEAD & PROFIT / INFLATION (Material) |  | 0 | 138028.1131 | 138028.1131 | 20%
| OVERHEAD & PROFIT (Labor) |  | 125023.4483 | 0 | 125023.4483 | 20%
| Bond Fee |  |  |  | 24499.7036 | 1.5%
| TOTAL BASE BID |  |  |  | 1657813.275

## HOURLY RATES
Note: Adjusting the per hour labor rate in the table below will automatically update the labor pricing for whole project. To bypass the per hour labor rate for a single item, please put the per hour labor rate against that item in column M of relative tab.
Please don’t edit anything below, without the approval of the Manager (Estimating Department)
CSI Div. | Sub-Contractor/Trade List | Hourly Rates
DIV-1 | General Requirements | 60 | CLICK HERE TO GO BACK TO COST SUMMARY
DIV-10 | Accessories | 60
DIV-09 | Acoustical and Metal Ceiling | 60
DIV-11 | Appliances | 60
DIV-02 | Asbestos Worker | 60
DIV-10 | Awnings / Canopies | 60
DIV-12 | Cabinetry | 60
DIV-06 | Carpenter Millwork | 60
DIV-09 | Ceiling - Others | 60
DIV-07 | Cladding - Metal | 60
DIV-06 | Cladding - Wood | 60
DIV-06 | Cladding - Other | 60
DIV-09 | Clean - Power Wash | 60
DIV-31 | Clearing & Grubbing | 60
DIV-27 | Communication | 60
DIV-03 | Concrete - Building | 60
DIV-12 | Countertops | 60
DIV-08 | Curtain Wall | 60
DIV-02 | Demo - Building | 60
DIV-02 | Demo - Site | 60
DIV-31 | Dewatering | 60
DIV-08 | Doors & Hardware | 60
DIV-09 | Dry Waller | 60
DIV-31 | Earth worker | 60
DIV-26 | Electrician | 60
Div-28 | Electronic Safety and Security (FA) | 60
DIV-14 | Elevator | 60
DIV-11 | Equipment | 60
DIV-31 | Erosion Control | 60
DIV-32 | Exterior improvements | 60
DIV-09 | Exterior Painter | 60
DIV-10 | Exterior Signage | 60
DIV-32 | Fencing and Gates - Metal | 60
DIV-32 | Fencing and Gates - Wood | 60
DIV-32 | Fencing and Gates - Other | 60
DIV-06 | Finish Carpenter | 60
DIV-09 | Fire Proofing | 60
DIV-21 | Fire Suppression | 60
DIV-10 | Fireplace | 60
DIV-09 | Flooring | 60
DIV-10 | Folding/Moveable Partition | 60
DIV-05 | Framer Cold Form | 60
DIV-09 | Framer Light Gauge | 60
DIV-06 | Framer Lumber | 60
DIV-06 | Framer Rough Carpenter | 60
DIV-12 | Furniture | 60
DIV-08 | Glazier | 60
DIV-02 | Hazardous Material Handler | 60
DIV-07 | Insulation | 60
DIV-09 | Interior Painter | 60
DIV-10 | Interior Signage | 60
DIV-32 | Irrigation | 60
DIV-07 | Joint Sealants | 60
DIV-32 | Landscaper | 60
DIV-12 | Mailboxes | 60
DIV-04 | Mason - Brick Veneer | 60
DIV-04 | Mason - Cast Stone | 60
DIV-04 | Mason - CMU | 60
DIV-23 | Mechanical | 60
DIV-06 | Millwork | 60
DIV-05 | Ornamental Steel | 60
DIV-05 | Paneling - Metal | 60
DIV-06 | Paneling - Wood | 60
DIV-06 | Paneling - Other | 60
DIV-32 | Paving | 60
DIV-06 | Pergolas | 60
DIV-31 | Piling | 60
DIV-11 | Playground Equipment | 60
DIV-22 | Plumber | 60
DIV-13 | Pool | 60
DIV-03 | Precast Concrete | 60
DIV-13 | Pre-Engineered Metal Building | 60
DIV-06 | Roof Sheathing | 60
DIV-07 | Roofer | 60
DIV-06 | Sheathing | 60
DIV-31 | Shoring/SOE | 60
DIV-07 | Siding Contractor | 60
DIV-03 | Site Concrete | 60
DIV-26 | Site Electrical | 60
DIV-12 | Site Furnishing | 60
DIV-09 | Site Paint | 60
DIV-10 | Site Signage | 60
DIV-08 | Skylight | 60
DIV-13 | Special Construction | 60
DIV-05 | Staircases and Railings - Metal | 60
DIV-06 | Staircases and Railings - Wood | 60
DIV-08 | Storefront | 60
DIV-05 | Structural Steel | 60
DIV-07 | Stucco - EIFS | 60
DIV-09 | Tiler | 60
DIV-10 | Toilet Partitions | 60
DIV-34 | Traffic Control | 60
DIV-06 | Trellis | 60
DIV-06 | Truss | 60
DIV-33 | Utilities | 60
DIV-09 | Wall Covering | 60
DIV-07 | Water Proofing & Damp Proofing | 60
DIV-08 | Window Installer | 60
DIV-10 | Wire Shelving | 60
DIV-00 | Z
DIV-01 | Z
Unit | Wastage
EA | 0%
LF | 5%
SF | 5%
SY | 5%
LBS | 5%
TONS | 5%
CY | 5%
LS | 0%

## Data for Rough Cost (hidden)
Categories | Commercial | Residential | Type | Code | Default1 | Default2 | Default3 | Default4 | Default5 | Default6 | Default7 | Default8 | Default9 | Default10 | Default11 | Default12 | Default13 | Default14 | Default15 | Default16 | Default17 | Default18 | Default19 | Default20 | Default21 | Default22 | Default23 | Default24 | Default25 | Default26 | Default27 | Default28 | Default29 | Default30 | Default31 | Default32 | Default33 | Default34 | Default35 | Default36 | Default37 | Default38 | Default39 | Default40 | Default41 | Default42 | Default43 | Default44 | Default45 | Default46 | Default47 | Default48 | Default49 | Default50 | Default51 | Default52 | Default53 | Default54 | Default55 | Default56 | Default57 | Default58 | Default59 | Default60 | Default61 | Default62 | Default63 | Default64 | Default65 | Default66 | Default67 | Default68 | Default69 | Default70 | Default71 | Default72 | Default73 | Default74 | Default75 | Default76 | Default77 | Default78 | Default79 | Default80 | Default81 | Default82 | Default83 | Default84 | Default85 | Default86 | Default87 | Default88 | Default89 | Default90 | Default91 | Default92 | Default93 | Default94 | Default95 | Default96 | Default97 | Default98 | Default99 | Default100 | Default101 | Economy1 | Economy2 | Economy3 | Economy4 | Economy5 | Economy6 | Economy7 | Economy8 | Average1 | Average2 | Average3 | Average4 | Average5 | Average6 | Average7 | Average8 | Average9 | Average10 | Average11 | Average12 | Custom1 | Custom2 | Custom3 | Custom4 | Custom5 | Custom6 | Custom7 | Custom8 | Custom9 | Custom10 | Luxury1 | Luxury2 | Luxury3 | Luxury4 | Luxury5 | Luxury6 | Luxury7 | Luxury8 | Luxury9 | Luxury10
Commercial | Default | Economy | Apartment 1-3 Story | Default1 | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer & Concrete Block / Bearing Walls | Concrete Block/Bearing Walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Concrete Block/Steel Roof Deck | Decorative Concrete Block/Bearing walls | Concrete Block/Bearing Walls | Decorative Concrete Block/Steel Truss | Brick Veneer/Wood Frame | Decorative Concrete Block/Steel Joist | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/ Rigid Steel | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/ Reinforeced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/wood Frame | Concrete Block/Bearing Wall | Face Brick & Common Brick/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Precast Concrete | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | E.I.F.S. & Concrete Block/Rigid Steel | Cast in Place Concrete/Reinforced Concrete | Cast in Place Concrete/Steel Joists | Aluminum Clapboard/Wood Frame | Cast in Place Concrete/Reinforced Concrete | Cast in Place Concrete/Reinforced Concrete | Concrete Block/Bearing Walls | Brick Veneer/Wood Frame | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Cast in Place Concrete/Rigid Steel | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Frame | Aluminum Clapboard/Wood Frame | Aluminum Clapboard/Wood Frame | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Conrete Block/Steel Joists | Face Brick & Concrete Block/Bearing walls | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Curtain Wall/Reinforced Conrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Wood Frame | Brick Veneer/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Rigid Steel | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Aluminum Clapboard/Wood Truss | Decorative Concrete Block/Bearing walls | Brick Veneer/Rigid Steel | Face Brick & Concrete Block/Steel Joists | Brick Veneer/Wood Frame | E.I.F.S./Reinforced Concrete | Fiber Cement/Rigid Steel | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Decorative Concrete Block/Bearing walls | Face Brick/Wood Frame | Decorative Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Brick Veneer/Reinforced Concrete | Face Brick & Concrete Block/Bearing Walls | Concrete Block/Precast Concrete | Decorative Concrete Block/Bearing walls | Brick Veneer/Wood Frame | Face Brick & Concrete Block/Reinforced Concrete | Brick Veneer/Wood Truss | Brick Veneer/Reinforced Concrete | Concrete Block/Bearing Walls | Concrete Block/Reinforced Concrete | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | 6" Log - Solid Wall | 6" Log - Solid Wall | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame | Brick Veneer - Wood Frame
Residential |  | Average | Apartment 4-7 Story | Default2 | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer & Concrete Block / Wood Truss | Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Steel Roof Deck | Decorative Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Decorative Concrete Block/Wood Arch | Stone Ashlar & Cocnrete block/Steel Joist | Decorative Concrete Block/Wood Joist | Brick Veneer/Rigid Steel | Brick Veneer/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Brick Veneer/Rigid Steel | Brick Veneer/ Reinforced Concrete | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Curtain Wall/Rigid steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Decorative Concrete Block/Bearing walls | Concrete Block/Rigid Steel | Face Brick & Common Brick/Rigid Steel | Decorative Concrete Block/Steel Joist | Decorative Concrete Block/Steel Joist | Decorative Concrete Block/Steel Joists | Decorative Concrete Block/Steel Joists | Decorative Concrete Block/Wood Joists | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Face Brick & Concrete Block/Bearing walls | Cast in Place Concrete/Rigid Steel | Cast in Place Concrete/Wood Joists | Face Brick & Concrete Block/Steel Joists | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Curtain Wall/Rigid steel | Face Brick & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Steel Joists | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Steel Joists | Brick Veneer/Wood Frame | Brick Veneer/Wood Frame | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Precast Concrete | Decorative Concrete Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | E.I.F.S. & Metal Studs/Steel Roof Deck | Curtain Wall/Rigid Steel | Curtain Wall/Rigid Steel | E.I.F.S./Rigid Steel | Curtain Wall/Reinforced Conrete | Curtain Wall/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Brick Veneer/Wood Truss | Decorative Concrete Block/Reinforced Concrete | Decorative Concrete Block/Reinforced Concrete | Metal Panel & Wood Studs/Wood Truss | Decorative Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Joists |  |  | Stone Veneer/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Decorative Concrete Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | E.I.F.S. & Metal Studs/Steel Joists | Curtain Wall/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Concrete Block/Wood Frame | Decorative Concrete Block/Rigid Steel | E.I.F.S./Wood Frame | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Steel Joists | E.I.F.S./Rigid Steel | Concrete Block/Rigid Steel | Concrete Block/Rigid Steel | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Painted Concrete Block | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | 8" Log - Solid Wall | 8" Log - Solid Wall | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Masonry | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick | Solid Brick
|  | Custom | Apartment 8-24 Story | Default3 | E.I.F.S. & Metal studs/Rigid Steel | Cuttain Wall/Rigid Steel | Cuttain Wall/Rigid Steel | Brick Veneer / Rigid Steel | Decorative Concrete Block/Bearing Walls | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Steel Roof Deck | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Steel Truss | Stone Ashlar & Cocnrete block/Wood Truss | Face Brick & Concrete Block/Steel Joist | Cutain Wall/Rigid Steel | Cutain Wall/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Curtain Wall/Rigid Steel | Curtain wall/ Rigid Steel | Face Brick & Concrete Block/Bearing walls | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Bearing walls | E.I.F.S./Rigid Steel | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Steel Joist | Face Brick & Common Brick/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Bearing walls | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Precast Concrete | Concrete Block/Steel Joists | Face Brick & Concrete Block/Wood Truss | Concrete Block/Wood Arch | Concrete Block/Wood Arch | Metal Panel/Rigid Steel | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | E.I.F.S./Reinforced Concrete | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Wood Joists | Conrete Block/Wood Truss | Face Brick & Concrete Block/Wood Truss | Decorative Concrete Block/Wood Joists | Decorative Concrete Block/Wood Joists | Face Brick & Concrete Block/Steel Joists | Precast Concrete/Bearing walls | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Steel Roof Deck | E.I.F.S./Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Curtain Wall/Rigid Steel | E.I.F.S./Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Decorative Concrete Block/Bearing walls | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Plywood Siding/Wood Truss | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Limestone & Concrete Block/Steel Joists |  |  | Stucco/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Bearing Walls | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Fiber Cement/Rigid Steel | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Bearing Walls | Precast Concrete/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Metal Studs/Reinforced Concrete | Fiber Cement/Wood Frame | E.I.F.S./Rigid Steel | Metal Sandwich Panel/Rigid Steel | Face Brick & Concrete Block/Precast Concrete | Face Brick & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Steel Joists | Limestone & Concrete Block/Reinforced Concrete | E.I.F.S./Wood Truss | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Bearing walls | Metal Sandwich Panel/Rigid Steel | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame | Stucco on Wood Frame |  |  | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Stone Veneer - Wood Frame | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone | Solid Stone
|  | Luxury | Assisted - Senior Living | Default4 | Fiber Cement/Wood Frame | E.I.F.S. & Metal studs/Rigid Steel | E.I.F.S./Rigid Steel | Brick Veneer / Wood Frame | Face Brick & Concrete Block/Bearing Walls | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Jumbo Brick & Concrete Block/Steel Roof Deck | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Wood Arch | Stucco & Cocnrete Block/Steel Joist | Face Brick & Concrete Block/Wood Joist | Fiber Cement/Wood Frame | Fiber Cement/Wood Frame | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | E.I.F.S./Rigid Steel | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Fiber Cement/ Rigid Steel | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Stucco & Concrete Block/Wood Truss | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Face Brick & Concrete Block/Steel Joists | Stucco & Concrete Block/Bearing walls | Limestone & Concrete Block/Wood Truss | Limestone & Concrete Block/Wood Truss | Stucco & Concrete Block/Bearing walls | Face Brick & Concrete Block/Rigid Steel | Concrete Block/Wood Joists | Face Brick & Glazed Block/Steel Joists | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Fiber Cement/Wood Frame | Fiber Cement/Rigid Steel | Fiber Cement/Rigid Steel | Fiber Cement/Rigid Steel | Reinforced Concrete/Reinforced Concrete | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Limestone & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Steel Joists | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Steel Joists | Face Brick & Concrete Block/Wood Truss | Precast Concrete/Wood Truss | Stucco & Concrete Block/Precast Concrete | Stucco & Concrete Block/Precast Concrete | Metal Sandwich Panel/Steel Joists | Precast Concrete/Rigid Steel | Precast Concrete/Reinforced Concrete | Face Brick & Concrete Block/Wood Truss | E.I.F.S./Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Face Brick & Concrete Block/Steel Joists | E.I.F.S./Rigid Steel | Limestone & Concrete Block/Rigid Steel | Decorative Concrete Block/Rigid Steel | Face Brick & Concrete Block/Reinforced Concrete | Face Brick & Concrete Block/Reinforced Concrete | Wood Clapboard/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Limestone & Concrete Block/Wood Joists |  |  | Wood Clapboard/Wood Frame | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Metal Panel/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Rigid Steel | Stucco & Concrete Block/Bearing Walls | Face Brick & Concrete Block/Rigid Steel | Face Brick & Metal Studs/Rigid Steel | Stone Veneer/Rigid Steel | Metal Panel/Rigid Steel | Precast Concrete/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Face Brick & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Joists | Limestone & Concrete Block/Rigid Steel | Face Brick & Concrete Block/Wood Truss | Pre-Engineered Metal Building/Rigid Steel | Metal Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame |  |  | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame | Wood Siding - Wood Frame
|  |  | Auditurium | Default5 | Stone Veneer / Wood Frame | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Vinyl Clapboard / Wood Frame | Face Brick & Concrete Block/Rigid Steel | Precast Concrete / Reinforced Concrete | Precast Concrete / Reinforced Concrete | Precast Concrete/Steel Roof Deck | Precast Concrete/Bearing walls | Metal Panel/Rigid Steel | Stone & Concrete Block/Steel Truss | Stucco & Cocnrete Block/Wood Truss | Stone Ashlar & Cocnrete block/Steel Joist | Stone Veneer/Reinforced Concrete | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing walls | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Precast Concrete/Precast Concrete | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Bearing walls | Precast Concrete / Reinforced Concrete | Tilt-up Concrete Panels/Bearing walls | Metal Panel / Reinforced Concrete | Stone & Concrete Block/ Reinforced Concrete | Stone & Concrete Block/ Reinforced Concrete | Tilt-up Concrete Panels/Steel Joists | Precast Concrete/Rigid Steel | Stucco & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Bearing walls | Limestone & Concrete Block/Bearing walls | Limestone & Concrete Block/Precast Concrete | Limestone & Concrete Block/Precast Concrete | Wood Board and Batten/Wood Frame | Stucco & Concrete Block/Wood Truss | Stucco & Concrete Block/Wood Truss | Stucco & Concrete Block/Rigid Steel | Precast Concrete / Precast Concrete | Metal Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Face Brick & Concrete Block/Wood Arch | Face Brick & Concrete Block/Wood Arch | Precast Concrete/Bearing Walls | Metal Panel/Reinforced Concrete | Metal Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stucco & Concrete Block/Reinforced Concrete | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stone Veneer/Wood Frame | Stucco & Concrete Block/Wood Truss | Stone Veneer/Wood Frame | Stucco & Concrete Block/Wood Joists | Wood Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Stucco & Concrete Block/Wood Joists | Stucco & Concrete Block/Wood Joists | Precast Concrete/Steel Joists | Stucco & Concrete Block/Bearing walls | Stone Veneer/Wood Frame | Tilt-up Concrete Panels/Steel Roof Deck | Metal Panel/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stone Veneer/Wood Frame | Face Brick & Concrete Block/Wood Joists | Metal Panel/Reinforced Concrete | Precast Concrete/Reinforced Concrete | E.I.F.S. & Concrete Block/Rigid Steel | Limestone & Concrete Block/Bearing Walls | Limestone & Concrete Block/Bearing Walls |  | Limestone & Concrete Block/Bearing Walls | Metal Panel/Rigid Steel | Stucco & Concrete Block/Steel Joists |  |  |  | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Stone Veneer/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Metal Panel & Metal Studs/Rigid Steel | Metal Panel & Metal Studs/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Reinforced Concrete | Precast Concrete/Reinforced Concrete | Stucco/Reinforced Concrete | Stucco/Reinforced Concrete | Stucco & Concrete Block/Bearing Walls | Metal Sandwich Panel/Wood Truss | Limestone & Concrete Block/Bearing Walls | Stone & Concrete Block/Steel Joists | Stone & Concrete Block/Reinforced Concrete | Tilt-up Concrete Panels/Steel Joists | Precast Concrete/Reinforced Concrete | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Rigid Steel
|  |  | Bank | Default6 | Stucco & Concrete Block/Reinforced concrete | Stucco/Reinforced concrete | Stucco/Reinforced concrete | Wood ClapBoard / Wood Frame | Precast Concrete / Rigid steel | Precast Concrete / Rigid steel | Precast Concrete / Rigid steel | Stucco & Concrete Block/Steel Roof Deck | Precast Concrete/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Stone & Concrete Block/Rigid Wood Arch | Wood Shingles/wood Frame | Stone Ashlar & Cocnrete block/Wood Truss | Stone Veneer/Wood Frame | Stone Veneer/Wood Frame | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Rigid Steel | Precast Concrete/Rigid Steel | Stone Veneer/Wood Frame | Stone Veneer/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Precast Concrete / Rigid steel | Tilt-up Concrete Panels/Rigid Steel | Stone Veneer/ Wood Frame | Stone & Concrete Block/ Rigid steel | Stone & Concrete Block/ Rigid steel | Wood Clapboard/Wood Frame. | Tilt-up Concrete Panels/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Limestone & Concrete Block/Steel Joists | Wood Clapboard/Wood Frame | Wood Board and Batten/Wood Frame | Wood Board and Batten/Wood Frame | Tilt-up Concrete Panels/Rigid Steel | Precast Concrete / Rigid steel | Stucco/Wood Frame | Wood Clapboard/Wood Frame | Metal Sandwich Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Precast Concrete/Rigid Steel | Stone Veneer/Rigid Steel | Stone Veneer/Reinforced Concrete | Stone Veneer/Rigid Steel | Stone Veneer/Rigid Steel | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Bearing Walls | Precast Concrete/Rigid Steel | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Wood Shingles/Wood Frame | Wood Shingles/Wood Frame | Wood Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Tilt-up Concrete Panels/Steel Joists | Stucco & Concrete Block/Steel Joists | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Truss | Stone Veneer/Rigid Steel | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Wood Clapboard/Wood Frame | Stone Veneer/Rigid Steel | Precast Concrete/Rigid Steel | Tilt-up Concrete Panels/Rigid Steel | Limestone & Concrete Block/Reinforced Concrete | Limestone & Concrete Block/Reinforced Concrete |  | Limestone & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Stucco & Concrete Block/Wood Joists |  |  |  | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete | Limestone & Concrete Block/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Metal Sandwich Panel/Rigid Steel | Wood Clapboard/Wood Frame | Precast Concrete/Steel Joists | Precast Concrete/Rigid Steel | Vinyl Clapboard/Wood Frame | Tilt-up Concrete Panels/Reinforced Concrete | Stucco & Concrete Block/Rigid Steel | Precast Concrete/Precast Concrete | Limestone & Concrete Block/Rigid Steel | Stone & Concrete Block/Wood Joists | Stone & Concrete Block/Rigid Steel | Wood Clapboard/Wood Truss | Tilt-up Concrete Panels/Reinforced Concrete | Tilt-up Concrete Panels/Rigid Steel | Tilt-up Concrete Panels/Reinforced Concrete
|  |  | Bank (Green) | Default7
|  |  | Bowling Alley | Default8
|  |  | Bus Terminal | Default9
|  |  | Car Wash | Default10
|  |  | Church | Default11
|  |  | Club, Country | Default12
|  |  | Cub, Social | Default13
|  |  | College, Classroom, 2-3 Story | Default14
|  |  | College, Dormitory, 2-3Story | Default15
|  |  | College, Classroom, 2-3 Story (Green) | Default16
|  |  | College, Dormitory, 2-3Story (Green) | Default17
|  |  | College, Dormitory, 4-8Story (Green) | Default18
|  |  | College, Dormitory, 4-8Story | Default19
|  |  | College, Laboratory | Default20
|  |  | College, Laboratory (Green) | Default21
|  |  | College, Student Union | Default22
|  |  | Community Center | Default23
|  |  | Computer Data Center | Default24
|  |  | Courthouse, 1 story | Default25
|  |  | Courthouse, 2-3story | Default26
|  |  | Day care center | Default27
|  |  | Factory, 1 Story | Default28
|  |  | Factory, 3 Story | Default29
|  |  | Fire Station Story 1 | Default30
|  |  | Fire Station Story 1 (Green) | Default31
|  |  | Fire Station Story 2 | Default32
|  |  | Fire Station Story 2 (Green) | Default33
|  |  | Fraternity/Sorority House | Default34
|  |  | Funeral Home | Default35
|  |  | Funeral Home (Green) | Default36
|  |  | Garage, Auto Sales | Default37
|  |  | Garage, Parking | Default38
|  |  | Garage, Repair | Default39
|  |  | Garage,Service Station | Default40
|  |  | Garage, Underground Parking | Default41
|  |  | Gymnasium | Default42
|  |  | Hangar, Aircraft | Default43
|  |  | Hospital 2-3 Story | Default44
|  |  | Hospital 4-8 Story | Default45
|  |  | Hotel, 4-7 Story | Default46
|  |  | Hotel, 8-24 Story | Default47
|  |  | Jail | Default48
|  |  | Laundromant | Default49
|  |  | Library | Default50
|  |  | Library (Green) | Default51
|  |  | Medical Office, 1 Story | Default52
|  |  | Medical Office, 1 Story (Green) | Default53
|  |  | Medical Office, 2 Story | Default54
|  |  | Medical Office, 2 Story (Green) | Default55
|  |  | Motel, 1 Story | Default56
|  |  | Motel, 1 Story (Green) | Default57
|  |  | Motel, 2-3 Story | Default58
|  |  | Motel, 2-3 Story (Green) | Default59
|  |  | Movie Theater | Default60
|  |  | Nursing Home | Default61
|  |  | Office, 1 Story | Default62
|  |  | Office, 1 Story (Green) | Default63
|  |  | Office, 11-20 Story | Default64
|  |  | Office, 11-20 Story (Green) | Default65
|  |  | Office, 2-4 Story | Default66
|  |  | Office, 2-4 Story (Green) | Default67
|  |  | Office, 5-10 Story | Default68
|  |  | Office, 5-10 Story (Green) | Default69
|  |  | Outpatient Surgery Center | Default70
|  |  | Police Station | Default71
|  |  | Police Station (Green) | Default72
|  |  | Post Frame Barn | Default73
|  |  | Post Office | Default74
|  |  | Racquetball court | Default75
|  |  | Religious Education | Default76
|  |  | Resturant | Default77
|  |  | Resturant (Green) | Default78
|  |  | Resturant, Fast Food | Default79
|  |  | School, Elementary | Default80
|  |  | School, Elementary (Green) | Default81
|  |  | School, High 2-3 Story | Default82
|  |  | School, High 2-3 Story (Green) | Default83
|  |  | School, Jr High, 2-3 Story | Default84
|  |  | School, Jr High, 2-3 Story (Green) | Default85
|  |  | School, Vocational | Default86
|  |  | School, Vocational (Green) | Default87
|  |  | Store, Convenience | Default88
|  |  | Store Department, 1 Story | Default89
|  |  | Store Department, 3 Story | Default90
|  |  | Store, Retail | Default91
|  |  | Supermarket | Default92
|  |  | Supermarket (Green) | Default93
|  |  | Swimming Pool, Enclosed | Default94
|  |  | Telephone Exchange | Default95
|  |  | Town Hall, 1 Story | Default96
|  |  | Town Hall, 2-3 Story | Default97
|  |  | Veterinary Hospital | Default98
|  |  | Warehouse | Default99
|  |  | Warehouse (Green) | Default100
|  |  | Warehouse Self Storage | Default101
|  |  | Economy 1 Story | Economy1
|  |  | Economy 1 Story wings & ells | Economy2
|  |  | Economy 1 - 1/2 Story | Economy3
|  |  | Economy 1 - 1/2 Story wings & ells | Economy4
|  |  | Economy 2 Story | Economy5
|  |  | Economy 2 Story wings & ells | Economy6
|  |  | Economy Bi level | Economy7
|  |  | Economy Tri level | Economy8
|  |  | Average Story 1 | Average1
|  |  | Average 1 Story wings & ells | Average2
|  |  | Average 1 - 1/2 Story | Average3
|  |  | Average 1 - 1/2 Story wings & ells | Average4
|  |  | Average 2 Story | Average5
|  |  | Average 2 Story wings & ells | Average6
|  |  | Average 2 - 1/2 Story | Average7
|  |  | Average 3 Story | Average8
|  |  | Average Bi level | Average9
|  |  | Average Tri level | Average10
|  |  | Solid Wall 1 Story | Average11
|  |  | Solid Wall 2 Story | Average12
|  |  | Custom Story 1 | Custom1
|  |  | Custom 1 Story wings & ells | Custom2
|  |  | Custom 1 - 1/2 Story | Custom3
|  |  | Custom 1 - 1/2 Story wings & ells | Custom4
|  |  | Custom 2 Story | Custom5
|  |  | Custom 2 Story wings & ells | Custom6
|  |  | Custom 2 - 1/2 Story | Custom7
|  |  | Custom 3 Story | Custom8
|  |  | Custom Bi level | Custom9
|  |  | Custom Tri level | Custom10
|  |  | Luxury Story 1 | Luxury1
|  |  | Luxury 1 Story wings & ells | Luxury2
|  |  | Luxury 1 - 1/2 Story | Luxury3
|  |  | Luxury 1 - 1/2 Story wings & ells | Luxury4
|  |  | Luxury 2 Story | Luxury5
|  |  | Luxury 2 Story wings & ells | Luxury6
|  |  | Luxury 2 - 1/2 Story | Luxury7
|  |  | Luxury 3 Story | Luxury8
|  |  | Luxury Bi level | Luxury9
|  |  | Luxury Tri level | Luxury10